SOUTHERN CALIFORNIA EDISON
COMMERCIAL/INDUSTRIAL
/AGRICULTURAL 
ENERGY EFFICIENCY
INCENTIVES PROGRAM
 RETENTION STUDY

CEC Study ID #558

Calmac Study ID:  SCE 0243.01

Ninth Year Report 
for Program Years 1996/1997
Commercial Measures

February 2006

Prepared for:

Southern California Edison Company
Purchase Order No. K2092905

Prepared by:

ADM Associates, Inc.
3239 Ramos Circle
Sacramento, California 95827
916-363-8383

TABLE OF CONTENTS

Chapter	Title	Page

Executive Summary		Es-1

1.	Introduction And Background		1-1

1.1	Overall Project Objectives		1-1

1.2	Organization of Report		1-3

2.	Data Collection and Analysis Methods and Procedures	2-1

2.1	Survey Design		2-1

2.2	Data Collection Instrument		2-2

2.3	Data Collection Procedures		2-3

2.4	Data Collected for Commercial Sites		2-5

2.5	Analysis Methods		2-5

3.	Results for Lighting Measures		3-1

3.1	Retention Rates For Commercial Lighting Measures		3-1

3.2	Estimates Of Effective Useful Lives For Lighting Measures		3-1

4.	Results for Non-Lighting Measures		4-1

4.1	Retention Rates for Non-Lighting Measures		4-1

4.2	Estimates of Effective Useful Lives for Non-Lighting Measures		4-1

Appendix A 	Hazard Functions and Survival Functions for Commercial Measures

Appendix B 	Protocol Tables 6 And 7

B.1	Information Required Per Table 6 Of M&E Protocols

B.2	Information Required Per Table 7 Of M&E Protocols

Appendix C 	Retroactive Waiver Permitting Exclusion of 1995 Program

LIST OF FIGURES

No.	Title	Page

B-1.  	Overall Data Preparation Process		B-6

B-2. 	Baseline Data Sets 		B-7

B-3.  	Creation of Longitudinal Site and Measure Data Sets 		B-8

LIST OF TABLES

No.	Title	Page

ES-1.  	Commercial Measures Included in Retention Study by Program Year		ES-2

ES-2. 	Retention Rates through 2003 for C/I/A EE Incentives Program Measures: Commercial Measures Installed in 1996 and 1997 Program Years		ES-2

ES-3. 	Estimated Median Lives Compared  to SCE’s Ex Ante Estimates 
for Effective Useful Lives  (Lives in years)		ES-3

1-1.  	Commercial Measures Included in Retention Study by Program Year		1-3

2-2.  	Numbers of Commercial Sites  Selected for Retention Study 
for Program Years 1996 and 1997		2-2

2-4. 	Number of Commercial Sites for Which Data Were Collected during 2005		2-5

2-5.  	Hazard and Survival Functions for Exponential and Weibull Distributions		2-8

3-1.  	Retention Rates for Commercial Lighting Measures by Program Year		3-1

3-2.  	Summary of Hazard Rate Estimation for Lighting Measures		3-2

3-3. 	Estimated Median Lives Compared to Ex Ante Estimates  
for Commercial Lighting Measures (Lives in years)		3-2

3-4.  	Comparison of EUL Estimates for Commercial Lighting Measures  
across Measure Retention Study Reports		3-2

4-1. 	Retention Rates for Commercial Non-Lighting Measures by Program Year		4-1

4-2.  	EUL Estimates for Commercial Adjustable Speed Drives  
across Measure Retention Study Reports		4-1

B-1	Required Information per Protocols Table 6		B-1

B-2.  	Measures and End Uses Covered by Sector 		B-3

B-3. 	Numbers of Commercial Sites from 1993 
and 1994 Program Years Surveyed in 2003 by Type of Measure		B-4

B-4.  	Numbers of Sites from 1996 and 1997 Program Years Surveyed in 2003 
by Type of Measure 		B-4

LIST OF TABLES

No.	Title	Page

B-5.  	Numbers of Measure Occurrences in Analysis Set 
for Commercial Sector 		B-4

B-6.  	Overall Attrition from Sample of Commercial Sites
As of End of 2003 		B-10

B-7. 	Removal/Failure Rates by End of 2003 for I/A EE Incentives 
Program Measures for Commercial Sector		B-10

B-8.  	Summary of Hazard Function Estimation 		B-12

# EXECUTIVE SUMMARY

This report is the ninth year report on the retention of commercial measures that were installed under Southern California Edison’s (SCE) Commercial/Industrial/Agricultural (C/I/A) Energy Efficiency Incentives Program in Program Years 1996 and 1997.

Since 1995, SCE has been conducting a multi-year study to track the retention of the energy efficiency measures installed by commercial, industrial and agricultural customers who received financial incentives for energy efficiency measures that they installed under the program.  Data for the study have been collected through a longitudinal survey effort that has involved visiting and/or telephoning each site to track the retention of the rebated measures at each facility.

The initial focus of the measure retention study was on measures installed by customers participating in the (C/I/A) Energy Efficiency Incentives Program during 1993 and 1994 in order to satisfy regulatory requirements for a third-year retention study for industrial and agricultural measures and a fourth-year retention study for commercial measures.   Similar third- and fourth-year studies would have been required by the protocols for the 1996 and 1997 program years.  However, SCE requested and received a waiver to continue the data collection through 2000 for sites included in the base study.  The data collection and analysis effort was also expanded to include additional selected measures installed by customers who participated in SCE’s program in 1996 or 1997.

Previous analyses of data collected during the period 1995 through 2003 were presented and discussed in earlier reports.  For this ninth-year report on commercial measures installed during program years 1996 and 1997, data that were collected through on-site visits to commercial sites in 2005 have been added to the data collected from 1995 through 2003 and used to determine the retention rates for each measure through 2005.  The types of measures covered in the study from the commercial sector for different program years are shown in Table ES-1.  Based on the data collected, the retention rates for the various measures installed at commercial sites are as shown in Table ES-2 for the 1996/1997 program years.

Table ES-1.  Commercial Measures Included in Retention Study by Program Year

| Program Year | Measures |
| --- | --- |
| 1996 | Electronic ballasts Lighting EMS Adjustable speed drives |
| 1997 | CF lamps Electronic ballasts Lighting EMS Adjustable speed drives |

Table ES-2. Retention Rates through 2003 for C/I/A EE Incentives Program Measures:
Commercial Measures Installed in 1996 and 1997 Program Years

| Type of Measure | Percentage of Measures Removed, Failed or Replaced by 2005 | Percentage of Measures Retained after 2005 |
| --- | --- | --- |
| CF lamps | 88.9% | 11.1% |
| CF fixtures | 21.5% | 78.5% |
| Electronic ballasts | 33.8% | 66.2% |
| Lighting EMS | 17.0% | 83.0% |
| Adjustable speed drives | 2.8% | 97.2% |

Another objective of the study has been to estimate effective useful life (EUL) for each measure and to determine if the estimated EUL was different from the expected EUL. Because the early retention rates for the different measures were relatively high, direct estimation of survival functions from the collected data was not informative.   However, hazard functions could be estimated for many of the measures, and corresponding survival functions could be developed using the estimated hazard functions.   For measures where there was a relatively small number of failures, the hazard analysis could not be performed.

The estimates of effective useful lives determined through the estimation of hazard and survival functions in this study are reported in Table ES-3, which also reports SCE’s ex ante estimates of effective useful lives. The hypothesis of no difference between ex ante and ex post estimates of useful life could not be rejected for any of the measures.

Table ES-3. Estimated Median Lives Compared 
to SCE’s Ex Ante Estimates for Effective Useful Lives 
(Lives in years)

| Type of Measure | SCE Ex Ante Estimate of EUL | Estimated Median Life | Ex Ante Different from Ex Post? |
| --- | --- | --- | --- |
| CF fixtures | 12 | 11.5 | No |
| CF lamps | 2 | 3.5 | No |
| Electronic ballasts | 10 | 11.2 | No |
| Lighting EMS | 15 | 21.5 | No |
| Adjustable speed drives | 10 | * | No |

*Data were not sufficient to estimate EUL.

The estimated median lives reported in Table ES-3 were derived from the hazard rate analysis.  For some measures, however, median lives could be determined from the fact that over half of the installed measures are no longer in place.  In particular, nearly 89 percent of the CF lamps installed in 1996/1997 are no longer in place.  The number of years when 50 percent of these CF lamps were not in place was 3.2 years.

# INTRODUCTION AND BACKGROUND

This report is the ninth-year report on commercial measures installed in 1996 or 1997 by customers of Southern California Edison (SCE) under the Energy Management Hardware Rebate Program (EMHRP), which was the name of SCE’s nonresidential energy efficiency incentives (EEI) program.  The analysis reported in this report is part of the overall measure retention study that SCE has been conducting since 1995.  Data collected at commercial sites during 2005 have been added to the data previously collected for the retention study

## overall project objectives

The overall objectives of the nonresidential measure retention study are as follows:

Locate energy conservation measures installed by participants in SCE’s Energy Management Hardware Rebate Program;

Determine the number of measures that were installed and operational to establish a baseline condition;

Determine the rates of early removal and disconnects, including survival functions;

Determine reasons for early removal and disconnects;

Determine what has replaced removed measures;

Identify changes in usage patterns over time;

Identify changes in circumstances of use (e.g., location of measure, end-use service provided, use of space in the area surrounding the measure, etc.) over time; and

Establish measures’ effective useful lives.

Under the DSM Protocols adopted by the California Public Utilities Commission (CPUC), measures are to be studied in retention studies that either make up 50% of the savings for their respective sectors or that account for the top 10 measures in a sector.

The initial focus of the study was on measures installed by customers participating in SCE’s nonresidential energy efficiency incentives programs during 1993 and 1994 in order to satisfy the Measurement Protocols requirements for a third-year retention study for industrial and agricultural measures and a fourth-year retention study for commercial measures.

Under the protocols, similar third- and fourth-year studies would have been required by the protocols for the 1996 and 1997 program years.  (There was effectively no program operating during 1995.) However, SCE requested and received a waiver to continue the data collection through 2000 for sites included in the base study.   The rationale for continuing the data collection for these sites was that the longitudinal survey methodology being used will provide a very rich data set for the development of survival curves for the major end uses in the program.  Continuing to survey these customers in lieu of performing a “point estimate” study for the 1996 and 1997 program years would provide two additional years of data for the survival curve modeling used to estimate effective useful lives. “Point estimate” studies for the 1996 and 1997 studies would have repeated work already done and would probably not be fully informative since retention rates for the measures installed under the 1996 and 1997 programs were expected to be relatively high.

However, the data collection and analysis effort was expanded to include additional selected measures installed by customers who participated in SCE’s program in 1996 or 1997 to ensure that empirical data that provided evidence on retention rates were available.  Tables showing the ex ante savings for measures installed by customers participating in the EMHR Program in program years 1996 and 1997 were developed and used to identify the measures that should be added to the study to provide the coverage required by the protocols. The types of commercial measures covered in the study from program years are shown in Table 1-1.

Table 1-1.  Commercial Measures Included 
in Retention Study by Program Year

| Program Years | Commercial Measures |
| --- | --- |
| 1996 | Electronic ballasts Lighting EMS Adjustable speed drives |
| 1997 | CF lamps Electronic ballasts Lighting EMS Adjustable speed drives |

The data for accomplishing the objectives for this study were collected for a sample of facilities chosen from among customers who participated in SCE’s EMHRP in 1996 and 1997. The 1995 program has not been included in the measure retention study because it involved only eight customers, and SCE’s request to waiver the requirement to measure the impacts of that year was approved by the CPUC.  A copy of the waiver is provided in Appendix C.

This report has been prepared as part of the overall measure retention study.  It is a ninth-year report on the retention of commercial measures installed in 1996 or 1997 by customers under SCE’s program.

## ORGANIZATION OF report

This report is organized as follows.

Chapter 2 discusses the methods used for the study.

Chapter 3 presents and discusses the results of the analysis of commercial lighting measures.

Chapter 4 presents and discusses the results of the analysis of commercial non-lighting measures.

Appendix A provides the data used to estimate hazard functions for commercial measures and plots of the estimated hazard and survival functions.

Appendix B contains Tables 6 and 7 as required by the Protocols.  These tables contain detailed information regarding study sample sizes, data attrition, analysis methods, and results.

Appendix C provides the retroactive waiver that excluded the 1995 C/I/A EEI program from the nonresidential measure retention study.

# DATA COLLECTION AND ANALYSIS
METHODS AND PROCEDURES

This chapter discusses the methods and procedures used to collect data for the nonresidential measure retention study.  Section 2.1 discusses the survey design underlying the data collection effort.  Section 2.2 discusses the data collection instruments.  Section 2.3 discusses the data collection procedures.  Section 2.4 provides information on the number of commercial sites from which data were collected during 2003.  Section 2.5 discusses the methods used to analyze the data to estimate effective useful lives for the measures.

## survey design

The data on measure retention were collected for a sample of facilities chosen from among SCE customers who participated in SCE’s Energy Management Hardware Rebate Program (EMHRP) in 1996 or 1997.  Sites and measures were added to the study from the 1996 and 1997 programs to ensure that empirical data that provided evidence on retention rates for measures installed in those years are available.

The survey design that had been implemented for previous data collection was continued during 2005 to collect data that could be used to prepare this ninth-year report on the retention of commercial measures installed in 1996 or 1997.  Data were collected during 2005 at the commercial sites that participated in the program in 1996 or 1997.

Many of the measures installed under the program in 1996 and 1997 were the same type of measures as were installed under the program in 1993 and 1994.  SCE successfully sought a waiver from the Protocol requirement by arguing that better information could be obtained by tracking the 1993 and 1994 measures for a longer time.  In addition, sites were added to the study to gather retention data on measures that were installed under the program in 1996 and 1997 but not in 1993 and 1994.

In order to identify the measures from the 1996 and 1997 programs that should be added to the study to provide the aforementioned proportional coverage of total program savings required by the Protocols, tables showing the ex ante savings for measures installed by customers participating in the EMHR Program in program years 1996 and 1997 were developed.

The sites added were those with measures that provided the Protocol-required coverage of ex ante program savings. For measures where the number of sites was relatively small, these sites were not sampled but taken into the study by censusing.  The numbers of sites with different measures that were selected for the study from the 1996 and 1997 program years are shown by type of measure in Table 2-2.

Table 2-2.  Numbers of Commercial Sites 
Selected for Retention Study for Program Years 1996 and 1997

|  | 1996 Commercial | 1997 Commercial | All Sites |
| --- | --- | --- | --- |
| Total Number of Sites | 94 | 203 | 297 |
| Numbers of Sites with Specified Measures |
| CF lamps | 4 | 73 | 77 |
| Electronic ballasts | 36 | 73 | 109 |
| Lighting EMS | 58 | 108 | 166 |
| Adjustable speed drives | 1 | 18 | 19 |

## data collection INSTRUMENT

Data on which to base this ninth-year study for commercial measures were collected through on-site visits.  Data were collected that could be used to estimate effective measure lives and to analyze the effects on service lives of different factors, such as operational hours and maintenance practices.

Examples of the type of information that were collected with the on-site data collection form included the following:

Was the program-installed measure still in place and properly installed as specified by program requirements?

If the measure was not in place and/or properly installed:

Was it removed, disconnected, broken, or damaged?

Why?

When was it removed/disconnected?

Was its removal part of a larger change? What?

What, if anything, replaced the measure?

Was the measure in a good state of repair?

Was there a specific maintenance schedule for each measure?

Has the use of space surrounding the measure changed since installation?  How?

Was the equipment used differently than it was originally?  Less?  More?  Had it been modified?

Had there been business turnover and/or occupant changes?

What were the customer and building characteristics?

## Data Collection Procedures

Data on commercial measures installed during 1996 and 1997 were collected through on-site visits to commercial sites during 2005.

### Customer Recruitment and Tracking

Because the commercial sites that were to be visited during 2005 had already been visited several times before during the measure retention study, a list with contact names and telephone numbers was available.  The scheduler used this list to contact the sites for the 2005 data collection effort.

When a customer agreed to participate in the data collection effort, the scheduler arranged a mutually acceptable date and time for data collection, based on the convenience of the customer and on the travel schedule of the field staff.  After each data collection visit was scheduled, the date, time, and any other particulars pertaining to the visit were entered onto the customer's record in a Customer Status File on the computerized tracking and reporting system that was used to administer and manage the data collection effort.

The Customer Status File contained a record of specified characteristics for each customer in the sample, along with information pertaining to all attempts to contact a customer and to the final disposition of the attempts to schedule a data collection visit.  Accordingly, if all attempts to recruit a candidate were unsuccessful, a report was generated from the Customer Status File that documents the attempts that had been made.  This report is used to determine whether to release an alternate sample point to replace a customer that could not be recruited.  The procedures used in recruiting primary candidates were also used in recruiting any alternate candidates.

### Data Collection and Quality Control

The discussion in this section addresses the various aspects of the work effort involved in conducting the on-site data collection for the customers selected for the sample.  These aspects included selecting and supervising the field staff; contacting customers and scheduling data collection visits; and collecting data.

Trained engineers who had collected the data in the previous years of the measure retention study were used as the field staff for the on-site data collection during 2002. A training session was held before the beginning of the data collection effort to instruct the field staff on changes in the requirements of the data collection effort. The training session included a discussion of project objectives and provided for review of the data collection form and of the procedures to be used to collect data effectively with minimum disruption to the customer.

Once the arrangement for a data collection visit had been made, a member of the field staff visited the customer's facility on the scheduled date to collect the data.  Before the field staff went to a facility, they reviewed information on the measures installed at that facility.  This review ensured that the field engineer was familiar with the facility and measures for which data were to be collected when he went on-site and that he appropriately allocated his time to collect data on those measures that were the primary subjects for the analysis.

Program data that SCE had collected were used to facilitate the on-site data collection.  These program data were used to establish the baseline information on equipment and measures that were installed in the buildings under the EMHR Program.  Changes from these data were indicative of building changes and component changeouts.  These and other items of information were extracted from the program records and provided to the field staff to facilitate the site visits.  This was needed so that the field staff could know what “was” to compare with what “is” at the site and thereby note or ask about any apparent changes.

During the on-site data collection visit, the field personnel used the data collection form described in Section 2.2.1 to collect the required data.  They paid particular attention to getting sufficient information with which to analyze the life of the measures.  They located the measures and verified the ratings and operational characteristics of the affected equipment.  They also collected information on other building operations that affect the operation of the installed measures.

Some of the required data were collected through interviews with the staff of the facility.  For most sizable facilities, there was generally a building or plant engineer who was familiar with the operation of the facility and its equipment.  This interview provided the facility staff with a brief introduction to the purpose and conduct of the study.  Facility staff were asked a limited set of questions that were directed at investigating inconsistencies in previous data as well as toward forming a basis for visual inspection of measures.  Following the interview, the field engineer visually inspected and verified measure installation.  Data were recorded on whether the measure was installed and operating; equipment maintenance was assessed qualitatively; and (where relevant) make and model number of equipment was verified.

Quality control procedures were used throughout the data collection effort to ensure that the data collected were of high quality.  Discrepancies between baseline, interview, and visual inspection results were resolved prior to leaving a facility.  The field staff prepared facility layouts that showed the locations of the measures inspected.  They also placed stickers on the measure devices to identify them as being included in this study; the stickers included a telephone number to be called if the devices were removed.

The data collected on-site for each customer were entered into a computerized file using a Paradox for Windows full-screen data entry/modification form. The data entered into the Paradox data base were later converted into a PC-SAS database for validation and analysis.

## data collected for commercial sites

During 2005, data were collected on-site for the commercial sites that are included in the study sample.  The distribution of the on-site data collection effort for these sites is shown in Table 2-4.  (Because these numbers are for sites actually surveyed, they are smaller than the numbers shown in Table 2-1 and Table 2-2.

Table 2-4. Number of Commercial Sites for Which Data Were Collected during 2005

| Program Year | Number of Sites Surveyed |
| --- | --- |
| 1996 | 77 |
| 1997 | 180 |
| Total | 257 |

## ANALYSIS methods

The data collected during 1995 through 2003 were used in earlier analyses to accomplish the following:

Establish baseline conditions by determining the fraction of measures that had been installed and were operational;

Determine the rates of early removal and disconnects and the reasons for early removal and disconnects; and

Establish measures’ effective useful lives.

The data collected for commercial measures during 2005 were combined with the data collected earlier to further analyze rates of early removal and disconnect and to re-estimate the effective useful lives of installed measures.

Determining the rates of early removal or disconnection could be accomplished through tabulation of the data collected through the on-site surveying.  However, additional analysis was required to establish the effective useful lives of the measures.

### Procedure to Estimate EUL

Under the DSM Measurement Protocols, a utility can recover earnings based on the following equation:

Net resource benefits = first year impacts x EUL x TDF

where EUL is the effective useful life of a measure and TDF is a technical degradation factor used to account for time-and-use related change in the energy savings of a high efficiency measure or practice relative to a standard efficiency measure or practice.  The first-year impacts are developed in the first-year impact evaluation studies, while the technical degradation factors have been developed from a statewide study sponsored by CADMAC.  Estimates of EUL are to be developed through retention studies, such as this one.

Under the Protocols, the effective useful life of a measure is defined as the median number of years that the measure installed under the program is still in place and operable.  In effect, the median age is the number of years that pass until 50% of the installed measures are no longer in place and operable. Determining the effective useful life according to this definition requires deriving a survival function for a measure, where a survival function shows the fraction of installed measures still in place and operable as time passes.

The analytical difficulty that arises in trying to derive a survival function for a program measure is that the amount of data available is relatively limited. There are 100% of the measures in place and operable under the baseline conditions that are established.  Moreover, estimates of the percentage of measures still in place after a given number of years (e.g., nine or eight years for measures installed in 1996 or 1997) are shown by the retention rates determined from the data collected in a retention study.  However, no actual data on which to base the survival function are available for the particular measures beyond the data collection period.

As the data presented below will show, retention rates have been high for some of the measures considered in this study.  Because of this, non-parametric methods of estimating survival functions are not appropriate for such measures. Non-parametric methods can give an accurate estimate of median survival time only if more than 50% of the measures are no longer in place and operable. Only for T8 lamps are more than 50% of the installed measures no longer in place and operable.

Parametric methods were therefore used for estimating a median survival time for each measure. A possible difficulty with the parametric approach is that if a measure has a high early retention rate, then there is little information with which to distinguish between different functional forms for the survival function if estimated directly.  Because of the limited time span that the collected data cover, a variety of functions that imply significantly different survival patterns and median lives can be fitted through the data.

However, an alternative to trying to estimate the survival function directly is to estimate a hazard function using the available data, and then using the estimated hazard function to develop an associated survival function. The steps in the parametric procedure for estimating the effective useful lives were as follows:

Prepare data for calculation of hazard rate function;

Calculate hazard rate function;

Use hazard rate function to determine survival function; and

Estimate effective useful life of measures from survival function.

An essential component in this analytical procedure is the estimation of the hazard rate function. A hazard function defines the probability that an item will fail in the next unit of time, given that it has survived to the present.  The hazard rate at time t is the ratio of the number of units failing in that interval to the number surviving to that time:

where h(t) is the hazard rate at time t; f(t) is the probability of failure during an increment of time at time t; and F(t) is the cumulative probability of failure up to time t.  For the analysis in this study, the hazard rate for any given time period (e.g., a year) represents the proportion of items that were removed or failed during the time period, given that they had survived to the beginning of the time period.  Once a hazard function is estimated, a corresponding survival function S(t) can be determined, where S(t) represents the percent surviving at time t.

Two of the distributions commonly used for survival analysis are the exponential distribution and the Weibull distribution.  The probability density functions and associated hazard functions and survival functions for these distributions are shown in Table 2-5.

Table 2-5.  Hazard and Survival Functions for Exponential and Weibull Distributions

| Exponential Distribution |
| --- |
| Probability Density Function | f(t) = (exp(-(t) |
| Hazard Function | h(t) = ( |
| Survival Function | S(t) = exp(-(t) |
| Weibull Distribution |
| Probability Density Function | F(t) = ((t(-1exp(-(t() |
| Hazard Function | h(t) = ((t(-1 |
| Survival Function | S(t) = exp(-(t() |

As Table 2-5 shows, the exponential distribution can be used to represent a hazard rate that is constant.  The associated survival function is also exponential.  However, the exponential distribution does not represent hazards that increase or decrease over time.  If the hazard rate does increase or decrease with age, the Weibull distribution can be used to represent the hazard function and the survival function.  (Note that with the Weibull distribution, ( is termed as the scale parameter, while ( is termed as the shape parameter.)

As provided for in the Protocols, a statistical test of whether the ex post estimate of useful life is significantly different from the ex ante estimate can be made by constructing an 80% confidence interval around the ex post estimate and determining whether the ex ante estimate falls within this confidence interval.  That is, if the ex ante estimate falls inside the constructed confidence interval, then the hypothesis of no difference between the ex ante and ex post estimates cannot be rejected. If the ex ante estimate falls outside the constructed confidence interval, then the hypothesis of no difference between the ex ante and ex post estimates can be rejected.

For the analytical approach used in this study to estimate useful lives of the measures, an 80% confidence interval for the estimated median life of a measure was calculated as follows.  The regression fit of the power curve coefficients was used to report the values of the estimated coefficients associated with the 80% confidence levels.  Thus, the power curve regression analysis for each measure provided three sets of parameters for the Weibull hazard rate function: the “best” fit parameters and parameters for the upper and lower bounds of the 80% confidence interval for the estimated coefficients.  In effect, the analysis provided an estimate of the “best” hazard function and survival function for a measure, plus estimates of the functions for the upper and lower bounds of the 80% confidence interval.

# RESULTS FOR LIGHTING MEASURES

This section presents and discusses the results from analyzing retention rates and estimating effective useful lives for commercial lighting measures.  Retention rates are presented in Section 3.1, while estimates of effective useful lives are presented in Section 3.2.

## Retention rates for commercial lighting Measures

Retention rates for the various types of commercial lighting measures for each program year were calculated using the information collected through the on-site surveying.  Table 3-1 shows the percentage of measures installed in each year that were no longer in place by the end of 2005.  The implied retention rates are also shown.

Table 3-1.  Retention Rates for Commercial Lighting Measures by Program Year

| Type of Measure | Number of Measures Installed | Number of Measures Removed, Failed or Replaced by 2005 | Percentage of All Measures Removed, Failed or Replaced by 2005 | Percentage of Measures Retained after 2005 |
| --- | --- | --- | --- | --- |
| 1996 Program Year |
| Electronic ballasts | 249 | 80 | 32.1% | 67.9% |
| Lighting EMS | 48 | 8 | 16.7% | 83.3% |
| 1997 Program Year |
| CF lamps | 742 | 660 | 88.9% | 11.1% |
| Electronic ballasts | 704 | 242 | 34.4% | 65.6% |
| Lighting EMS | 93 | 16 | 17.2% | 82.8% |

## Estimates of Effective Useful Lives for lighting Measures

The analytical procedure described in Section 2.4.1 was used to develop estimates of effective useful lives for those commercial lighting measures for which there were sufficient data.

The results from the analysis to determine EULs for commercial lighting measures are summarized in Table 3-2 and Table 3-3. Plots of the hazard functions and survival functions for the lighting measures analyzed are provided in Appendix A. A Weibull distribution was used to represent the hazard function for each measure.  The parameters estimated through power curve fits and the estimated scale and shape parameters of the Weibull function are reported in Table 3-2.

Table 3-2.  Summary of Hazard Rate Estimation for Lighting Measures

| Type of Measure | Power Curve Fit | Weibull Distribution Parameters |
| --- | --- | --- |
|  | a | b | R-squared | ( (Scale) | ( (Shape) |
| CF fixtures | 0.0883 | -0.785 | 0.385 | 0.4099 | 0.2153 |
| CF lamps | 0.1833 | 0.202 | 0.117 | 0.1524 | 1.202 |
| Electronic ballasts | 0.0047 | 1.435 | 0.484 | 0.0019 | 2.435 |
| Lighting EMS | 0.0289 | 0.0516 | 0.005 | 0.0275 | 1.0516 |

The estimates of median survival lives are reported in Table 3-3 and compared to SCE’s ex ante estimates of effective useful lives.  The hypothesis of no difference between ex ante and ex post estimates of median useful lives can be rejected for CF lamps, but cannot be rejected for all other lighting measures.

Table 3-3. Estimated Median Lives Compared to Ex Ante Estimates 
for Commercial Lighting Measures
(Lives in years)

| Measure | SCE Ex Ante Useful Life Estimate | Estimated Median Life |
| --- | --- | --- |
|  | Value | Source | 80% Lower bound | Estimate | 80% Upper Bound |
| CF fixtures | 12 | Protocol, App. F, Table 1 | 2.8 | 11.5 | > 100 |
| CF lamps | 2 | Protocol, App. F, Table 1 | 2.1 | 3.5 | 7.9 |
| Electronic ballasts | 10 | Protocol, App. F, Table 1 | 3.4 | 11.2 | > 100 |
| Lighting EMS | 15 | Tracking system | 4.2 | 21.5 | > 100 |

The estimated median lives reported in Table 3-3 are derived from the hazard rate analysis.  For some measures, however, median lives can be determined from the fact that over half of the installed measures are no longer in place. For example, nearly 89 percent of the CF lamps installed in 1997 are no longer in place.  The number of years when 50 percent of these CF lamps were not in place was 4.72 years.

The EULs for lighting measures estimated for this report are compared in Table 3-4 to the EULs estimated in prior reports.  The EULs estimated in this report are higher than those estimated in the previous reports.

Table 3-4.  Comparison of EUL Estimates for Commercial Lighting Measures 
across Measure Retention Study Reports

| Type of Measure | EUL Estimate from First Report | EUL Estimate from Second Report | EUL Estimate from Third Report | EUL Estimate from Fourth Report | EUL Estimate from This Report |
| --- | --- | --- | --- | --- | --- |
| CF fixtures | 10.51 | 11.50 | 14.11 | 17.34 | 11.5 |
| CF lamps | 5.73 | 6.34 | 6.55 | 8.29 | 3.5 |
| Electronic ballasts | 7.80 | 10.93 | 11.98 | 12.67 | 11.2 |
| Lighting EMS | - | - | - | - | 21.5 |

# RESULTS FOR NON-LIGHTING MEASURES

This section presents and discusses the results from analyzing retention rates and estimating effective useful lives for commercial non-lighting measures.  Retention rates are presented in Section 4.1, while estimates of effective useful lives are presented in Section 4.2.

## Retention rates for non-lighting Measures

Retention rates for the commercial non-lighting measures for each program year were calculated using the information collected through the on-site surveying. Table 4-1 shows the percentage of measures installed in each year that were no longer in place by 2003.  The implied retention rates are also shown.

Table 4-1. Retention Rates for Commercial Non-Lighting Measures by Program Year

| Type of Measure | Number of Measures Installed | Number of Measures Removed, Failed or Replaced by 2002 | Percentage of All Measures Removed, Failed or Replaced by 2002 | Percentage of Measures Retained after 2002 |
| --- | --- | --- | --- | --- |
| 1996 Program Year |
| Adjustable speed drives | 2 | 0 | 0.0% | 100.0% |
| 1997 Program Year |
| Adjustable speed drives | 34 | 1 | 2.9% | 97.1% |

## Estimates of Effective Useful Lives for non-lighting MEasures

Because there was only one observed removal/failure for an adjustable speed drive, an analysis similar to that for lighting measures could not be used to develop an estimate of the effective useful live for drives installed during 1996 or 1997.

The EULs for commercial adjustable speed drives that were estimated in previous reports are reported in Table 4-2.

Table 4-2.  EUL Estimates for Commercial Adjustable Speed Drives 
across Measure Retention Study Reports

| Type of Measure | EUL Estimate from First Report | EUL Estimate from Second Report | EUL Estimate from Third Report | EUL Estimate from Fourth Report |
| --- | --- | --- | --- | --- |
| Adjustable speed drives | 11.13 | 7.98 | 9.58 | 25.21 |

# APPENDIX A
HAZARD FUNCTIONS AND SURVIVAL FUNCTIONS
FOR COMMERCIAL MEASURES

This appendix provides the data used for the hazard function analyses of the commercial measures and plots of the estimated hazard functions and survival functions.  Plots are provided for the following measures:

CF fixtures

CF lamps

Electronic ballasts

Lighting EMS

Data for Calculating Hazard R		ates for Commercial CF Fixtures

| Year | Fixtures at Start of Year | Fixtures Removed/Failed during Year | Hazard Rate (Rate of Removal/Failure) |
| --- | --- | --- | --- |
| 1 | 641 | 2 | 0.3% |
| 2 | 639 | 18 | 2.8% |
| 3 | 621 | 46 | 7.4% |
| 4 | 575 | 28 | 4.9% |
| 5 | 547 | 11 | 2.0% |
| 6 | 536 | 11 | 2.1% |
| 7 | 525 | 6 | 1.1% |
| 8 | 519 | 11 | 2.1% |

Plot of Hazard Rates for CF Fixtures in Commercial Sector

Survival Function Plot for CF Fixtures in Commercial Sector

Data for Calculating Hazard Rates for Commercial CF Lamps

| Year | Lamps at Start of Year | Lamps Removed/Failed during Year | Hazard Rate (Rate of Removal/Failure) |
| --- | --- | --- | --- |
| 1 | 792 | - | 0.0% |
| 2 | 792 | 131 | 16.5% |
| 3 | 661 | 245 | 37.1% |
| 4 | 416 | 99 | 23.8% |
| 5 | 317 | 76 | 24.0% |
| 6 | 241 | 44 | 18.3% |
| 7 | 197 | 58 | 29.4% |
| 8 | 139 | 44 | 31.7% |

Plot of Hazard Rates for CF Lamps in Commercial Sector

Survival Function Plot for CF Lamps in Commercial Sector

Data for Calculating Hazard Rates for Commercial Electronic Ballasts

| Year | Ballasts at Start of Year | Ballasts Removed/Failed during Year | Hazard Rate (Rate of Removal/Failure) |
| --- | --- | --- | --- |
| 1 | 953 | - | 0.0% |
| 2 | 953 | 4 | 0.4% |
| 3 | 949 | 12 | 1.3% |
| 4 | 937 | 41 | 4.4% |
| 5 | 896 | 80 | 8.9% |
| 6 | 816 | 78 | 9.6% |
| 7 | 738 | 56 | 7.6% |
| 8 | 682 | 32 | 4.7% |

Plot of Hazard Rates for Electronic Ballasts in Commercial Sector

Survival Function Plot for Electronic Ballasts in Commercial Sector

Data for Calculating Hazard Rates for Lighting EMS

| Year | EMS at Start of Year | EMS Removed/Failed during Year | Hazard Rate (Rate of Removal/Failure) |
| --- | --- | --- | --- |
| 1 | 141 | - | 0.0% |
| 2 | 141 | - | 0.0% |
| 3 | 141 | 2 | 1.4% |
| 4 | 139 | 4 | 2.9% |
| 5 | 135 | 4 | 3.0% |
| 6 | 131 | 5 | 3.8% |
| 7 | 126 | 5 | 4.0% |
| 8 | 121 | 3 | 2.5% |

Plot of Hazard Rates for Lighting EMS in Commercial Sector

Survival Function Plot for Lighting EMS in Commercial Sector

# APPENDIX B
PROTOCOL TABLES 6 AND 7

This appendix provides the information requested in Tables 6 and 7 of the M&E Protocols.

## B.1	Information Required per Table 6 of M&E Protocols

The information required per Table 6 of the M&E Protocols is reported in Table B-1.

Table B-1.  Required Information per Protocols Table 6

*Data not sufficient to estimate EUL.

- Identify the studied measure and the end use it belongs to.

This information is provided in Columns (1) and (2) of Table B-1.

- Identify the ex ante expected useful life and the source of the ex ante expected useful life.

This information is provided in Columns (3) and (4) of Table B-1.

- Identify the ex post expected useful life estimated in the study.

This information is provided in Column (6) of Table B-1.

- Identify the ex post expected useful life to be used by the utility in the third and fourth earnings claim.

This information is provided in Column (8) of Table B-1.

- Identify the standard error associated with the ex post expected useful life.

Because the survival functions for the measures are not symmetric, the standard error does not provide meaningful information on the spread around the estimated median life.  The information on the spread around the estimated value is provided by the lower and upper bounds of the confidence interval, reported in Columns (5) and (7) of Table B-1.

- Provide the 80% confidence interval associated with the ex post expected useful life.

This information is provided in Columns (5) and (7) of Table B-1.

- Provide the p-value associated with the ex post expected useful life.

The p-value is 20%.

- Provide the realization rate for the adopted ex post expected useful life.  This is defined as the ratio of the adopted ex post expected useful life to the ex ante expected useful life.

This information is provided in Column (9) of Table B-1.

- Identify all the “like” measures associated with the studied measure.

This information is provided in Column (10) of Table B-1.

## B.2	Information Required per Table 7 of M&E Protocols

This section provides the information required per Table 7 of the M&E Protocols.

1.	a.	Study Title and Study ID No.

Study title is: 
1996/97 Commercial/Industrial/Agricultural 
Energy Efficiency Incentives Program
Ninth-Year Retention Study for Commercial Measures

Study ID No. is:
CEC Study Id #???

b.	Program, program years, and program description

Program is:

Commercial/Industrial/Agricultural 
Energy Efficiency Incentives Program 
(Energy Management Hardware Rebate Program, EMHRP)

Program Years are 1996 and 1997.  Program Year 1995 is excluded per retroactive waivers (cf. Appendix C).

Program Description:

After receiving a detailed facilities survey, nonresidential customers are offered and paid financial incentives for installing the recommended energy efficiency measures.

c.	 End Uses and Measures Covered:

The end uses and measures covered for the commercial sector are as listed in Table B-2.

Table B-2.  Measures and End Uses Covered for Commercial Sector

| Measures | End Uses |
| --- | --- |
| CF fixtures | Lighting |
| CF lamps | Lighting |
| Electronic ballasts | Lighting |
| Lighting EMS | Lighting |
| Adjustable speed drives | Motors |

d.	Methods and Models Used:  Describe the final model specification used for the study.  Where applicable, indicate the study location of the competing class or types of models that were estimated but were not selected.  State why the final specification was chosen.

Data for the study have been collected through a longitudinal survey effort since 1995.  Data on whether installed measures were still in place and operable were collected through on-site visits and telephone surveys.  (The data collection included the first-year impact study of the program.)

The data collected were directly tabulated to determine the percent retention for each measure. Another objective of the study was to estimate effective useful life (EUL) for each measure and to determine if the ex post EULs were different from ex ante EULs.  Because the early retention rates for the different measures were relatively high, direct estimation of survival functions from the collected data was not informative.   However, hazard functions could be estimated for some of the measures, and corresponding survival functions could be developed using the estimated hazard functions.   For measures where there was a relatively small number of failures, even the hazard analysis could not be performed.  However, because more than 50 percent of the measures for which there was a relatively small number of removals or failures were still in place after five years, the ex post EUL will be greater than five years.

e.	Analysis Sample Size: Provide the number of customers, number of installations, number of measures (if different) and the number of observations in the analysis and time periods of data collection.  If different for different units of analysis, a summary table should be provided.

Table B-4 shows the number of customers that were actually surveyed in 2005 and included in the study from program year.

Table B-4.  Numbers of Commercial Sites from 1996 and 1997 Program Years 
Surveyed in 2005 by Type of Measure

|  | 1996 Commercial | 1997 Commercial | All Sites |
| --- | --- | --- | --- |
| Total Number of Sites | 77 | 180 | 257 |
| Numbers of Sites with Specified Measures |
| CF lamps | 5 | 84 | 89 |
| Electronic Ballasts | 32 | 71 | 103 |
| Lighting EMS | 52 | 95 | 147 |
| Adjustable speed drives | 1 | 18 | 19 |

The number of measures for the analysis was greater because of multiple occurrences of a measure at sites.  The numbers of measure occurrences in the analysis sets are shown in Table B-5 for the commercial sector.

Table B-5.  Numbers of Measure Occurrences in Analysis Set 
for Commercial Sector

| Type of Measure | 1996 | 1997 |
| --- | --- | --- |
| CF fixtures | 40 | 601 |
| CF lamps | 50 | 792 |
| Electronic ballasts | 249 | 704 |
| Lighting EMS | 48 | 93 |
| Adjustable speed drives | 2 | 34 |

2	a.	Identify the specific data sources used for each data element.

The source for the initial data was the program tracking system.  Thereafter data for the study have been collected through a longitudinal survey effort since 1995.  The data that have been collected through on-site visits and telephone surveys since 1995 were used to determine the removals/failures and percent retention for each measure.

b.	Diagram and describe the data attrition process commencing with the program database for participants.  Specific numbers and decision points for inclusion and exclusion should be provided.  Where different data sources are used (e.g., surveys and program records), appropriate attrition categories should be used (e.g., response rates for surveys).

The steps involved in preparing the various data sets used for the measure retention analysis are depicted in Figures B-1, B-2, and B-3.

c.	Describe the internal/organizational data quality checks and data quality procedures used to match customers and surveys, participation records, and any other data used in the analysis.

As discussed below with respect to sampling, several files were provided by SCE that contained information on the customers who participated in the Energy Management Hardware Rebate Programs in 1996 and 1997.  Each participant was identified by the PREMNO9 identifier that SCE uses for geographical locations; each PREMNO9 identifies a unique customer location.  This PREMNO9 was used as the key by which to match customer information across program files and SCE’s customer information files.  Matches were inspected manually for verification purposes.

d.	Provide a summary of the data collected specifically for the analysis but not used, the reasons for them not being used, and a documentation of where those data reside.

The instruments that were used for the on-site and telephone data collection were provided as appendices to the final report for the fourth year study.  These instruments show all of the data that were collected for the analysis.  The major items that were used for the analysis were the removal/failure data.  Other data were not used in the quantitative analysis, but were used to verify that the removal/failure data was accurate.

3	a.	Sampling procedures and protocols: Describe the sampling procedures and protocols used.  Information provided should include the sampling frame (e.g., eligible population), sampling strategy (e.g., random, stratified, etc.), sampling basis (e.g., customers, installation, rebate issued), and stratification criteria (e.g., geographic, etc.).  Specific data and formulas should be used to present sampling goals and achieved results.

The analytical framework for the development of the sample design for the study was provided by survival analysis techniques.  Survival analysis pertains to the analysis of data that correspond to the time from a well-defined time origin until the occurrence of some particular event or end-point.  For this study, the time origin is defined by the installation of a measure under the EMHR program, while the end-point is defined by the removal or failure of the measure or the discontinuance of its use.

Figure B-1.  Overall Data Preparation Process

Figure B-2. Baseline Data Sets

Figure B-3.  Creation of Longitudinal Site and Measure Data Sets

The measure survival data were expected to have several features that warranted special treatment in preparing the sample design.

The measure survival data would probably not be symmetrically distributed and cannot be reasonably represented by a normal distribution.

The survival data would be right-censored in that the removal/failure/discontinuance end-points will not be observable for some of the installed measures.

The survival data for some types of measures (e.g., lighting measures) would likely be affected by clustering.  That is, a single customer may have multiple occurrences of a particular type of measure (e.g., T8 lamps).  For a single customer, there can be expected to be some homogeneity in the lifetimes for the particular type of measure, since they were all installed at the same time and were subject to similar operational conditions.  Because of this homogeneity, a sample of clustered measure occurrences provides less information than a similar sample that does not show such homogeneity.

A sample design for addressing these and other features of the data was developed through the following steps.

First, the number of removals/failures required to meet the precision/confidence specifications for each type of measure was determined.

Second, the probability of removal/failure for each type of measure over the period of the study was determined and applied to the required number of removals/failures to determine the number of points required in the sample.

Third, the required sample size was adjusted to account for the effects of clustering.

Fourth, sample points for a measure were allocated among facilities.

During 2005, the data collection and analysis effort included selected measures installed by customers who participated in SCE’s program in 1996 or 1997.  In order to identify the measures from the 1996 and 1997 programs to include in the study to provide the coverage required by the protocols, tables showing the ex ante savings for measures installed by customers participating in the EMHR Program in program years 1996 and 1997 were developed.

The sites from 1996 and 1997 for the study were those with measures that provided coverage of ex ante program savings. Except for sites with lighting EMS, sites with particular measures were relatively few.  Accordingly, these sites were not sampled but taken into the study by censusing.  For sites with lighting EMS, a 50% sample was taken.

b.	Survey information: Survey instruments should be provided.  Response rates should be presented. Reasons for refusals should be presented in tabular form.  Efforts to account for or test for non-response bias should be presented, as well as corrections to account for the bias.

The instruments that were used for the on-site data collection were provided as appendices to the final report for the fourth-year study.

For a longitudinal data set as was developed for this study, the important consideration is the degree of attrition among customers in the sample as time passes.  Table B-6 reports the overall attrition from the sample at the end of 2005.

Table B-6.  Overall Attrition from Sample of Commercial Sites
as of End of 2005

| Disposition of Contact | 1996/1997 Sites |
| --- | --- |
| 1 – No Answer |  |
| 4 – Not in service |  |
| 20 – Complete | 257 |
| 22 – Permanent Refusal |  |
| 23 – Site Closed |  |
| 24 – Business Closed |  |
| 25 – Building Torn Down |  |
| 99 – Not Complete | 41 |
| Totals | 298 |

c.	Statistical descriptions.  For the key variables that were used in the final models, provide descriptive statistics for the participant group, and, when present, for the comparison group.

The key variable for the analysis of retention is the number of removal/failures that occur for a measure over a specified time period.  The removal/failure rates by the end of 2005 are summarized for the various measures in Table B-7.

Table B-7. Removal/Failure Rates by End of 2005
for I/A EE Incentives Program Measures for Commercial Sector

| 1996 Program Year | 1997 Program Year |
| --- | --- |
| Measure | Percentage Removed or Failed by End of 2005 | Measure | Percentage Removed or Failed by End of 2005 |
| Electronic ballasts | 32.1% | CF lamps | 88.9% |
| Lighting EMS | 83.3% | Electronic ballasts | 34.4% |
| Adjustable speed drives | 0.0% | Lighting EMS | 17.2% |
|  |  | Adjustable speed drives | 2.9% |

4	a.	Describe procedures used for the treatment of outliers, and missing data points.

The basic information required for the analysis was whether a measure had failed or been removed within the time span of the study period.  For an individual measure, a removal or failure is essentially a binary 0-1 decision for purposes of analysis.  The problem of outliers would arise primarily at the aggregate level if there appeared to be a disproportionate percentage of removals or failures.  The possibility of outlier percentages was examined on a measure-by-measure basis.  No excessively high rates of removal/failure were detected.

b.	Describe what was done to control for the effects of background variables, such as economic, political activity, etc.

For each of the sites in the sample, information was collected regarding major changes in the facility’s structure, equipment, or operating hours. The responses given to these questions on tenancy changes, building and HVAC renovations, and lighting system changes provided data that was used in analyzing whether there were aggregate economic or political events affecting the sample sites.   It was assumed that such events would manifest at the site level.  As Table B-6 showed, the overall attrition of sites from the sample was low, indicating that there were no major economic or political events that would introduce bias into the data used for analysis of measure life.

c.	Describe procedures used to screen data for inclusion into the final analysis dataset.  Show how many customers, installations or observations were eliminated with each screen.

No screens were used to eliminate customers, installations, or observations from the longitudinal data set that was used for the analysis.  The numbers of sites and measures used for the analysis were as reported in Tables B-3, B-4, B-5 and B-6.

d.	Model Statistics.  For all final models, provide standard model statistics in a tabular form.

The final models used for estimating median useful lives for various measures were established by estimating hazard functions for each such measure, using power curve fits for a hazard function defined by a Weibull distribution.  The summary statistics for the various models fitted are shown in Table B-8.

Table B-8.  Summary of Hazard Function Estimation

| Type of Measure | Power Curve Fit | Weibull Distribution Parameters |
| --- | --- | --- |
|  | a | b | R-squared | ( (Scale) | ( (Shape) |
| Lighting Measures |
| CF fixtures | 0.0883 | -0.785 | 0.385 | 0.4099 | 0.2153 |
| CF lamps | 0.1833 | 0.202 | 0.117 | 0.1524 | 1.202 |
| Electronic ballasts | 0.0047 | 1.435 | 0.484 | 0.0019 | 2.435 |
| Lighting EMS | 0.0289 | 0.0516 | 0.005 | 0.0275 | 1.0516 |
| Non-Lighting Measures |
| Adjustable speed drives | * | * | * | * | * |

*Data were not sufficient to estimate EUL.

- Specification: Refer to the section(s) of the Study that present the initial and final model specifications that were used, the rationale for each, and the documentation for the major alternative models used.  In addition, the presentation of the specification should address, at a minimum, the following:

1)Describe how the model specification and estimation procedures recognize and address heterogeneity of customers (i.e., cross-sectional variation)

2) Discuss the factors, and their associated measures, that are omitted from the analysis, and any tests, reasoning, or special circumstances that justify their omission.

The model specifications used for the study are presented and discussed in Section 2.4 (theoretical considerations) and Sections 3.3 and 4.3.

For some measures, the numbers of removals or failures observed over the period from 1995 through 2005 were too small to support estimation of hazard functions.  This occurred for adjustable speed drives installed in 1996 and 1997.

f.	Error in measuring variables: Describe whether and how this issue was addressed, and what was done to minimize the problem (e.g., response bias, measurement errors, etc.)

Because the removal/failure variable is binary, the issue of measurement error was not considered to affect the results of the analysis.

g.	Influential data points.  Describe the influential data diagnostics that were used, and how the identified outliers were treated.

For some measures, the hazard plots showed a sawtooth pattern over period of study (i.e., low, high, low, high).   With this pattern, a low or a high point could move the fitted regression line.

h.	Missing data: Describe the methods used for handling missing data during the analysis phase of the study.

Missing data was not a problem for this analysis, except in the sense that some measures showed few removals/failures.

i.	Precision: Present the methods for the calculation of standard errors.

Because the survival functions for the measures studied are not symmetric, the standard error does not provide meaningful information on the spread around the estimated median life.  The information on the spread around the estimated value is provided by the lower and upper bounds of the confidence interval.

An 80% confidence interval for the estimated median life of a measure was calculated as follows.  The regression fit of the power curve coefficients was used to report the values of the estimated coefficients associated with the 80% confidence levels.  Thus, the power curve regression analysis for each measure provided three sets of parameters for the Weibull hazard rate function: the “best” fit parameters and parameters for the upper and lower bounds of the 80% confidence interval for the estimated coefficients.  In effect, the analysis provided an estimate of the “best” hazard function and survival function for a measure, plus estimates of the functions for the upper and lower bounds of the 80% confidence interval.

# APPENDIX C
RETROACTIVE WAIVER PERMITTING 
EXCLUSION OF 1995 PROGRAM

This appendix provides the retroactive waiver excluding the 1995 C/I/A EEI Program from the study requirement.

SOUTHERN CALIFORNIA EDISON COMPANY
 REQUEST FOR RETROACTIVE WAIVER
1995 COMMERCIAL, INDUSTRIAL AND AGRICULTURAL

ENERGY EFFICIENCY INCENTIVE PROGRAMS

Approved November 13, 1996

PARAMETER

Lines 3 and 4 of Table 8A,''lmpact and Persistence Studies Required for an Earnings Claim 
for PG&E, SDG&E, and SCE*, specifying the filing of first-year impact analyses of the energy-efficiency incentive (EEI) programs in the commercial, industrial, and agricultural (CIA) sectors.

PROTOCOL REQUIREMENT

Table 8A of the Protocols requires first-year impact studies for the 1995 CIA EEI programs.

WAIVER ALTERNATIVE

Waive the requirement for impact studies of these programs for 1995.

RATIONALE

With only 8 Customers participating in the 1995 program, no shareholder payments in question, and a study of the 1996 program scheduled, there is really no ratepayer value provided by requiring a 1995 load impact study. It is reasonable to treat 1995 as a skip year for evaluation of this very small program.

There are no earnings (and no penalties) associated with these programs. The Nonresidential EEI portfolio achieved 49% of the forecast Performance Earnings Basis ("PEB"). Since the portfolio did not achieve the minimum 75% performance standard, this program was not entitled to earnings, and none were claimed. Since the actual PEB was well above zero, there are no penalties. Edison's ability to spend DSM funds and to accrue resource benefits in 1995 was slowed by the substantial challenges Edison faced from the Internal Revenue Service's proposed change in the treatment of DSM expenses for tax purposes.

PROGRAM SUMMARY

|  | CEEI1 |
| --- | --- |
| Number of Participants | 82 |
| Administrative Costs | $322,000 |
| Incentive Costs | $62,000 |
| Total Program Costs | $384,000 |
| Net Resource Benefits | $1,315,000 |

______________________

1  There were no EEI program results from the industrial and Agricultural sectors in 1995.

2 All but one of the measures installed were lighting end uses: the other was refrigeration.

# Footnotes

Protocols and Procedures for the Verification of Costs, Benefits, and Shareholder Earnings for Demand-Side Management Programs, as adopted by California Public Utilities Commission Decision 93-05-063, with subsequent revisions.

Earlier analyses of the data collected during the measure retention study were reported in the following reports:

Commercial/Industrial/Agricultural Energy Efficiency Incentives Program Fourth Year Retention Study, Final Report.  Prepared for Southern California Edison by ADM Associates, Inc., March 1999.

Commercial/Industrial/Agricultural Energy Efficiency Incentives Program Fourth Year Retention Study, Annual Report for 1999 Data Collection.  Prepared for Southern California Edison by ADM Associates, Inc., July 2000.

Commercial/Industrial/Agricultural Energy Efficiency Incentives Program Retention Study, Annual Report for 2000 Data Collection.  Prepared for Southern California Edison by ADM Associates, Inc., February 2001

Commercial/Industrial/Agricultural Energy Efficiency Incentives Program Ninth Year Retention Study for 1993/1994 Commercial Measures.  Prepared for Southern California Edison by ADM Associates, Inc., February 2004.

See Protocols and Procedures for the Verification of Costs, Benefits, and Shareholder Earnings for Demand-Side Management Programs, as adopted by California Public Utilities Commission Decision 93-05-063, with subsequent revisions.

For discussion of this problem, see Hahn, G.J. and Meeker, W.Q, Jr., “Pitfalls and Practical Considerations in Product Life Analysis—Part I: Basic Concepts and Dangers of Extrapolation”, Journal of Quality Technology, Vol. 14, July 1982, pp. 144-152.

Collett, D. Modelling Survival Data in Medical Research, Chapman & Hall, 1994,  pp. 10-13.

Collett, ibid.  Also see Kiefer, Nicholas “Economic Duration Data and Hazard Functions”, Journal of Economic Literature, Vol. XXVI, pp. 646-679, June 1988.

See, for example, Snedecor, G.W. and Cochran, W.G., Statistical Methods, 7th Edition, Iowa State University Press, 1980,  p. 66.

Commercial/Industrial/Agricultural Energy Efficiency Incentives Program Fourth Year Retention Study, Final Report.  Prepared for Southern California Edison by ADM Associates, Inc., March 1999.