## Residential Average Customer
SmartAC Residential 2009 Ex-post Impact Tables
TABLE 1: Menu options |  | Hour Ending | Reference Load (kW) | Observed Load (kW) | Load Impact (kW) | %Load Reduction | Weighted Temp (F) | Uncertainty Adjusted Impact - Percentiles
Type of Results | Average Customer | [6 empty] | 10th | 30th | 50th | 70th | 90th
Customer Class | Residential | 1:00 | 0.69301 | 0.73996 | -0.046954 | -6.775% | 69.3994 | -0.065224 | -0.05443 | -0.046954 | -0.039478 | -0.028684
Device Type | All | 2:00 | 0.60705 | 0.6324 | -0.025348 | -4.176% | 67.6813 | -0.043448 | -0.032754 | -0.025348 | -0.017942 | -0.0072483
Climate Region | All | 3:00 | 0.55705 | 0.57759 | -0.020544 | -3.688% | 66.2349 | -0.038491 | -0.027888 | -0.020544 | -0.0132 | -0.0025965
Customer Type | All | 4:00 | 0.53925 | 0.54802 | -0.0087693 | -1.626% | 65.2577 | -0.026719 | -0.016114 | -0.0087693 | -0.0014244 | 0.0091805
|  | 5:00 | 0.53292 | 0.55628 | -0.02336 | -4.383% | 64.4083 | -0.04123 | -0.030672 | -0.02336 | -0.016048 | -0.0054897
TABLE 2: Event Day Information |  | 6:00 | 0.58226 | 0.61796 | -0.035693 | -6.13% | 63.8214 | -0.053577 | -0.043011 | -0.035693 | -0.028375 | -0.017809
Event Date | Tuesday, September 10, 2009 | 7:00 | 0.70832 | 0.75126 | -0.042942 | -6.063% | 62.8998 | -0.060908 | -0.050293 | -0.042942 | -0.03559 | -0.024976
Event Start | 15:00 | 8:00 | 0.77803 | 0.81246 | -0.034429 | -4.425% | 63.9689 | -0.052537 | -0.041839 | -0.034429 | -0.02702 | -0.016321
Event End | 19:00 | 9:00 | 0.74663 | 0.77404 | -0.02741 | -3.671% | 68.1869 | -0.045766 | -0.034921 | -0.02741 | -0.019899 | -0.0090544
TOTAL ENROLLED ACCOUNTS | 106621 | 10:00 | 0.75952 | 0.77928 | -0.019758 | -2.601% | 72.9595 | -0.038634 | -0.027482 | -0.019758 | -0.012033 | -0.000881
Avg. Load Reduction for Event Window | 0.19124 | 11:00 | 0.80571 | 0.82328 | -0.017578 | -2.182% | 78.0027 | -0.036747 | -0.025422 | -0.017578 | -0.0097345 | 0.0015908
% Load Reduction for Event Window | 9.379% | 12:00 | 0.90956 | 0.90352 | 0.0060402 | 0.6641% | 82.4883 | -0.013134 | -0.0018058 | 0.0060402 | 0.013886 | 0.025215
|  | 13:00 | 1.0457 | 1.025 | 0.020748 | 1.984% | 85.9613 | 0.0011943 | 0.012747 | 0.020748 | 0.028749 | 0.040302
|  | 14:00 | 1.222 | 1.2197 | 0.002358 | 0.193% | 89.1004 | -0.01838 | -0.0061278 | 0.002358 | 0.010844 | 0.023096
|  | 15:00 | 1.4585 | 1.4701 | -0.011568 | -0.7931% | 92.0172 | -0.033174 | -0.020409 | -0.011568 | -0.0027269 | 0.010038
|  | 16:00 | 1.7499 | 1.6306 | 0.11936 | 6.821% | 93.9988 | 0.096888 | 0.11017 | 0.11936 | 0.12856 | 0.14184
|  | 17:00 | 2.0074 | 1.7329 | 0.27457 | 13.68% | 94.9627 | 0.25218 | 0.26541 | 0.27457 | 0.28373 | 0.29695
|  | 18:00 | 2.1847 | 1.9333 | 0.25142 | 11.51% | 94.0984 | 0.22872 | 0.24213 | 0.25142 | 0.26071 | 0.27411
|  | 19:00 | 2.1703 | 2.0507 | 0.11961 | 5.511% | 91.7921 | 0.09651 | 0.11016 | 0.11961 | 0.12907 | 0.14271
|  | 20:00 | 2.0301 | 2.467 | -0.43689 | -21.52% | 87.7143 | -0.45889 | -0.44589 | -0.43689 | -0.42788 | -0.41488
|  | 21:00 | 1.8613 | 2.2486 | -0.38728 | -20.81% | 83.224 | -0.40833 | -0.39589 | -0.38728 | -0.37866 | -0.36622
|  | 22:00 | 1.5855 | 1.8233 | -0.23783 | -15% | 80.3877 | -0.25855 | -0.24631 | -0.23783 | -0.22935 | -0.21711
|  | 23:00 | 1.2444 | 1.399 | -0.15459 | -12.42% | 77.6478 | -0.17454 | -0.16275 | -0.15459 | -0.14642 | -0.13464
|  | 24:00 | 0.95707 | 1.0763 | -0.11927 | -12.46% | 75.7853 | -0.13962 | -0.1276 | -0.11927 | -0.11095 | -0.098927
|  |  | Reference Energy Use (kW) | Observed Energy Use (kW) | Total Load Impact (kW) | % Daily Load Change | Cooling Degree Hours (Base 75) | Uncertainty Adjusted Impact - Percentiles
[8 empty] | 10th | 30th | 50th | 70th | 90th
|  | Daily | 27.7363 | 28.5924 | -0.85609 | -3.087% | 104.6111 | 1.7406 | 1.218 | 0.85609 | 0.49418 | -0.028369
Note: A positive value % Daily Load Change indicates the use of less energy for the day.
Note: Residential loads are whole-building loads

## Residential Aggregate
SmartAC Residential 2009 Ex-post Impact Tables
TABLE 1: Menu options |  | Hour Ending | Reference Load (MW) | Observed Load (MW) | Load Impact (MW) | %Load Reduction | Weighted Temp (F) | Uncertainty Adjusted Impact - Percentiles
Type of Results | Aggregate | [6 empty] | 10th | 30th | 50th | 70th | 90th
Customer Class | Residential | 1:00 | 73.8893 | 78.8956 | -5.0063 | -6.775% | 69.3994 | -6.9542 | -5.8034 | -5.0063 | -4.2092 | -3.0583
Device Type | All | 2:00 | 64.7245 | 67.4271 | -2.7026 | -4.176% | 67.6813 | -4.6324 | -3.4923 | -2.7026 | -1.913 | -0.77282
Climate Region | All | 3:00 | 59.3931 | 61.5835 | -2.1904 | -3.688% | 66.2349 | -4.104 | -2.9734 | -2.1904 | -1.4074 | -0.27684
Customer Type | All | 4:00 | 57.4953 | 58.4303 | -0.93499 | -1.626% | 65.2577 | -2.8488 | -1.7181 | -0.93499 | -0.15187 | 0.97883
|  | 5:00 | 56.8204 | 59.311 | -2.4907 | -4.383% | 64.4083 | -4.396 | -3.2703 | -2.4907 | -1.711 | -0.58532
TABLE 2: Event Day Information |  | 6:00 | 62.0816 | 65.8872 | -3.8056 | -6.13% | 63.8214 | -5.7124 | -4.5859 | -3.8056 | -3.0253 | -1.8988
Event Date | Tuesday, September 10, 2009 | 7:00 | 75.5213 | 80.0998 | -4.5785 | -6.063% | 62.8998 | -6.494 | -5.3623 | -4.5785 | -3.7947 | -2.6629
Event Start | 15:00 | 8:00 | 82.9546 | 86.6255 | -3.6709 | -4.425% | 63.9689 | -5.6015 | -4.4609 | -3.6709 | -2.8809 | -1.7402
Event End | 19:00 | 9:00 | 79.6064 | 82.5289 | -2.9225 | -3.671% | 68.1869 | -4.8796 | -3.7233 | -2.9225 | -2.1217 | -0.96539
TOTAL ENROLLED ACCOUNTS | 106621 | 10:00 | 80.9807 | 83.0873 | -2.1066 | -2.601% | 72.9595 | -4.1192 | -2.9301 | -2.1066 | -1.283 | -0.093933
Avg. Load Reduction for Event Window | 20.3902 | 11:00 | 85.9052 | 87.7795 | -1.8742 | -2.182% | 78.0027 | -3.918 | -2.7105 | -1.8742 | -1.0379 | 0.16961
% Load Reduction for Event Window | 9.379% | 12:00 | 96.9781 | 96.3341 | 0.64401 | 0.6641% | 82.4883 | -1.4004 | -0.19254 | 0.64401 | 1.4806 | 2.6884
|  | 13:00 | 111.4952 | 109.283 | 2.2122 | 1.984% | 85.9613 | 0.12734 | 1.3591 | 2.2122 | 3.0653 | 4.297
|  | 14:00 | 130.2926 | 130.0412 | 0.25141 | 0.193% | 89.1004 | -1.9597 | -0.65335 | 0.25141 | 1.1562 | 2.4625
|  | 15:00 | 155.5094 | 156.7428 | -1.2334 | -0.7931% | 92.0172 | -3.5371 | -2.176 | -1.2334 | -0.29074 | 1.0703
|  | 16:00 | 186.5796 | 173.853 | 12.7266 | 6.821% | 93.9988 | 10.3303 | 11.7461 | 12.7266 | 13.7071 | 15.1229
|  | 17:00 | 214.0359 | 184.7613 | 29.2746 | 13.68% | 94.9627 | 26.8879 | 28.298 | 29.2746 | 30.2512 | 31.6613
|  | 18:00 | 232.9348 | 206.1282 | 26.8065 | 11.51% | 94.0984 | 24.3869 | 25.8164 | 26.8065 | 27.7967 | 29.2262
|  | 19:00 | 231.4014 | 218.6482 | 12.7532 | 5.511% | 91.7921 | 10.29 | 11.7452 | 12.7532 | 13.7611 | 15.2163
|  | 20:00 | 216.4513 | 263.0324 | -46.5811 | -21.52% | 87.7143 | -48.9275 | -47.5412 | -46.5811 | -45.621 | -44.2347
|  | 21:00 | 198.456 | 239.7478 | -41.2918 | -20.81% | 83.224 | -43.5368 | -42.2104 | -41.2918 | -40.3731 | -39.0467
|  | 22:00 | 169.0461 | 194.4035 | -25.3574 | -15% | 80.3877 | -27.5666 | -26.2614 | -25.3574 | -24.4533 | -23.1481
|  | 23:00 | 132.679 | 149.1612 | -16.4822 | -12.42% | 77.6478 | -18.6095 | -17.3527 | -16.4822 | -15.6118 | -14.355
|  | 24:00 | 102.0433 | 114.7602 | -12.7169 | -12.46% | 75.7853 | -14.8861 | -13.6046 | -12.7169 | -11.8293 | -10.5477
|  |  | Reference Energy Use (MW) | Observed Energy Use (MW) | Total Load Impact (MW) | % Daily Load Change | Cooling Degree Hours (Base 75) | Uncertainty Adjusted Impact - Percentiles
[8 empty] | 10th | 30th | 50th | 70th | 90th
|  | Daily | 2957.2749 | 3048.5524 | -91.2775 | -3.087% | 104.6111 | 92.162 | 91.6394 | 91.2775 | 90.9156 | 90.393
Note: A positive value % Daily Load Change indicates the use of less energy for the day.
Note: Residential loads are whole-building loads

## Non-Residential Avg Customer
SmartAC Non-Residential 2009 Ex-post Impact Tables
TABLE 1: Menu options |  | Hour Ending | Reference Load (kW) | Observed Load (kW) | Load Impact (kW) | %Load Reduction | Weighted Temp (F) | Uncertainty Adjusted Impact - Percentiles
Type of Results | Average Customer | [6 empty] | 10th | 30th | 50th | 70th | 90th
Customer Class | C&I | 1:00 | 0.31081 | 0.31081 | 0 | 0% | 69.4962 | 0 | 0 | 0 | 0 | 0
Device Type | All | 2:00 | 0.24689 | 0.24689 | 0 | 0% | 68.0657 | 0 | 0 | 0 | 0 | 0
Climate Region | All | 3:00 | 0.21044 | 0.21044 | 0 | 0% | 66.3288 | 0 | 0 | 0 | 0 | 0
Customer Type | All | 4:00 | 0.19322 | 0.19322 | 0 | 0% | 65.3186 | 0 | 0 | 0 | 0 | 0
|  | 5:00 | 0.19228 | 0.19228 | 0 | 0% | 64.5465 | 0 | 0 | 0 | 0 | 0
TABLE 2: Event Day Information |  | 6:00 | 0.15983 | 0.15983 | 0 | 0% | 63.8871 | 0 | 0 | 0 | 0 | 0
Event Date | Tuesday, September 10, 2009 | 7:00 | 0.19776 | 0.19776 | 0 | 0% | 62.7116 | 0 | 0 | 0 | 0 | 0
Event Start | 15:00 | 8:00 | 0.2826 | 0.2826 | 0 | 0% | 62.8835 | 0 | 0 | 0 | 0 | 0
Event End | 19:00 | 9:00 | 0.34351 | 0.34351 | 0 | 0% | 67.4503 | 0 | 0 | 0 | 0 | 0
TOTAL ENROLLED ACCOUNTS | 1001 | 10:00 | 0.63446 | 0.63446 | 0 | 0% | 72.3847 | 0 | 0 | 0 | 0 | 0
Avg. Load Reduction for Event Window | 0.70788 | 11:00 | 1.2275 | 1.2275 | 0 | 0% | 77.6107 | 0 | 0 | 0 | 0 | 0
% Load Reduction for Event Window | 24.8% | 12:00 | 1.9253 | 1.9253 | 0 | 0% | 82.382 | 0 | 0 | 0 | 0 | 0
|  | 13:00 | 2.4658 | 2.4658 | 0 | 0% | 86.3632 | 0 | 0 | 0 | 0 | 0
|  | 14:00 | 2.7607 | 2.7607 | 0 | 0% | 89.5626 | 0 | 0 | 0 | 0 | 0
|  | 15:00 | 2.9258 | 2.9258 | 0 | 0% | 92.3911 | 0 | 0 | 0 | 0 | 0
|  | 16:00 | 3.1479 | 2.369 | 0.77891 | 24.74% | 94.3215 | 0.39097 | 0.62017 | 0.77891 | 0.93766 | 1.1669
|  | 17:00 | 3.2136 | 2.3991 | 0.81458 | 25.35% | 95.6939 | 0.41872 | 0.6526 | 0.81458 | 0.97656 | 1.2104
|  | 18:00 | 2.7023 | 2.026 | 0.67625 | 25.03% | 95.7239 | 0.27978 | 0.51402 | 0.67625 | 0.83849 | 1.0727
|  | 19:00 | 2.3319 | 1.7702 | 0.56177 | 24.09% | 93.6818 | 0.17725 | 0.40442 | 0.56176 | 0.71911 | 0.94628
|  | 20:00 | 1.9742 | 2.1717 | -0.19742 | -10% | 89.5438 | -0.54229 | -0.33854 | -0.19742 | -0.056306 | 0.14745
|  | 21:00 | 1.3533 | 1.4887 | -0.13533 | -10% | 84.7099 | -0.41413 | -0.24941 | -0.13533 | -0.021252 | 0.14346
|  | 22:00 | 0.9925 | 1.0918 | -0.099251 | -10% | 81.4771 | -0.34255 | -0.19881 | -0.09925 | 0.000306 | 0.14405
|  | 23:00 | 0.73304 | 0.73304 | 0 | 0% | 78.6969 | 0 | 0 | 0 | 0 | 0
|  | 24:00 | 0.4996 | 0.4996 | 0 | 0% | 76.2208 | 0 | 0 | 0 | 0 | 0
|  |  | Reference Energy Use (MWh) | Observed Energy Use (kWh) | Change in Energy Use (kWh) | % Daily Load Change | Cooling Degree Hours (Base 75) | Uncertainty Adjusted Impact - Percentiles
[8 empty] | 10th | 30th | 50th | 70th | 90th
|  | Daily | 31.0254 | 28.6259 | 2.3995 | 7.734% | 0 | -0.032252 | 1.4044 | 2.3995 | 3.3946 | 4.8313
Note: Non-residential loads are AC loads
Note: A positive value % Daily Load Change indicates the use of less energy for the day.

## Non-Residential Aggregate
SmartAC Non-Residential 2009 Ex-post Impact Tables
TABLE 1: Menu options |  | Hour Ending | Reference Load (MW) | Observed Load (MW) | Load Impact (MW) | %Load Reduction | Weighted Temp (F) | Uncertainty Adjusted Impact - Percentiles
Type of Results | Aggregate | [6 empty] | 10th | 30th | 50th | 70th | 90th
Customer Class | C&I | 1:00 | 0.31112 | 0.31112 | 0 | 0% | 69.4962 | 0 | 0 | 0 | 0 | 0
Device Type | All | 2:00 | 0.24714 | 0.24714 | 0 | 0% | 68.0657 | 0 | 0 | 0 | 0 | 0
Climate Region | All | 3:00 | 0.21066 | 0.21066 | 0 | 0% | 66.3288 | 0 | 0 | 0 | 0 | 0
Customer Type | All | 4:00 | 0.19341 | 0.19341 | 0 | 0% | 65.3186 | 0 | 0 | 0 | 0 | 0
|  | 5:00 | 0.19248 | 0.19248 | 0 | 0% | 64.5465 | 0 | 0 | 0 | 0 | 0
TABLE 2: Event Day Information |  | 6:00 | 0.15999 | 0.15999 | 0 | 0% | 63.8871 | 0 | 0 | 0 | 0 | 0
Event Date | Tuesday, September 10, 2009 | 7:00 | 0.19795 | 0.19795 | 0 | 0% | 62.7116 | 0 | 0 | 0 | 0 | 0
Event Start | 15:00 | 8:00 | 0.28288 | 0.28288 | 0 | 0% | 62.8835 | 0 | 0 | 0 | 0 | 0
Event End | 19:00 | 9:00 | 0.34386 | 0.34386 | 0 | 0% | 67.4503 | 0 | 0 | 0 | 0 | 0
TOTAL ENROLLED ACCOUNTS | 1001 | 10:00 | 0.6351 | 0.6351 | 0 | 0% | 72.3847 | 0 | 0 | 0 | 0 | 0
Avg. Load Reduction for Event Window | 0.70788 | 11:00 | 1.2287 | 1.2287 | 0 | 0% | 77.6107 | 0 | 0 | 0 | 0 | 0
% Load Reduction for Event Window | 24.8% | 12:00 | 1.9272 | 1.9272 | 0 | 0% | 82.382 | 0 | 0 | 0 | 0 | 0
|  | 13:00 | 2.4683 | 2.4683 | 0 | 0% | 86.3632 | 0 | 0 | 0 | 0 | 0
|  | 14:00 | 2.7635 | 2.7635 | 0 | 0% | 89.5626 | 0 | 0 | 0 | 0 | 0
|  | 15:00 | 2.9288 | 2.9288 | 0 | 0% | 92.3911 | 0 | 0 | 0 | 0 | 0
|  | 16:00 | 3.1511 | 2.3714 | 0.77891 | 24.74% | 94.3215 | 0.39136 | 0.62079 | 0.77969 | 0.93859 | 1.168
|  | 17:00 | 3.2169 | 2.4015 | 0.81458 | 25.35% | 95.6939 | 0.41914 | 0.65325 | 0.81539 | 0.97754 | 1.2116
|  | 18:00 | 2.705 | 2.0281 | 0.67625 | 25.03% | 95.7239 | 0.28006 | 0.51453 | 0.67693 | 0.83932 | 1.0738
|  | 19:00 | 2.3342 | 1.7719 | 0.56177 | 24.09% | 93.6818 | 0.17743 | 0.40483 | 0.56233 | 0.71982 | 0.94723
|  | 20:00 | 1.9762 | 2.1738 | -0.19742 | -10% | 89.5438 | -0.54284 | -0.33888 | -0.19762 | -0.056362 | 0.14759
|  | 21:00 | 1.3547 | 1.4901 | -0.13533 | -10% | 84.7099 | -0.41454 | -0.24966 | -0.13547 | -0.021274 | 0.1436
|  | 22:00 | 0.99349 | 1.0928 | -0.099251 | -10% | 81.4771 | -0.34289 | -0.199 | -0.099349 | 0.00030631 | 0.14419
|  | 23:00 | 0.73377 | 0.73377 | 0 | 0% | 78.6969 | 0 | 0 | 0 | 0 | 0
|  | 24:00 | 0.5001 | 0.5001 | 0 | 0% | 76.2208 | 0 | 0 | 0 | 0 | 0
|  |  | Reference Energy Use (MWh) | Observed Energy Use (MWh) | Change in Energy Use (MWh) | % Daily Load Change | Cooling Degree Hours (Base 75) | Uncertainty Adjusted Impact - Percentiles
[8 empty] | 10th | 30th | 50th | 70th | 90th
|  | Daily | 31.0565 | 28.6546 | 2.3995 | 7.734% | 0 | -0.032284 | 1.4059 | 2.4019 | 3.398 | 4.8361
Note: Non-residential loads are AC loads
Note: A positive value % Daily Load Change indicates the use of less energy for the day.