## Notes
This workbook accompanies the Essential Use of Electricity Study Final Report _CALMAC_SCE0478.01.
The CALMAC ID for this document is SCE0478.02
This workbook contains five tabs:
1. Electric usage by baseline territory
2. Electric usage by baseline territory group
3. Electric usage by utility and medical baseline status
4. Electric usage by utility and medical equipment status
5. Electric usage by utility and CARE/FERA status
For these profiles, essential use was defined as including the first refrigerator, interior lighting, primary electric space heating, central cooling, and room air conditioning. The thermostat temperature settings were set at 78 degrees Fahrenheit for cooling and at 68 degrees Fahrenheit for primary space heating.
The columns are defined as:
| Profile | One of five different profiles.
| Baseline Territory, Baseline Territory Group, Medical Baseline Status, Medical Equipment Status, CARE/FERA Status | Value for primary characteristic of the profile
| Electric IOU | Electric IOU
| All Electric? | Household has central electric space heating?
| Annual Essential UEC | kWh per year for essential usage
| Summer Essential UEC | kWh per summer for essential usage
| Winter Essential UEC | kWh per winter for essential usage
| Annual Total Household UEC | kWh per year for total household usage
| Summer Total Household UEC | kWh per summer for total household usage
| Winter Total Household UEC | kWh per winter for total household usage
| Daily Annual Essential UEC | kWh per daily for the full year for essential usage
| Daily Summer Essential UEC | kWh per daily for the summer days for essential usage
| Daily Winter Essential UEC | kWh per daily for the winter days for essential usage
| Daily Annual Total Household UEC | kWh per daily for the full year for total household usage
| Daily Summer Total Household UEC | kWh per daily for the summer days for total household usage
| Daily Winter Total Household UEC | kWh per daily for the winter days for total household usage
| Summer Days | Number of days in the summer season
| Winter Days | Number of days in the winter season

## By Baseline Territory
Profile | Baseline Territory | Elec IOU | All_electric | Essential_UEC_Annual | Essential_UEC_Summer | Essential_UEC_Winter | Total_HH | Total_HH_Summer | Total_HH_Winter | Essential_UEC_Annual_Day | Essential_UEC_Summer_Day | Essential_UEC_Winter_Day | Total_HH_Day | Total_HH_Summer_Day | Total_HH_Winter_Day | Summer_Days | Winter_Days
By Baseline Territory | P | PG&E | No | 2754.7279 | 1452.6199 | 1302.108 | 8287.7108 | 3091.1732 | 5652.6034 | 7.5472 | 11.9067 | 5.3585 | 22.7061 | 25.3375 | 23.2617 | 122 | 243
By Baseline Territory | P | PG&E | Yes | 4806.7785 | 1511.7011 | 3295.0773 | 10363.2005 | 3135.8712 | 7721.4328 | 13.1693 | 12.391 | 13.56 | 28.3923 | 25.7039 | 31.7754 | 122 | 243
By Baseline Territory | Q | PG&E | No | 1832.3649 | 684.7118 | 1147.6531 | 6401.0335 | 2130.6159 | 4282.6023 | 5.0202 | 5.6124 | 4.7229 | 17.5371 | 17.4641 | 17.6239 | 122 | 243
By Baseline Territory | Q | PG&E | Yes | 2759.8505 | 734.8996 | 2024.9509 | 8490.1878 | 2545.0637 | 6038.362 | 7.5612 | 6.0238 | 8.3331 | 23.2608 | 20.8612 | 24.8492 | 122 | 243
By Baseline Territory | R | PG&E | No | 3860.7944 | 2343.3533 | 1517.4411 | 8233.6792 | 3547.4062 | 5570.1602 | 10.5775 | 19.2078 | 6.2446 | 22.558 | 29.0771 | 22.9225 | 122 | 243
By Baseline Territory | R | PG&E | Yes | 5099.9864 | 2342.632 | 2757.3544 | 10052.8389 | 3717.3928 | 7285.2177 | 13.9726 | 19.2019 | 11.3471 | 27.542 | 30.4704 | 29.9803 | 122 | 243
By Baseline Territory | S | PG&E | No | 3020.4218 | 1674.2321 | 1346.1897 | 7428.3042 | 2972.3754 | 5105.538 | 8.2751 | 13.7232 | 5.5399 | 20.3515 | 24.3637 | 21.0104 | 122 | 243
By Baseline Territory | S | PG&E | Yes | 4212.4047 | 1626.2294 | 2586.1752 | 9318.454 | 3098.8848 | 6804.536 | 11.5408 | 13.3297 | 10.6427 | 25.53 | 25.4007 | 28.0022 | 122 | 243
By Baseline Territory | T | PG&E | No | 1526.3336 | 537.6527 | 988.6809 | 4460.6161 | 1459.8408 | 3002.4677 | 4.1817 | 4.407 | 4.0686 | 12.2209 | 11.9659 | 12.3558 | 122 | 243
By Baseline Territory | T | PG&E | Yes | 2384.9856 | 642.1275 | 1742.8581 | 5038.2234 | 1472.8742 | 3565.4213 | 6.5342 | 5.2633 | 7.1723 | 13.8034 | 12.0727 | 14.6725 | 122 | 243
By Baseline Territory | V | PG&E | No | 1823.3935 | 716.2529 | 1107.1406 | 5659.769 | 1940.1549 | 3855.9321 | 4.9956 | 5.8709 | 4.5561 | 15.5062 | 15.9029 | 15.868 | 122 | 243
By Baseline Territory | V | PG&E | Yes | 3158.1688 | 961.7688 | 2196.4 | 6811.4686 | 2117.9175 | 4765.5427 | 8.6525 | 7.8834 | 9.0387 | 18.6616 | 17.36 | 19.6113 | 122 | 243
By Baseline Territory | W | PG&E | No | 4041.2014 | 2466.1005 | 1575.1009 | 7487.0794 | 3377.8153 | 4989.753 | 11.0718 | 20.2139 | 6.4819 | 20.5125 | 27.687 | 20.534 | 122 | 243
By Baseline Territory | W | PG&E | Yes | 4920.0067 | 2444.8114 | 2475.1953 | 7909.617 | 3219.9548 | 5563.2988 | 13.4795 | 20.0394 | 10.186 | 21.6702 | 26.3931 | 22.8942 | 122 | 243
By Baseline Territory | X | PG&E | No | 1914.1985 | 805.5846 | 1108.6138 | 5770.6087 | 1989.5849 | 3908.3617 | 5.2444 | 6.6032 | 4.5622 | 15.8099 | 16.3081 | 16.0838 | 122 | 243
By Baseline Territory | X | PG&E | Yes | 2606.0006 | 753.8575 | 1852.143 | 5765.2616 | 1723.0021 | 4149.6564 | 7.1397 | 6.1792 | 7.622 | 15.7952 | 14.123 | 17.0768 | 122 | 243
By Baseline Territory | Y | PG&E | No | 2389.5884 | 1162.4376 | 1227.1508 | 7481.1254 | 2641.1789 | 5109.1998 | 6.5468 | 9.5282 | 5.05 | 20.4962 | 21.649 | 21.0255 | 122 | 243
By Baseline Territory | Y | PG&E | Yes | 4366.053 | 1049.8413 | 3316.2117 | 9168.2136 | 2540.1957 | 6831.7496 | 11.9618 | 8.6053 | 13.647 | 25.1184 | 20.8213 | 28.1142 | 122 | 243
By Baseline Territory | Z | PG&E | No | 2646.7581 | 1279.4159 | 1367.3423 | 7693.6355 | 2826.3072 | 5387.4018 | 7.2514 | 10.487 | 5.6269 | 21.0785 | 23.1665 | 22.1704 | 122 | 243
By Baseline Territory | Z | PG&E | Yes | 2452.9585 | 613.023 | 1839.9355 | 8956.4247 | 2641.3245 | 6315.1002 | 6.7204 | 5.0248 | 7.5718 | 24.5381 | 21.6502 | 25.9881 | 122 | 243
By Baseline Territory | Unknown-PGE | PG&E | No | 1881.1552 | 873.5786 | 1007.5766 | 5751.4001 | 2070.0952 | 3939.785 | 5.1538 | 7.1605 | 4.1464 | 15.7573 | 16.968 | 16.2131 | 122 | 243
By Baseline Territory | Unknown-PGE | PG&E | Yes | 3162.6038 | 1430.4104 | 1732.1934 | 6700.73 | 2441.4101 | 4726.1123 | 8.6647 | 11.7247 | 7.1284 | 18.3582 | 20.0116 | 19.449 | 122 | 243
By Baseline Territory | 10 | SCE | No | 3261.4605 | 1832.2283 | 1429.2322 | 7455.8849 | 3064.9487 | 5072.6298 | 8.9355 | 15.0183 | 5.8816 | 20.4271 | 25.1225 | 20.875 | 122 | 243
By Baseline Territory | 10 | SCE | Yes | 3281.4621 | 1315.7559 | 1965.7062 | 6958.2745 | 2422.4927 | 4993.7383 | 8.9903 | 10.7849 | 8.0893 | 19.0638 | 19.8565 | 20.5504 | 122 | 243
By Baseline Territory | 13 | SCE | No | 3885.1044 | 2366.5351 | 1518.5693 | 8186.47 | 3519.0162 | 5575.8447 | 10.6441 | 19.3978 | 6.2493 | 22.4287 | 28.8444 | 22.9459 | 122 | 243
By Baseline Territory | 13 | SCE | Yes | 5169.516 | 2101.1261 | 3068.3898 | 9158.0147 | 3246.7264 | 6828.8665 | 14.1631 | 17.2223 | 12.6271 | 25.0905 | 26.6125 | 28.1023 | 122 | 243
By Baseline Territory | 14 | SCE | No | 3887.1702 | 2355.3546 | 1531.8156 | 7710.6024 | 3222.5443 | 5075.3148 | 10.6498 | 19.3062 | 6.3038 | 21.1249 | 26.4143 | 20.8861 | 122 | 243
By Baseline Territory | 14 | SCE | Yes | 5144.4158 | 2629.8169 | 2514.5989 | 9078.572 | 3726.5628 | 6172.4921 | 14.0943 | 21.5559 | 10.3481 | 24.8728 | 30.5456 | 25.4012 | 122 | 243
By Baseline Territory | 15 | SCE | No | 6950.1002 | 4100.9886 | 2849.1116 | 11556.1245 | 5272.5342 | 7436.5125 | 19.0414 | 33.6147 | 11.7247 | 31.6606 | 43.2175 | 30.6029 | 122 | 243
By Baseline Territory | 15 | SCE | Yes | 7605.5399 | 4162.5564 | 3442.9835 | 13327.0497 | 5556.5311 | 8699.8352 | 20.8371 | 34.1193 | 14.1687 | 36.5125 | 45.5453 | 35.8018 | 122 | 243
By Baseline Territory | 16 | SCE | No | 2660.5447 | 1346.3276 | 1314.2172 | 6625.788 | 2420.2783 | 4407.5289 | 7.2892 | 11.0355 | 5.4083 | 18.1528 | 19.8383 | 18.138 | 122 | 243
By Baseline Territory | 16 | SCE | Yes | 3457.3346 | 1445.9962 | 2011.3384 | 8467.433 | 2928.9587 | 6079.3795 | 9.4721 | 11.8524 | 8.2771 | 23.1984 | 24.0079 | 25.018 | 122 | 243
By Baseline Territory | 5 | SCE | No | 2390.0373 | 1029.0948 | 1360.9424 | 12105.1967 | 4051.9081 | 8241.3671 | 6.548 | 8.4352 | 5.6006 | 33.1649 | 33.2124 | 33.9151 | 122 | 243
By Baseline Territory | 5 | SCE | Yes | 2141.3355 | 567.7629 | 1573.5726 | 7174.1841 | 2151.0899 | 5042.7812 | 5.8667 | 4.6538 | 6.4756 | 19.6553 | 17.6319 | 20.7522 | 122 | 243
By Baseline Territory | 6 | SCE | No | 1892.5884 | 766.4009 | 1126.1875 | 5188.1854 | 1793.174 | 3473.7725 | 5.1852 | 6.282 | 4.6345 | 14.2142 | 14.6981 | 14.2954 | 122 | 243
By Baseline Territory | 6 | SCE | Yes | 2121.2137 | 649.7056 | 1471.5081 | 4747.5375 | 1467.9112 | 3348.2618 | 5.8115 | 5.3255 | 6.0556 | 13.007 | 12.0321 | 13.7789 | 122 | 243
By Baseline Territory | 8 | SCE | No | 2176.7312 | 984.3591 | 1192.3721 | 5434.5831 | 1994.7352 | 3618.1002 | 5.9636 | 8.0685 | 4.9069 | 14.8893 | 16.3503 | 14.8893 | 122 | 243
By Baseline Territory | 8 | SCE | Yes | 2328.2307 | 819.5919 | 1508.6388 | 5019.4994 | 1649.0226 | 3498.3419 | 6.3787 | 6.718 | 6.2084 | 13.7521 | 13.5166 | 14.3965 | 122 | 243
By Baseline Territory | 9 | SCE | No | 2647.936 | 1321.8107 | 1326.1254 | 6232.9447 | 2411.2492 | 4162.7943 | 7.2546 | 10.8345 | 5.4573 | 17.0766 | 19.7643 | 17.1308 | 122 | 243
By Baseline Territory | 9 | SCE | Yes | 2785.5064 | 1105.955 | 1679.5514 | 5531.5964 | 1931.6908 | 3836.8159 | 7.6315 | 9.0652 | 6.9117 | 15.1551 | 15.8335 | 15.7894 | 122 | 243
By Baseline Territory | Unknown-SCE | SCE | No | 3310.9646 | 1758.5407 | 1552.4239 | 7554.6283 | 2971.2577 | 4998.6329 | 9.0711 | 14.4143 | 6.3886 | 20.6976 | 24.3546 | 20.5705 | 122 | 243
By Baseline Territory | Unknown-SCE | SCE | Yes | 3386.731 | 1403.4631 | 1983.2679 | 7761.8161 | 2667.0097 | 5471.4122 | 9.2787 | 11.5038 | 8.1616 | 21.2652 | 21.8607 | 22.5161 | 122 | 243
By Baseline Territory | Coastal | SDG&E | No | 1836.3422 | 890.5678 | 945.7744 | 5137.0786 | 2186.9745 | 3050.7649 | 5.0311 | 5.8207 | 4.4612 | 14.0742 | 14.294 | 14.3904 | 153 | 212
By Baseline Territory | Coastal | SDG&E | Yes | 1971.1874 | 725.3357 | 1245.8517 | 4682.3522 | 1787.7818 | 2970.3791 | 5.4005 | 4.7408 | 5.8767 | 12.8284 | 11.6848 | 14.0112 | 153 | 212
By Baseline Territory | Desert | SDG&E | No | 5131.9066 | 3105.2951 | 2026.6115 | 7806.2638 | 3635.759 | 4431.5301 | 14.06 | 20.296 | 9.5595 | 21.387 | 23.7631 | 20.9034 | 153 | 212
By Baseline Territory | Desert | SDG&E | Yes | 4517.3678 | 2529.8371 | 1987.5307 | 8129.0615 | 3854.2633 | 4964.9638 | 12.3764 | 16.5349 | 9.3751 | 22.2714 | 25.1913 | 23.4196 | 153 | 212
By Baseline Territory | Inland | SDG&E | No | 2063.3426 | 1059.6851 | 1003.6575 | 5631.0718 | 2444.7802 | 3366.8423 | 5.653 | 6.926 | 4.7342 | 15.4276 | 15.979 | 15.8813 | 153 | 212
By Baseline Territory | Inland | SDG&E | Yes | 2300.9903 | 898.7854 | 1402.2049 | 5438.3493 | 2126.6345 | 3454.1492 | 6.3041 | 5.8744 | 6.6142 | 14.8996 | 13.8996 | 16.2932 | 153 | 212
By Baseline Territory | Mountain | SDG&E | No | 2540.5819 | 1399.5752 | 1141.0068 | 6772.6178 | 3011.7933 | 4075.382 | 6.9605 | 9.1476 | 5.3821 | 18.5551 | 19.6849 | 19.2235 | 153 | 212
By Baseline Territory | Mountain | SDG&E | Yes | 3182.7269 | 1311.7083 | 1871.0185 | 9031.7532 | 3617.7292 | 5766.3437 | 8.7198 | 8.5733 | 8.8256 | 24.7445 | 23.6453 | 27.1997 | 153 | 212
By Baseline Territory | Unknown-SDGE | SDG&E | No | 1891.1893 | 941.3613 | 949.8279 | 5483.8193 | 2317.5799 | 3280.5117 | 5.1813 | 6.1527 | 4.4803 | 15.0242 | 15.1476 | 15.4741 | 153 | 212
By Baseline Territory | Unknown-SDGE | SDG&E | Yes | 2061.4493 | 838.0082 | 1223.4411 | 5217.2529 | 2081.175 | 3209.6581 | 5.6478 | 5.4772 | 5.7709 | 14.2938 | 13.6025 | 15.1399 | 153 | 212

## By Baseline Territory Group
Profile | Baseline Territory Group | Electric IOU | All Electric | Essential_UEC_Annual | Essential_UEC_Summer | Essential_UEC_Winter | Total_HH | Total_HH_Summer | Total_HH_Winter | Essential_UEC_Annual_Day | Essential_UEC_Summer_Day | Essential_UEC_Winter_Day | Total_HH_Day | Total_HH_Summer_Day | Total_HH_Winter_Day | Summer_Days | Winter_Days
By Baseline Territory Group | PG&E Cool (T,V,Z) | PG&E | No | 1544.398 | 548.8861 | 995.5119 | 4526.4834 | 1486.6146 | 3049.8059 | 4.2312 | 4.4991 | 4.0968 | 12.4013 | 12.1854 | 12.5506 | 122 | 243
By Baseline Territory Group | PG&E Cool (T,V,Z) | PG&E | Yes | 2405.509 | 650.5625 | 1754.9465 | 5088.5512 | 1490.9592 | 3599.5676 | 6.5904 | 5.3325 | 7.222 | 13.9412 | 12.221 | 14.813 | 122 | 243
By Baseline Territory Group | PG&E Warm (Q,X,Y) | PG&E | No | 1930.7553 | 817.5695 | 1113.1858 | 5837.0834 | 2014.1677 | 3954.5192 | 5.2897 | 6.7014 | 4.581 | 15.992 | 16.5096 | 16.2737 | 122 | 243
By Baseline Territory Group | PG&E Warm (Q,X,Y) | PG&E | Yes | 2667.6558 | 764.0857 | 1903.5701 | 5892.0623 | 1753.977 | 4248.7863 | 7.3086 | 6.263 | 7.8336 | 16.1426 | 14.3769 | 17.4847 | 122 | 243
By Baseline Territory Group | PG&E Hot (P,R,S,W) | PG&E | No | 3400.7673 | 1972.9828 | 1427.7845 | 7759.1306 | 3216.7841 | 5278.6922 | 9.3172 | 16.172 | 5.8757 | 21.2579 | 26.3671 | 21.723 | 122 | 243
By Baseline Territory Group | PG&E Hot (P,R,S,W) | PG&E | Yes | 4672.8214 | 1933.3732 | 2739.4481 | 9559.2848 | 3318.7807 | 6962.2668 | 12.8023 | 15.8473 | 11.2734 | 26.1898 | 27.2031 | 28.6513 | 122 | 243
By Baseline Territory Group | PG&E Unknown | PG&E | No | 1881.1552 | 873.5786 | 1007.5766 | 5751.4001 | 2070.0952 | 3939.785 | 5.1538 | 7.1605 | 4.1464 | 15.7573 | 16.968 | 16.2131 | 122 | 243
By Baseline Territory Group | PG&E Unknown | PG&E | Yes | 3162.6038 | 1430.4104 | 1732.1934 | 6700.73 | 2441.4101 | 4726.1123 | 8.6647 | 11.7247 | 7.1284 | 18.3582 | 20.0116 | 19.449 | 122 | 243
By Baseline Territory Group | SCE Cool (6,8,16) | SCE | No | 2088.9462 | 916.5085 | 1172.4378 | 5401.7329 | 1937.0812 | 3603.9993 | 5.7231 | 7.5124 | 4.8248 | 14.7993 | 15.8777 | 14.8313 | 122 | 243
By Baseline Territory Group | SCE Cool (6,8,16) | SCE | Yes | 2252.1175 | 750.3737 | 1501.7437 | 4963.7285 | 1589.0093 | 3482.8331 | 6.1702 | 6.1506 | 6.18 | 13.5993 | 13.0247 | 14.3326 | 122 | 243
By Baseline Territory Group | SCE Moderate (5,9) | SCE | No | 2647.766 | 1321.6177 | 1326.1483 | 6236.8169 | 2412.3311 | 4165.4838 | 7.2542 | 10.8329 | 5.4574 | 17.0872 | 19.7732 | 17.1419 | 122 | 243
By Baseline Territory Group | SCE Moderate (5,9) | SCE | Yes | 2783.3423 | 1104.1469 | 1679.1954 | 5537.1148 | 1932.4279 | 3840.8674 | 7.6256 | 9.0504 | 6.9103 | 15.1702 | 15.8396 | 15.806 | 122 | 243
By Baseline Territory Group | SCE Hot (10,13,14,15) | SCE | No | 3958.8467 | 2308.019 | 1650.8277 | 8133.6183 | 3440.6237 | 5438.4755 | 10.8462 | 18.9182 | 6.7935 | 22.2839 | 28.2018 | 22.3806 | 122 | 243
By Baseline Territory Group | SCE Hot (10,13,14,15) | SCE | Yes | 4738.1191 | 2232.1467 | 2505.9724 | 8928.4225 | 3402.7937 | 6200.3178 | 12.9811 | 18.2963 | 10.3126 | 24.4614 | 27.8918 | 25.5157 | 122 | 243
By Baseline Territory Group | SCE Unknown | SCE | No | 3310.9646 | 1758.5407 | 1552.4239 | 7554.6283 | 2971.2577 | 4998.6329 | 9.0711 | 14.4143 | 6.3886 | 20.6976 | 24.3546 | 20.5705 | 122 | 243
By Baseline Territory Group | SCE Unknown | SCE | Yes | 3386.731 | 1403.4631 | 1983.2679 | 7761.8161 | 2667.0097 | 5471.4122 | 9.2787 | 11.5038 | 8.1616 | 21.2652 | 21.8607 | 22.5161 | 122 | 243
By Baseline Territory Group | SDG&E Cool (Coastal) | SDG&E | No | 1836.3422 | 890.5678 | 945.7744 | 5137.0786 | 2186.9745 | 3050.7649 | 5.0311 | 5.8207 | 4.4612 | 14.0742 | 14.294 | 14.3904 | 153 | 212
By Baseline Territory Group | SDG&E Cool (Coastal) | SDG&E | Yes | 1971.1874 | 725.3357 | 1245.8517 | 4682.3522 | 1787.7818 | 2970.3791 | 5.4005 | 4.7408 | 5.8767 | 12.8284 | 11.6848 | 14.0112 | 153 | 212
By Baseline Territory Group | SDG&E Moderate (Inland) | SDG&E | No | 2063.3426 | 1059.6851 | 1003.6575 | 5631.0718 | 2444.7802 | 3366.8423 | 5.653 | 6.926 | 4.7342 | 15.4276 | 15.979 | 15.8813 | 153 | 212
By Baseline Territory Group | SDG&E Moderate (Inland) | SDG&E | Yes | 2300.9903 | 898.7854 | 1402.2049 | 5438.3493 | 2126.6345 | 3454.1492 | 6.3041 | 5.8744 | 6.6142 | 14.8996 | 13.8996 | 16.2932 | 153 | 212
By Baseline Territory Group | SDG&E Hot (Mountain and Desert) | SDG&E | No | 2941.775 | 1663.6574 | 1278.1175 | 6932.6486 | 3108.3967 | 4130.5214 | 8.0597 | 10.8736 | 6.0289 | 18.9936 | 20.3163 | 19.4836 | 153 | 212
By Baseline Territory Group | SDG&E Hot (Mountain and Desert) | SDG&E | Yes | 3585.4169 | 1679.2442 | 1906.1728 | 8759.3915 | 3689.0966 | 5524.55 | 9.8231 | 10.9755 | 8.9914 | 23.9983 | 24.1117 | 26.0592 | 153 | 212
By Baseline Territory Group | SDG&E Unknown | SDG&E | No | 1891.1893 | 941.3613 | 949.8279 | 5483.8193 | 2317.5799 | 3280.5117 | 5.1813 | 6.1527 | 4.4803 | 15.0242 | 15.1476 | 15.4741 | 153 | 212
By Baseline Territory Group | SDG&E Unknown | SDG&E | Yes | 2061.4493 | 838.0082 | 1223.4411 | 5217.2529 | 2081.175 | 3209.6581 | 5.6478 | 5.4772 | 5.7709 | 14.2938 | 13.6025 | 15.1399 | 153 | 212

## By IOU and Med Baseline Status
Profile | Electric IOU | On Medical Baseline | All Electric | Essential_UEC_Annual | Essential_UEC_Summer | Essential_UEC_Winter | Total_HH | Total_HH_Summer | Total_HH_Winter | Essential_UEC_Annual_Day | Essential_UEC_Summer_Day | Essential_UEC_Winter_Day | Total_HH_Day | Total_HH_Summer_Day | Total_HH_Winter_Day | Summer_Days | Winter_Days
By Electric IOU and Medical Baseline Status | PG&E | Yes | No | 2908.8449 | 1576.6307 | 1332.2142 | 7353.6288 | 2909.7535 | 4978.0161 | 7.9694 | 12.9232 | 5.4824 | 20.1469 | 23.8504 | 20.4857 | 122 | 243
By Electric IOU and Medical Baseline Status | PG&E | Yes | Yes | 4241.8677 | 1659.3947 | 2582.473 | 8980.7628 | 2991.9873 | 6438.381 | 11.6216 | 13.6016 | 10.6275 | 24.6048 | 24.5245 | 26.4954 | 122 | 243
By Electric IOU and Medical Baseline Status | PG&E | No | No | 2320.9915 | 1133.555 | 1187.4366 | 6135.2127 | 2275.8457 | 4160.7465 | 6.3589 | 9.2914 | 4.8866 | 16.8088 | 18.6545 | 17.1224 | 122 | 243
By Electric IOU and Medical Baseline Status | PG&E | No | Yes | 3297.467 | 1142.5316 | 2154.9354 | 6951.3599 | 2230.5823 | 5024.7789 | 9.0342 | 9.365 | 8.868 | 19.0448 | 18.2835 | 20.6781 | 122 | 243
By Electric IOU and Medical Baseline Status | PG&E | Unknown | No | 2013.2085 | 961.6447 | 1051.5638 | 5580.5671 | 2066.5238 | 3831.1395 | 5.5156 | 7.8823 | 4.3274 | 15.2892 | 16.9387 | 15.766 | 122 | 243
By Electric IOU and Medical Baseline Status | PG&E | Unknown | Yes | 2359.0566 | 1015.2169 | 1343.8397 | 3891.2011 | 1448.5116 | 2504.6114 | 6.4632 | 8.3214 | 5.5302 | 10.6608 | 11.873 | 10.307 | 122 | 243
By Electric IOU and Medical Baseline Status | SCE | Yes | No | 3372.9612 | 1868.0545 | 1504.9067 | 7851.7731 | 3164.0771 | 5255.0214 | 9.241 | 15.3119 | 6.193 | 21.5117 | 25.9351 | 21.6256 | 122 | 243
By Electric IOU and Medical Baseline Status | SCE | Yes | Yes | 3466.7637 | 1437.2856 | 2029.4781 | 8091.0587 | 2862.4318 | 5674.9627 | 9.498 | 11.781 | 8.3518 | 22.1673 | 23.4626 | 23.3538 | 122 | 243
By Electric IOU and Medical Baseline Status | SCE | No | No | 2852.5581 | 1482.1619 | 1370.3962 | 6500.7174 | 2549.7481 | 4341.7287 | 7.8152 | 12.1489 | 5.6395 | 17.8102 | 20.8996 | 17.8672 | 122 | 243
By Electric IOU and Medical Baseline Status | SCE | No | Yes | 3046.4036 | 1232.3998 | 1814.0038 | 6150.0875 | 2151.6689 | 4287.7574 | 8.3463 | 10.1016 | 7.465 | 16.8496 | 17.6366 | 17.6451 | 122 | 243
By Electric IOU and Medical Baseline Status | SDG&E | Yes | No | 2046.4777 | 1042.6357 | 1003.8419 | 5449.42 | 2374.8916 | 3251.6614 | 5.6068 | 6.8146 | 4.7351 | 14.9299 | 15.5222 | 15.338 | 153 | 212
By Electric IOU and Medical Baseline Status | SDG&E | Yes | Yes | 3245.0451 | 1264.4433 | 1980.6018 | 8623.4351 | 3382.5918 | 5602.4941 | 8.8905 | 8.2643 | 9.3425 | 23.6258 | 22.1084 | 26.4269 | 153 | 212
By Electric IOU and Medical Baseline Status | SDG&E | No | No | 1930.4463 | 960.6008 | 969.8455 | 5342.5663 | 2292.5711 | 3181.5097 | 5.2889 | 6.2784 | 4.5747 | 14.6372 | 14.9841 | 15.0071 | 153 | 212
By Electric IOU and Medical Baseline Status | SDG&E | No | Yes | 2090.0601 | 798.7353 | 1291.3248 | 4914.1607 | 1903.8012 | 3109.772 | 5.7262 | 5.2205 | 6.0912 | 13.4635 | 12.4431 | 14.6687 | 153 | 212
By Electric IOU and Medical Baseline Status | SDG&E | Unknown | No | 2554.5439 | 1369.2031 | 1185.3409 | 7976.5606 | 3406.4221 | 4804.7101 | 6.9988 | 8.949 | 5.5912 | 21.8536 | 22.2642 | 22.6637 | 153 | 212
By Electric IOU and Medical Baseline Status | SDG&E | Unknown | Yes | 2531.0505 | 966.3245 | 1564.726 | 5568.8247 | 2136.0333 | 3648.9749 | 6.9344 | 6.3158 | 7.3808 | 15.2571 | 13.961 | 17.2121 | 153 | 212

## By IOU and Med Equip Status
Profile | Electric IOU | Has Medical Equipment | All Electric | Essential_UEC_Annual | Essential_UEC_Summer | Essential_UEC_Winter | Total_HH | Total_HH_Summer | Total_HH_Winter | Essential_UEC_Annual_Day | Essential_UEC_Summer_Day | Essential_UEC_Winter_Day | Total_HH_Day | Total_HH_Summer_Day | Total_HH_Winter_Day | Summer_Days | Winter_Days
By Electric IOU and Medical Equipment Status | PG&E | Yes | No | 2607.4596 | 1360.0562 | 1247.4033 | 6855.1087 | 2639.725 | 4606.2955 | 7.1437 | 11.148 | 5.1333 | 18.7811 | 21.6371 | 18.9559 | 122 | 243
By Electric IOU and Medical Equipment Status | PG&E | Yes | Yes | 3596.0418 | 1250.6589 | 2345.3829 | 7514.1938 | 2431.0625 | 5400.2264 | 9.8522 | 10.2513 | 9.6518 | 20.5868 | 19.9267 | 22.2232 | 122 | 243
By Electric IOU and Medical Equipment Status | PG&E | No | No | 2332.3259 | 1141.2976 | 1191.0283 | 6148.2856 | 2283.6481 | 4172.6922 | 6.3899 | 9.3549 | 4.9014 | 16.8446 | 18.7184 | 17.1716 | 122 | 243
By Electric IOU and Medical Equipment Status | PG&E | No | Yes | 3331.6525 | 1165.6301 | 2166.0224 | 7030.4293 | 2261.2145 | 5080.9694 | 9.1278 | 9.5543 | 8.9137 | 19.2615 | 18.5345 | 20.9093 | 122 | 243
By Electric IOU and Medical Equipment Status | SCE | Yes | No | 3224.6488 | 1777.7693 | 1446.8794 | 7394.8591 | 2973.6078 | 4895.4596 | 8.8347 | 14.5719 | 5.9542 | 20.2599 | 24.3738 | 20.1459 | 122 | 243
By Electric IOU and Medical Equipment Status | SCE | Yes | Yes | 3173.2099 | 1345.7152 | 1827.4947 | 6730.605 | 2400.1388 | 4668.5427 | 8.6937 | 11.0305 | 7.5206 | 18.44 | 19.6733 | 19.2121 | 122 | 243
By Electric IOU and Medical Equipment Status | SCE | No | No | 2847.8861 | 1477.3482 | 1370.5379 | 6493.5125 | 2545.2873 | 4340.3318 | 7.8024 | 12.1094 | 5.6401 | 17.7904 | 20.863 | 17.8614 | 122 | 243
By Electric IOU and Medical Equipment Status | SCE | No | Yes | 3048.2444 | 1230.258 | 1817.9864 | 6158.8817 | 2152.7717 | 4296.0549 | 8.3514 | 10.0841 | 7.4814 | 16.8736 | 17.6457 | 17.6792 | 122 | 243
By Electric IOU and Medical Equipment Status | SDG&E | Yes | No | 2040.5454 | 1034.8895 | 1005.6558 | 5491.0763 | 2384.3891 | 3269.04 | 5.5905 | 6.764 | 4.7437 | 15.044 | 15.5842 | 15.42 | 153 | 212
By Electric IOU and Medical Equipment Status | SDG&E | Yes | Yes | 2202.7513 | 841.2063 | 1361.545 | 5475.5251 | 2133.325 | 3459.3789 | 6.0349 | 5.4981 | 6.4224 | 15.0014 | 13.9433 | 16.3178 | 153 | 212
By Electric IOU and Medical Equipment Status | SDG&E | No | No | 1932.225 | 962.0476 | 970.1774 | 5346.7227 | 2294.7885 | 3184.7251 | 5.2938 | 6.2879 | 4.5763 | 14.6486 | 14.9986 | 15.0223 | 153 | 212
By Electric IOU and Medical Equipment Status | SDG&E | No | Yes | 2147.5074 | 822.0619 | 1325.4455 | 5083.4195 | 1970.8227 | 3225.6109 | 5.8836 | 5.373 | 6.2521 | 13.9272 | 12.8812 | 15.2151 | 153 | 212

## By IOU and CARE-FERA Status
Profile | Electric IOU | CARE/FERA Status | All Electric | Essential_UEC_Annual | Essential_UEC_Summer | Essential_UEC_Winter | Total_HH | Total_HH_Summer | Total_HH_Winter | Essential_UEC_Annual_Day | Essential_UEC_Summer_Day | Essential_UEC_Winter_Day | Total_HH_Day | Total_HH_Summer_Day | Total_HH_Winter_Day | Summer_Days | Winter_Days
By Electric IOU and CARE/FERA Status | PG&E | On CARE | No | 2430.7832 | 1252.8413 | 1177.9418 | 5510.071 | 2152.3956 | 3676.0213 | 6.6597 | 10.2692 | 4.8475 | 15.0961 | 17.6426 | 15.1277 | 122 | 243
By Electric IOU and CARE/FERA Status | PG&E | On CARE | Yes | 3214.4739 | 1207.5909 | 2006.883 | 6150.9042 | 2057.2609 | 4429.4372 | 8.8068 | 9.8983 | 8.2588 | 16.8518 | 16.8628 | 18.2281 | 122 | 243
By Electric IOU and CARE/FERA Status | PG&E | on FERA | No | 2222.3041 | 1072.429 | 1149.8751 | 6275.1125 | 2310.6776 | 4109.0943 | 6.0885 | 8.7904 | 4.732 | 17.1921 | 18.94 | 16.9099 | 122 | 243
By Electric IOU and CARE/FERA Status | PG&E | on FERA | Yes | 3971.034 | 1177.552 | 2793.482 | 8814.8221 | 2682.8716 | 6553.8539 | 10.8795 | 9.6521 | 11.4958 | 24.1502 | 21.9908 | 26.9706 | 122 | 243
By Electric IOU and CARE/FERA Status | PG&E | No | No | 2326.8254 | 1124.6181 | 1202.2072 | 6454.8765 | 2369.1279 | 4399.7126 | 6.3749 | 9.2182 | 4.9474 | 17.6846 | 19.4191 | 18.1058 | 122 | 243
By Electric IOU and CARE/FERA Status | PG&E | No | Yes | 3398.7237 | 1157.8301 | 2240.8935 | 7406.2194 | 2354.0611 | 5354.4243 | 9.3116 | 9.4904 | 9.2218 | 20.291 | 19.2956 | 22.0347 | 122 | 243
By Electric IOU and CARE/FERA Status | PG&E | Unknown | No | 2013.2085 | 961.6447 | 1051.5638 | 5580.5671 | 2066.5238 | 3831.1395 | 5.5156 | 7.8823 | 4.3274 | 15.2892 | 16.9387 | 15.766 | 122 | 243
By Electric IOU and CARE/FERA Status | PG&E | Unknown | Yes | 2359.0566 | 1015.2169 | 1343.8397 | 3891.2011 | 1448.5116 | 2504.6114 | 6.4632 | 8.3214 | 5.5302 | 10.6608 | 11.873 | 10.307 | 122 | 243
By Electric IOU and CARE/FERA Status | SCE | On CARE | No | 2687.8428 | 1398.3734 | 1289.4695 | 5503.3383 | 2188.662 | 3598.942 | 7.364 | 11.4621 | 5.3065 | 15.0776 | 17.9399 | 14.8105 | 122 | 243
By Electric IOU and CARE/FERA Status | SCE | On CARE | Yes | 2793.2661 | 1103.5939 | 1689.6722 | 5245.2277 | 1828.8093 | 3651.9888 | 7.6528 | 9.0459 | 6.9534 | 14.3705 | 14.9902 | 15.0288 | 122 | 243
By Electric IOU and CARE/FERA Status | SCE | on FERA | No | 2835.3484 | 1448.5789 | 1386.7695 | 6257.2516 | 2451.9448 | 4173.168 | 7.7681 | 11.8736 | 5.7069 | 17.1432 | 20.0979 | 17.1735 | 122 | 243
By Electric IOU and CARE/FERA Status | SCE | on FERA | Yes | 2765.4055 | 1057.9615 | 1707.4441 | 5637.5043 | 1978.5093 | 3962.9193 | 7.5765 | 8.6718 | 7.0265 | 15.4452 | 16.2173 | 16.3083 | 122 | 243
By Electric IOU and CARE/FERA Status | SCE | No | No | 2947.9559 | 1537.2768 | 1410.6792 | 6983.7201 | 2731.3172 | 4696.4292 | 8.0766 | 12.6006 | 5.8053 | 19.1335 | 22.3878 | 19.3269 | 122 | 243
By Electric IOU and CARE/FERA Status | SCE | No | Yes | 3195.2466 | 1308.2462 | 1887.0004 | 6689.978 | 2344.7665 | 4667.398 | 8.7541 | 10.7233 | 7.7654 | 18.3287 | 19.2194 | 19.2074 | 122 | 243
By Electric IOU and CARE/FERA Status | SDG&E | On CARE | No | 1651.7067 | 789.442 | 862.2648 | 3982.66 | 1711.4504 | 2344.0458 | 4.5252 | 5.1598 | 4.0673 | 10.9114 | 11.186 | 11.0568 | 153 | 212
By Electric IOU and CARE/FERA Status | SDG&E | On CARE | Yes | 1848.9835 | 713.1333 | 1135.8502 | 3832.6406 | 1487.2707 | 2401.6599 | 5.0657 | 4.661 | 5.3578 | 10.5004 | 9.7207 | 11.3286 | 153 | 212
By Electric IOU and CARE/FERA Status | SDG&E | on FERA | No | 2200.7549 | 1176.2988 | 1024.4561 | 5759.9572 | 2478.6166 | 3419.7109 | 6.0295 | 7.6882 | 4.8323 | 15.7807 | 16.2001 | 16.1307 | 153 | 212
By Electric IOU and CARE/FERA Status | SDG&E | on FERA | Yes | 2658.1799 | 895.6609 | 1762.519 | 7520.1602 | 2826.435 | 4814.604 | 7.2827 | 5.854 | 8.3138 | 20.6032 | 18.4734 | 22.7104 | 153 | 212
By Electric IOU and CARE/FERA Status | SDG&E | No | No | 2021.3581 | 1017.1025 | 1004.2556 | 5749.5878 | 2469.8214 | 3432.682 | 5.538 | 6.6477 | 4.7371 | 15.7523 | 16.1426 | 16.1919 | 153 | 212
By Electric IOU and CARE/FERA Status | SDG&E | No | Yes | 2261.5872 | 863.8493 | 1397.7379 | 5578.5757 | 2163.4596 | 3549.3642 | 6.1961 | 5.6461 | 6.5931 | 15.2838 | 14.1403 | 16.7423 | 153 | 212
By Electric IOU and CARE/FERA Status | SDG&E | Unknown | No | 2554.5439 | 1369.2031 | 1185.3409 | 7976.5606 | 3406.4221 | 4804.7101 | 6.9988 | 8.949 | 5.5912 | 21.8536 | 22.2642 | 22.6637 | 153 | 212
By Electric IOU and CARE/FERA Status | SDG&E | Unknown | Yes | 2531.0505 | 966.3245 | 1564.726 | 5568.8247 | 2136.0333 | 3648.9749 | 6.9344 | 6.3158 | 7.3808 | 15.2571 | 13.961 | 17.2121 | 153 | 212