## Sheet1
Program Name | Program Goals | Strategy-Results | Key Customer Require- ments | Status & History | Pilot History (if any) | Load Shape | Season- ality | Parties Involved | Marketing Responsi- bility | Region | Voluntary vs. Mandatory | Incentive | Participant Elasticity | Pricing/ Tariffs | # of Customers Participating | # Customers in Class (Potential Participants) | Estimated Resources Delivered | Overall Impact/ Success | Hardware & Software Required | Meter Ownership and Cost | Total Program Cost/Yr | Cost per MW | Funding Source | Cost Allo- cation | Reference
Working Group 3 - Small Commercial & Residential Customers
AEP - Variable Pricing | Provide full-time energy price incentive to shift from peak to off-peak, with critical peak prices | Pricing, time-of-use rates. Dispatchable critical peak up to 176 hours per yr. 95% of customers were satisfied. | Customers given smart thermostat for automatic A/C control during peak hours | 1994 implementa- tion | 1990-1991, 645 customers |  | Year round | Customer, IOU | IOU | IN, OH, VA | Voluntary opt-in | Cents per kWh: 10.1 peak, 3.4 mid-peak, 0.4 off-peak; critical peak $0.29/kWh | 59% peak demand reduction, 1.5-2.0 kW per customer; no change in annual energy use | Peak periods of six hours | Up to 25,000 | 550000 | 45 MW |  | Interval meter, smart thermostat | IOU; no extra charge to customer for meter |  |  |  |  | Quad Report, "AEP: Giving the Customer Control of the Meter," Consumer Energy Council of America, Apr 1994; Turrell, "AEP Uses Technology, Variable Prices to Lower Peaks," Electric Light & Power, Apr 1994.
Avista - Conservation Incentive Program | Provide energy discount during summer to reduce usage during all summer hours | Pricing |  | Operational in 2001 only |  |  | Summer | Customer, IOU | IOU | WA- Avista | Automatic | $0.05 per kWh for every kWh reduced beyond 5% (compared to year earlier) | 49% of customers achieved threshold |  | 300000 | 300000 | [6 empty] | General rates |  | Showalter, "Highlights of Demand-Response Innovations of IOUs in Washington State," Presented at FERC-DOE Demand Response Conference, Feb 2002.
AZ - Peak Load Pricing Experiment | Determine price response to residential time-of-use prices | Pricing, time-of-use. Prices and weather were the most important variables. Appliances, income, and demographics did not affect price response. |  | 1975-1976 pilot; 1975 was control period, 1976 experimental |  |  | Summer | Customer, IOU, DOE | IOU | AZ |  | Peak to mid-peak to off-peak ratios range from 16:5:3 to 8:4:1. | Own-price elasticities of 0.64 to 0.79 for peak | Peak periods ranged from 2-5 p.m. to 2-10 p.m. | 650 |  |  |  | Time-of-use meter | IOU; no extra charge to customer for meter |  |  | DOE |  | Atkinson, "Responsiveness to Time-of-Day Electricity Pricing," EPRI Report EA-578-SR, 1977.
BG&E - Commercial A/C Load Control | Provide summer-time energy discount to reduce demand during critical peaks | Emergency: customer's load is interrupted by utility |  | Operational since 1988 |  |  | Summer | Customer, IOU | IOU | MD | Voluntary |  | 2.3 kW per customer peak reduction |  | 25000 | 105000 | 57 MW |  | Remote control switch wired to A/C |  |  |  | General rates |  | Peak Load Management Alliance, "Demand Response Awards for 2001," 2002.
BG&E - Residential A/C Load Control | Provide summer-time energy discount to reduce demand during critical peaks | Emergency: customer's load is interrupted by utility |  | Operational since 1988 |  |  | Summer | Customer, IOU | IOU | MD | Voluntary |  | 1.0 kW per customer peak reduction |  | 244000 | 1 million | 239 MW |  | Remote control switch wired to central A/C |  |  |  | General rates |  | Peak Load Management Alliance, "Demand Response Awards for 2001," 2002.
BG&E - Water Heater Load Control | Provide monthly energy discount to reduce demand during critical peaks | Emergency: customer's load is interrupted by utility |  | Operational since 1987 |  |  | Summer | Customer, IOU | IOU | MD | Voluntary |  | 0.4 kW per customer peak reduction |  | 67000 | 1 million | 30 MW |  | Remote control switch on electric W/H |  |  |  | General rates |  | Peak Load Management Alliance, "Demand Response Awards for 2001," 2002.
California - 20/20 Program | Provide summer-time energy discount to reduce demand during all hrs (resl) or peak hrs (comml) | Pricing. Found 21% of customers normally have 20% lower usage year-to-year, but 16% normally increased by 20%. 20/20 accounted for 80% of peak reduction in state. |  | Operational in 2001 |  |  | Summer | Customer, IOU | IOU | CA | Automatic | 20% credit for reduction beyond 20% (compared to year earlier) | 33% of resl reached goal, 26% of comml; peak reduced 6.7% overall |  | 3200000 | 10 million | 3,360 MW |  | None |  | $286 million | 85000 |  |  | Goldman, "California Load Reductions during the Electricity Crisis," LBL Report LBNL-49733, May 2002.
CMP - Residential Water Heater Load Control | Provide summer-time energy discount to reduce demand during critical peaks | Emergency: customer's load is interrupted by utility |  | Operational since 1988 |  |  | Summer and winter | Customer, IOU | IOU | ME | Voluntary | $2.50 per month plus $25 sign-up bonus | 0.51 kW per customer peak reduction |  | 13000 | 475000 | 7 MW |  | Remote control switch wired to electric W/H |  |  | $55,000 per yr | General rates |  | Haeri, "Economic Benefits of Appliance Load Control Strategies Using DAS," Proceedings Third International DA/DSM Symposium, 1993.
ComEd - Commercial Customer Voluntary Load Reduction Program | Provide full-time energy discount to reduce demand during critical peaks | Emergency: customer reduces peak load when notified by utility | Customer must agree to curtail 5 kW or 10% of last year's peak demand, whichever is greater | Operational as of 2001 |  |  | Year round | Customer, IOU | IOU | IL | Voluntary opt-in |  | 180 kW per customer peak reduction (includes customers above 200 kW) |  | 3000 | 300000 | 540 MW |  | Interval meter | IOU |  |  | General rates |  | Goldman, "Customer Load Participation in Wholesale Markets," Presented at FERC-DOE Demand Response Conference, Feb 2002 (DRAFT)
CP&L - North Carolina Rate Demonstration Project | Determine price response to residential time-of-use prices and estimate benefits of load shifting | Pricing, time-of-use. Gross benefits of TOU pricing totaled between $0.60 and $5.40 per customer per month, compared to average rates of 3.45 cents per kWh at the time. |  | 1977-1979 pilot |  |  | Year round | Customer, IOU, DOE | IOU | NC | Mandatory | Peak to off-peak price ratios from 6:1 to 1.5:1 | Cross-price elasticities from 0.6 to -1.3 | Peak periods ranged from 10 to 12 hours in length | 514 |  |  |  | Time-of-use meter | IOU; no extra charge to customer for meter |  |  | DOE |  | Gallant, "Costs and Benefits of Peak-Load Pricing of Electricity," Journal of Econometrics 26 (1984)
CSW - Customer Choice and Control Program | Determine price response to residential time-of-use prices and estimate benefits of load shifting in presence of smart thermostat control | Pricing. Time-of-use plus dispatchable critical peak up to 60 hours per yr. Gross benefits averaged $11.20 per customer per month. 97% of customers would stay on program if allowed. | Customers given smart thermostat for automatic A/C control during peak hours | 1994-1997 pilot |  |  | Year round | Customer, IOU | IOU; signed up 96% of customers contacted; below $100 marketing per customer | TX | Voluntary opt-in | Super-peak to peak to off-peak ratio of 6.5:2.0:1; critical peak price of $0.50/kWh | 1.95 kW per customer peak reduction; 107 kWh per customer annual energy savings | Super peak period 4 p.m. to 5 p.m.; peak period 1 p.m. to 7 p.m. | 650 |  | 1.3 MW |  | Interval meter, smart thermostat included but not required | IOU; no extra charge to customer for meter | Estimated $50-60 per customer per year | 28000 |  |  | Hartway, "Smart Meter, Customer Choice, and Profitable Time-of-Use Rate Option, " Energy 24 (1999)
CT - Peak Load Pricing Experiment | Determine price response to residential time-of-use prices | Pricing, time-of-use. Customers preferred time-of-use prices to declining block rates. "Long-run elasticities should be substantially larger than short-run elasticities," according to Daniel McFadden, Nobel Laureate, commenting on the results of the CT experiment. |  | 1977 pilot |  |  | Year round | Customer, IOU, DOE | IOU | CT | Voluntary opt-in | Peak to mid-peak to off-peak ratio of 16:3:1 | Own-price elasticities from 0.46 to 0.66 for peak. Substitution elasticities from 0.20 to 0.50. Peak usage dropped by 23%; total usage dropped by 5% | Peak periods from 8 to 11 a.m. and 5 to 7:30 p.m. Off-peak from 9 p.m. to 7 a.m. |  |  |  |  | Time-of-use meter | IOU; no extra charge to customer for meter |  |  | DOE |  | Lawrence, "Residential Demand for Electricity by Time-of-Day," EPRI Report EA-578-SR, 1977; Burbank, "The Connecticut Peak-Load-Pricing Experiment," EPRI Report EA-578-SR, 1977; Hausman, "A Two-Level Electricity Demand Model: Evaluation of the Connecticut Time-of-Day Pricing Test," Paper presented at EPRI Workshop, San Diego, CA, June 12-14, 1978.
Duke - Residential Time-of-Use Pricing | Determine long-run price response to residential time-of-use prices | Pricing, time-of-use, including a demand charge. Long-run elasticities higher than short run by 4% to 20%. |  | Operational since 1980; analysis covers 1985-1988 | 1978-1980 pilot |  | Year round | Customer, IOU | IOU | NC | Voluntary | Peak to off-peak price ratio 1.3:1 plus demand charge of $5-6 per kW per mo | Own-price elasticity of peak demand 0.41, peak usage dropped 35% |  | 3000 | 1 million |  |  | Time-of-use meter |  |  |  | General rates |  | Taylor, "The Long-Run Effects of a Time-of-Use Demand Charge," RAND Journal 21 (1990)
DWP - Los Angeles Electricity Rate Study | Determine price response to residential time-of-use prices | Pricing, time-of-use. |  | 1976-1979 pilot |  |  | Year round | Customer, Municipally Owned Utility, DOE | MOU | CA - DWP | Voluntary | Peak to off-peak price ratios varied from 9:1 to 2:1. | Elasticity increased with total monthly usage and more appliances | Peak periods ranged from 3 to 12 hours in length | 1300 | 960000 |  |  | Time-of-use meter |  |  |  | DOE |  | Mitchell, "The Effect of Time-of-Use Rates in the Los Angeles Electricity," RAND Report N-1533, 1980; Acton, "Evaluating Time-of-Day Electricity Rates for Residential Customers," RAND Report R-2509, 1979.
EdF (Electricite de France) - Dynamic Pricing Experiment | Determine price response to residential time-of-use rates and critical peak pricing | Pricing. Time-of-use with dispatchable critical peak up to 400 hours per yr. Three day types (critical, average, low) and two periods (peak, off-pk) per day. | Customers notified day ahead of critical peaks via display on electric meter (indoors) | Operational since 1993 | 1989-1992 pilot with 800 customers |  | Year round | Customer, IOU | IOU | France | Voluntary opt-in | Peak to off-peak ratio of 5:1 (critical days), 2.5:1 (avg days), and 1.5:1 (low days). | Own-price elasticities of 0.82 (critical), 0.81 (avg), and 0.78 (low days); usage was 31% lower on critical days | Peak period lasted 18 hours per day |  |  |  |  | Interval meter; customers did not have smart thermostats or control equipment |  |  |  | General rates |  | Aubin, "Real-Time Pricing of Electricity for Residential Customers," Journal of Applied Econometrics 10 (1995).
Finland - Critical Peak Pricing Experiment | Determine price response to residential and commercial critical peak prices | Pricing, time-of-use with dispatchable critical peak period of 100 to 180 hrs per yr. 70% of participants would choose to stay on the rates. |  | 1988-1989 |  |  | Winter heating months | IOU, Customer | IOU | Finland | Voluntary | Critical peak to off-peak price ratio 12:1 | Resl avg 24% reduction in peak demand, 3% reduction in total annual consumption; comml avg 5% peak reduction. | Critical peak hours 7 a.m. to 10 a.m. and 4 p.m. to 8 p.m. |  |  |  |  | Interval meter, display device with red light indicating critical peak rate is in effect | [5 empty] | Kallio, "Research on Real-Time Pricing of Electricity," Proceedings Seventh International Conference on Metering and Tariffs for Electricity Supply," 1992.
GPU - Residential Time-of-Use and Critical Peak Pricing with Automation | Determine price response to residential time-of-use prices and estimate benefits of load shifting in presence of smart thermostat control | Pricing. Time-of-use with dispatchable critical peak for limited hours per yr. Market survey found slightly higher income and education levels among volunteers. Over 90% of participants were satisfied with the program and 91% would recommend to a friend. | Customers given smart thermostat for automatic A/C control during peak hours | Summer 1997 pilot |  |  | Year round | Customer, IOU | IOU | PA, NJ | Voluntary opt-in | Peak to off-peak ratios of 2.8:1 and 4.6:1; critical peak price of $0.50/kWh | Substitution elasticity of 0.35, critical peak reduction 0.96 kW/cust (48%), total usage reduction 4.8% | Peak period 11 a.m. to 8 p.m. summer, 6 a.m. to 10 a.m. winter |  |  |  |  | Interval meter, smart thermostat | IOU; no extra charge to customer for meter |  |  |  |  | Braithwait, "Residential TOU Price Response in the Presence of Interactive Communication Equipment," in Pricing in Competitive Electricity Markets, Kluwer, 2000.
Gulf Power - Residential Time-of-Use and Critical Peak Pricing with Automation | Determine price response to residential time-of-use prices and estimate benefits of load shifting in presence of smart thermostat control | Pricing. Time-of-use with dispatchable critical peak for up to 1% of hours per yr. | Customers given smart thermostat for automatic A/C control during peak hours | Operational | 1991-1993 |  | Year round | Customer, IOU | IOU | FL | Voluntary opt-in | Critical to peak to mid-peak to off-peak price ratio of 21:5:2:1, critical peak price $0.27/kWh | Substitution elasticity of 0.35, critical peak reduction 2.1 kW/cust (42%), total usage reduction of 6.5% | Peak period 11 a.m. to 8 p.m. summer, 6 a.m. to 10 a.m. winter | 3500 | 40000 | 7 MW |  | Interval meter, smart thermostat | IOU; customers pay $5/mo for equipment |  |  | General rates |  | Gulf Power, "Results of the Pilot Residential Advanced Energy Management System," Nov 1994.
Helsinki - Effect of Information on Energy Consumption | Determine how much energy consumption is reduced when customers are provided additional feedback. | Informational. Participants provided peak vs. off-peak consumption and savings tips on monthly billing insert. |  | 1988-1992 pilot |  |  | Year round | Customer, municipally owned utility | MOU | Helsinki | Voluntary opt-in |  | Total consumption was reduced 1.9% in comparison to the control group | Peak period from 7 a.m. to 11 p.m. | 900 | 8700 | [8 empty] | Arvola, "Billing Feedback as Means to Encourage Household Electricity Conservation," ECEEE Summer Study Proceedings, 1993.
LIPA - Smart Thermostat Program "EDGE" | Reduce peak load during critical peak hours | Emergency, utility can reduce A/C load by remotely raising thermostat settings for up to 28 hours per year. Up to 25% of customers overrode the automatic control during a heat wave. LIPA relies on "good will" of customers. No ongoing payments were made. | Must have central A/C | Operational since 1999 |  |  | Summer | Customer, municipally owned utility | MOU | NY | Voluntary opt-in | Free Internet-based thermostat plus resl: one-time $25 payment, comml $50 | Peak demand reduction of 0.65 kW per customer | Critical peak hours 2 p.m. to 6 p.m. | up to 32,500 |  | 1.3 MW |  | Smart thermostat |  | $200 per thermostat one-time plus marketing and admin costs |  |  |  | The C Three Group, "Load Management," 2001.
London, U.K. - Domestic Tariffs Experiment | Determine price response to residential time-of-use prices | Pricing, time-of-use. |  | 1966-1972 |  |  | Year round | Customer, Government Owned Utility | GOU | London |  | Peak to off-peak price ratio approx. 4:1 | Own-price elasticities of 0.28 to 0.35 for peak | [5 empty] | Time-of-use meter | [5 empty] | Beals, "Elasticity Estimats for Domestic Dlectricity Consumption Under Time-of-Day Pricing: An Analysis of Data Generated in the Domestic Tariffs Experiment conducted by the Electricity Council, London," Report prepared for the Program Review and Evaluation Branch, DREE, Canada.
Midwest Power Systems - Electricity Rate Study | Determine price response to residential time-of-use prices; compare volunteers with non-volunteers | Pricing, time-of-use.Volunteers did not differ from non-volunteers in peak usage or appliance ownership prior to time-of-use pricing. Ownership of major appliances (dishwasher, A/C) increases peak reductions. |  |  | 1991-1992 |  | Summer | IOU, Customer | IOU | IA | Voluntary opt-in |  | Elasticity increased with total monthly usage and more appliances. Avg 24% peak reduction, 28% on critical peak days | [5 empty] | Time-of-use meter | IOU |  |  |  |  | Tellus Institute, "Can We Get There From Here? The Challenge of Restructuring the Electricity Industry so that We Can All Benefit," White Paper, April 1996.
Ontario Hydro - Commercial Time-of-Use Pricing | Developed model applicable generally | Pricing, time-of-use. | Peak demands under 50 kW | 1985-1986 |  |  | Year round | Customer, IOU, CEC |  | CA | Voluntary, 60% of customers volunteered | Peak to off-peak ratios of 6:1, 4.5:1, and 3:1. | Own-price elasticity of 0.11 summer, 0.13 winter | Peak periods ranging from 5 to 12 hours | 120 |  |  |  | Time-of-use meter | IOU |  |  |  |  | Ham, "Time-of-Use Prices and Electricity Demand: Allowing for Selection Bias in Experimental Data," RAND Journal 28 (1997)
Ontario Hydro - Residential Time-of-Use Pricing | Determine effect of time-of-use pricing | Pricing, time-of-use. Customers opting out had the same peak to off-peak ratio as customers remaining in the program |  | 1982-1988 pilot |  |  | Winter heating months | Customer, Municipally Owned Utility (MOU) | MOU | Canada - Ontario | Voluntary opt-out (8% opted out) | Peak to off-peak ratios as high as 12:1 | Peak reductions averaged about 4% | Peak periods ranging from 5 to 16 hours | 500 |  |  |  | Time-of-use meter | IOU |  |  |  |  | Mountain, "Some Initial Evidence of Canadian Responsiveness to Time-of-Use Electricity Rates," Resource and Energy Economics, 17 (1995)
PacifiCorp - Conservation Incentive Program | Provide energy discount during summer to reduce usage during all summer hours | Pricing, usage curtailment credit. |  | Operational in 2001 only |  |  | Summer | Customer, IOU | IOU | OR | Automatic | 10% credit for reduction beyond 10% and 20% for 20% (compared to year earlier) | 24% of customers received 10% and 16% received 20% |  | 1400000 | 1400000 | [6 empty] | General rates |  | Showalter, "Highlights of Demand-Response Innovations of IOUs in Washington State," Presented at FERC-DOE Demand Response Conference, Feb 2002.
PEPCO - PowerChoice | Provide summer-time energy discount to reduce demand during critical peaks | Emergency: customer uses automatic building controller to reduce demand when notified by utility |  | Operational since 1991 | 1987-1989 |  | Summer and winter | Customer, IOU | IOU | MD, Wash D.C. | Voluntary | $8.60/kW of promised load reduction, summer only | 7.5 kW per customer peak reduction |  | 2000 | 13000 | 15 MW |  | Building energy management controller, interval meter | IOU; no extra charge to customer for meter |  | $43,000 per yr | General rates |  | Gupta, PowerChoice: A Unique Distributed Control Approach for Commercial Customers," Proceedings Third International DA/DSM Symposium, 1993.
PG&E - Residential Time-of-Use Program | Determine price response to residential time-of-use prices and cost-effectiveness. | Pricing, time-of-use. Of lower peak usage of participants vs. non-participants, 72% is due to price and 28% is due to self selection. Program is cost-effective for metering costs up to $1.41/mo. |  | 1985-1986 pilot, operational since 1984 | Multiple rates test |  | Year round | Customer, IOU | IOU | CA-PG&E | Voluntary opt-in; 11.1% selected rate (varies from 5.7% to 14.6%) | Peak to off-peak ratios from 2.5:1 to 1.5:1 | Elasticity of 0.20 | Peak period noon to 6 p.m. and 2 p.m. to 8 p.m. (pilot only) | 5,000 in pilot, 100,000 operational | 3900000 |  |  | Time-of-use meter | IOU; monthly charge of $3.00 |  |  | General rates |  | Train, "Optional Time-of-Use Prices for Electricity: Economic Analysis of Surplus and Pareto Impacts," RAND Journal 25 (1994)
PG&E - Residential Time-of-Use Program | Determine price response to residential time-of-use prices. Customer responses depended on appliance holdings and weather. | Pricing, time-of-use. Volunteers had more appliances and larger homes, liked ability to control bills, shifted clothes, dishwashing; aversion to peak ending after 6 p.m. |  | 1985-1986 pilot, operational since 1984 | Multiple rates test |  | Year round | Customer, IOU | IOU | CA-PG&E | Voluntary opt-in | Peak to off-peak ratios from 2.5:1 to 1.5:1 | Elasticity of 0.26, 10% reduction in peak usage. | Peak period noon to 6 p.m. and 2 p.m. to 8 p.m. (pilot only) | 5,000 in pilot, 100,000 operational | 3900000 |  |  | Time-of-use meter | IOU; monthly charge of $3.00 |  |  | General rates |  | Keane, "Voluntary Residential Time-of-Use Rates," IEEE Transactions on Power Systems 3:4 (1988)
PG&E - Residential Time-of-Use Program | Determine price response to residential time-of-use prices. Customer responses depended on appliance holdings, weather. | Pricing, time-of-use. Volunteers had same on-peak usage as non-volunteers. | Data show volunteers have same peak use as non-volunteers prior to TOU rates. | 1983-1984 pilot, operational since 1984 | Single rate test |  | Year round | Customer, IOU | IOU | CA-PG&E | Voluntary opt-in | Peak to off-peak ratio of 2:1 | Substitution elasticity of 0.37, 21% reduction in peak usage. | Peak period noon to 6 p.m. | 1000 | 3900000 |  |  | Time-of-use meter | IOU; monthly charge of $3.00 |  |  | General rates |  | Caves, "Load Shifting under Voluntary Residential Time-of-Use Rates," Energy 10 (1989).
PSE - Conservation Incentive Program | Provide energy discount during summer to reduce usage during all summer hours | Pricing, usage curtailment credit. |  | Operational in 2001 only |  |  | Summer | Customer, IOU | IOU | WA | Automatic | $0.05 per kWh for every kWh reduced beyond 10% (compared to year earlier) | 27% of customers achieved threshold |  | 750000 | 750000 | [6 empty] | General rates |  | Showalter, "Highlights of Demand-Response Innovations of IOUs in Washington State," Presented at FERC-DOE Demand Response Conference, Feb 2002.
PSE-Personal Energy Management Program | Reduce peak load year round during peak hours | Pricing, time-of-use. 89% of customers satisfied. |  | Real time information operational since December 2000, TOU pricing operational since April 2001 | TOU pricing is a pilot program |  | Year round | Customer, IOU | IOU | WA | Voluntary opt-out, change to opt-in June 2002 | Peak to mid-peak to off-peak ratio of 1.2:1:0.9. Mid-peak price and flat tariff equal. | Own-price elasticity of 0.33 during peak. Peak demand reduction of 5% with 3% drop in total consumption | Peak period is 6 a.m. to 10 a.m. and 5 p.m. to 9 p.m., mid-peak is 10 a.m. to 5 p.m. | 410,000 residential for information, 300,000 for TOU pricing, 20,000 commercial TOU | 845000 |  |  | Time-of-use meter | IOU; $1 per meter per month charge to customer |  |  | General rates |  | Brattle Group, "PSE's Personal Energy Management Program: A Preliminary Assessment of Load Shift," Aug 2001; Gullekson/Hirst, "Direct Testimony 2001 PSE Rate Case," Nov 2001.
PSE-Smart Thermostat Test | Reduce peak load during critical peak hours | Emergency, utility can reduce A/C load by remotely raising thermostat settings 2-4 degrees (tested 41 occasions). Just over 5% of customers overrode the automatic control during a heat wave. |  |  |  |  | Winter heating months | Customer, IOU | IOU | WA | Voluntary | $100, less $2 per override | Peak demand reduction of 0.33 kW per customer (10-40%) |  | 140 | 845000 |  |  | Smart thermostat | [5 empty] | "Thermostat Control: Sophisticated and Successful," AESP Strategies, Summer 2001.
SCE - Commercial/ Industrial Time-of-Use Program | Determine price response to time-of-use energy and demand prices | Pricing. Customers above 200 kW exhibited significantly greater responses (see above). Results also had many anomalies. |  | 1980-1982 pilot |  |  | Year round | Customer, IOU | IOU | CA-SCE | Voluntary opt-out | Peak to off-peak ratios of 1.5:1 to 2.1:1. | Substitution elasticity of 0.06 for 0-50 kW and 0.07 for 50-200 kW | Peak period noon to 6 p.m. | 650 | 500000 |  |  | Time-of-use meter | IOU; no extra charge to customer for meter |  |  |  |  | Aigner, "Commercial/Industrial Customer Response to Time-of-Use Electricity Prices: Some Experiemental Results," RAND Journal 16:3 (1985).
SCE - Electricity Rate Experiment | Determine price response to residential time-of-use prices | Pricing, time-of-use.Customer shifting on critical peak days is often relatively higher than normal days. Savings would cover deployment of metering to all customers. |  | 1979-1981 pilot |  |  | Year round | Customer, IOU, DOE | IOU | CA-SCE | Voluntary opt-out | $100 per yr incentive payment, four peak to off-peak ratios up to 9:1 | Substitution elasticity avg 0.05, avg peak reductions of 12%, overall avg conservation of 5% | Peak periods 10 and 12 hours long | 480 | 3700000 |  |  | Time-of-use meter | IOU |  |  | DOE |  | Aigner, "Measuring Peak Load Pricing Response from Experimental Data," J of Business & Economic Statistics, 2 (1984), Lillard, "Time-of-Day Electiricy Consumption Response to Temperature and Air Conditioning," J of Business & Economic Statistics, 2 (1984)
SDG&E - Systemwide Advanced Metering Proposal to CPUC | Universal implementation of advanced meters. | Pricing, dynamic. Estimated benefits would exceed the costs. Approved by CPUC for above 100 kW customers, seeking more data on smaller customers. |  | 2000 analysis and filing | [10 empty] | 1.2 million | 1.2 million |  |  | Interval meter | IOU |  |  | General rates |  | A.00-07-055
SRP - Residential Time-of-Use Program | Determine price response to time-of-use pricing | Pricing, time-of-use |  | Operational | [6 empty] | Voluntary | Peak to off-peak ratio of 4.4:1 in summer, 1.1:1 in winter | Own-price elasticity of 0.28. | Peak period 1 p.m. to 8 p.m. summer, 5-9 a.m. and 5-9 p.m. winter | 100000 | 700000 |  |  |  | MOU; $3.47 per month charge to customer for meter |  |  |  |  | Kirkeide, "Reducing Power Capacity Requirements Using Two-Period Time-of-Use Rates with Ten Hour Peak Periods," Master's Thesis, Arizona State University, 1989.
Study - Commercial Customer Responses to Energy Crisis | Determine actions taken by commercial customers during California energy crisis. | Informational. Survey of commercial customers. 41% took additional action on alert days; avoiding blackouts and lowering bills primary motivators; turning off lights and lowering A/C use were primary actions. |  | 2001 Survey |  |  | Year round | Customer, CEC |  | CA | Voluntary |  | 92% reported taking conservation actions averaging 9% of total use |  | 767 | 11 million | [8 empty] | Rufo, "Selected Results from Nonresidential (<500 kW) Summer 2001 Survey," Xenergy, Presented at CEC, Oct 2001.
Study - Comparison of AZ and WI Experiments | Compare price response to residential time-of-use prices between AZ and WI | Pricing, time-of-use. The pattern of computed elasticities is about the same. |  |  |  |  | Year round | Customer, IOU, DOE | IOU | AZ, WI | Mandatory |  |  |  | 1350 | [9 empty] | Atkinson, "A Comparative Analysis of Consumer Response to Time-of-Use Electricity Pricing: Arizona and Wisconsin," Paper Presented at EPRI Workshop, San Diego, CA, June 12-14, 1978.
Study - Comparison of Multiple Elasticity Studies | Compare elasticity results from multiple sources | Pricing. Review of literature covering over 100 non-TOU elasticity studies and 23, mostly commercial, dynamic pricing elasticity studies. |  | 2001 study |  |  | Year round | Customer, IOU, DOE, FTC | IOU | Mostly U.S., some inter- national | Mandatory and voluntary |  | Own-price non-TOU elasticity of 0.25 | [11 empty] | Lafferty, "Demand Responsiveness in Electricity Markets," Presented at FERC-DOE Demand Response Conference, Feb 2002.
Study - Comparison of Multiple Residential Time of Use Studies | Compare price response to residential time-of-use prices between CA, NC, and WI | Pricing, time-of-use, Found that customers respond consistently to price signals. |  | 1983 study using data from three experiments conducted in 1970s by DOE |  |  | Year round | Customer, IOU, DOE | IOU | NC, CA, WI | Mandatory |  |  |  |  | 110 million | [8 empty] | Kohler, "Response to Residential Time-of-Use Electricity Rates: How Transferable are the Findings?" RAND Report R-2999, 1983.
Study - Comparison of Multiple Residential Time of Use Studies | Compare elasticity and other results from multiple sources | Pricing, time-of-use and critical peak. Literature survey and analysis. Benefit-cost study of three large U.S. utilities concludes that implementing residential dynamic pricing is highly cost-effective, with NPVs from $333 million to $721 million. | Price response generally higher for customers with more appliances. | 2002 study using data from over 20 pilots and programs in the U.S. and abroad conducted from 1975 to 2000. |  |  | Year round | Customer, IOU, DOE, EPRI | IOU | U.S., France | Mandatory and voluntary | Critical peak, peak, mid-peak, and off-peak prices | Substitution elasticities for resl TOU avg 0.14 (equals 0.25 own-price); comml own-price avg 0.03; total usage drop 2.8% | Critical peak/peak periods ranged from 3 to 12 hours in length | 100,000+ | 110 million |  |  | Time-of-use meter, interval meter for critical peak | IOU |  |  |  |  | Faruqui, "The Value of Dynamic Pricing in Mass Markets," Electricity Journal, Jul 2002.
Study - Comparison of Multiple Residential Time of Use Studies | Compare elasticity results from multiple sources | Pricing, time-of-use. Literature survey and analysis. Found that customers respond consistently to price signals. TOU rates generally reduce peak demand as well as daily usage. Elasticities may be transferred between utility service areas. | Price response generally higher for high use customers. | 1983 study using data from 12 pricing experiments across the U.S. conducted from 1975 to 1981 |  |  | Year round | Customer, IOU, DOE, EPRI | IOU | CA-DWP, CA-SCE, AK, CT, NC, OH, RI, AZ, OK, WI, Puerto Rico | Mandatory and voluntary | Peak to off-peak price ratio as high as 16:1 | Own-price elasticities avg 0.22, peak demand reductions avg 21%, total usage reductions avg 7% | Peak periods ranged from 3 to 12 hours in length | 7000 | 110 million |  |  | Time-of-use meter | IOU |  |  |  |  | Faruqui, "The Residential Demand for Electricity by Time-of-Use: A Survey of Twelve Experiements with Peak Load Pricing," Energy 8 (1983)
Study - Comparison of Multiple Residential Time of Use Studies | Developed model applicable to utilities throughout U.S. | Pricing, time-of-use. Found that customers respond consistently to price signals. Appliance holdings, customer characteristics, and climate have a much small affect than the price differential. Peak day response was same as average day response. |  | 1984 study using data from fourteen experiments conducted in 1970s by DOE |  |  | Year round | Customer, IOU, DOE, EPRI | IOU | NC, CT, CA, WI | Mandatory | Peak to off-peak price ratio as high as 16:1 | Substitution elasticities from 0.05 to 0.25 depending on climate zone and appliance holdings. | Peak periods ranged from 3 to 12 hours in length | 3700 | 110 million |  |  | Time-of-use meter | IOU |  |  |  |  | Caves, "Consistency of Residential Customer Response to Time-of-Use Electricity Pricing Experiments," Journal of Econometrics, 26 (1984).
Study - Cost-Benefit Analysis of Residential Dynamic Pricing | Determine cost-effectiveness of universal implementation dynamic prices on residential customers. | Pricing, time-of-use with dispatchable critical peak period of 100 hrs per yr. Concludes that implementing residential dynamic pricing is highly cost-effective, with NPV of $676 million (Rate Impact Measure). | In survey, 63% of customers are somewhat to definitely likely to sign up for a TOU rate | 2001 Study | Planned for 2003 |  | Year round | Customer, IOU | IOU | MN | Mandatory | Critical to peak to mid-peak to off-peak price ratio of 6.5:3.5:2.5:1, critical peak price $0.23/kWh | Assumes own-price elasticity of 0.20 for peak and critical peak | Peak period 1 p.m.-7 p.m. summer, 7-11 a.m. and 5-9 p.m. winter; critical peak 10 a.m.-10 p.m. | 863000 | 863000 |  |  | Interval meter or time-of-use meter with dispatchable feature | IOU, incremental cost of CPP capability is $9 per meter per yr |  | $47,000/yr avoided G, $30,000/yr avoided T&D |  |  | Charles River Assoc, "Economic Analysis of Time-of-Use Pricing for Residential Customers," Dec 2001.
Study - Customer Preferences regarding Time-of-Use Rates | Determine customer preferences regarding metering and time-of-use prices. | Pricing, time-of-use. Found between 31 and 41% rated time-of-use rates as highly advantageous, depending on savings expectations (0-10%). |  | 1996 Survey | [5 empty] | CA-PG&E, SCE, SDG&E | Voluntary |  |  |  | 1200 | 9 million | [8 empty] | Goodstadt, "Quantitative Research on Direct Access Issues," Itron Comments in R.94-04-031/I.94-04-032, Dec 1996.
Study - Customer Preferences regarding Time-of-Use Rates | Determine customer preferences regarding metering and time-of-use prices. | Pricing, time-of-use. Found 43% interested in time-of-use pricing in U.S., 47% interested in California; 60% of Californians interested in checking energy usage on the Internet or by automated telephone |  | 2000 Survey | [5 empty] | U.S. | Voluntary |  |  |  | 2000 | 110 million | [8 empty] | Power Perceptions, "The Energy Consumer, A Survey of Residential Electricity Consumers," Aug 2000.
Study - Effect of Declining Block Tariffs on Customer Usage | Estimate demand elasticities, accounting for appliance holdings and weather | Pricing. Estimated own-price elasticities. Found that changes over the long run in appliance holdings and usage patterns will result in larger elasticities than estimated in this study. |  | 1978 study |  |  | Year round | Municipally Owned Utility (MOU), Customer |  | CA | Mandatory |  | Own-price elasticities of 0.35 to 0.70. | Declining block pricing | [10 empty] | Acton, "Estimating Residential Electricity Demand Under Declining Block Tariffs," RAND Report P--6203, 1978.
Study - Effect of Dynamic Pricing on California Electricity Prices | Develop model for benefits of dynamic pricing on demand, cost, prices, and generation. | Pricing, real-time pricing. Found that at critical peak times, a 1% demand reduction can lead to a 10% reduction in wholesale prices and a 5% demand reduction can cut wholesale prices in half. Says exact form of pricing is of less importance than that some form of demand response is added to California markets. |  | 2000 study |  |  | Summer | EPRI |  | CA | Voluntary |  | Proprietary (EPRI Statsbank) | Hourly pricing |  |  | 1,000 to 2,000 MW |  | Interval meter |  |  | Savings from $0.3 to $1.2 billion/yr |  |  | Braithwait, "The Choice Not to Buy," Public Utilities Fortnightly, Mar 15, 2001.
Study - Effect of Providing Feedback | Determine effect of providing feedback on total energy consumption. | Informational. Participants provided monthly meter reads (normally bills are estimated). |  | 1994 pilot |  |  | Year round | Customer, IOU |  | Finland | Voluntary |  | Total usage was reduced 10% in comparison to the control group |  | 123 | [9 empty] | Haakana, "The Effect of Feedback and Focused Advice on Household Energy Consumption," Proceedings ECEEE Summer Study, 1997.
Study - Effect of Time-of-Use Pricing on Residential Load Shape | Determine how time-of-use pricing affects residential load shape. | Pricing, time-of-use. Studied CT experiment, with morning and evening peak periods. "Morning peak is considerably smaller and smoother for experimentals than controls and the sharp evening peak of controls is postponed until after the evening peak periods." |  | 1977 pilot |  |  | Year round | Customer, IOU, DOE | IOU | CT | Voluntary | Peak to mid-peak to off-peak ratio of 16:3:1 |  | Peak periods from 8 to 11 a.m. and 5 to 7:30 p.m. Off-peak from 9 p.m. to 7 a.m. |  |  |  |  | Time-of-use meter | IOU; no extra charge to customer for meter |  |  | DOE |  | Hendricks, "Stochastic Parameter Models for Panel Data: An Application to the Connecticut Peak Load Pricing Experiment," Intl Economic Review, 20 (1979).
Study - Effects of Residential and Small Commerical Dynamic Pricing | Develop model for benefits of dynamic pricing on demand, cost, prices, and generation. | Pricing, time-of-use. Literature survey and analysis. Peak defined as highest 10% of daily and annual wholesale prices. 80% of benefit is from lower wholesale prices to all. NOx emissions cut 31,000 tons/yr. |  | 2001 study using PJM wholesale price data |  |  | Year round |  |  | U.S. | Voluntary opt-out |  | 5-8% lower peak demand plus 4-7% peak usage elimination (total usage drop 2.1%) | Peak period 3 hours long |  | 110 million |  |  | Time-of-use meter |  |  | Savings $10-15 billion/yr across U.S. |  |  | McKinsey, "The Benefits of Demand Side Management and Cynamic Pricing Programs," White Paper, May 2001.
Study - Effects of Residential Dynamic Pricing | Estimate benefits of dynamic pricing on demand, cost, prices, and generation. | Pricing, time-of-use. Literature survey and analysis. Shifting assumed to be 50% of clothes washing, dishwashing, pool pumps, 50% of customers increase thermostat by 2 degrees during peak | Analyzed results at 50% of customers participating using PROSYM. | 2001 study |  |  | Year round |  |  | U.S. | Voluntary opt-out |  | Estimated 4.2% peak demand reduction, 3.7% usage reduction | Peak period from 10 a.m. to 6 p.m. | 55 million | 110 million |  |  | Time-of-use meter |  |  | Savings $18.8 billion/yr across U.S. |  |  | Willig, "Effective Deregulation of Residential Electric Service," White Paper, Dec 2001.
Study - Estimate Effects of Electricity Prices on the Poor | Estimate effects of price changes on energy use by poor households. | Pricing. Review of Los Angeles experience with a lifeline electricity rate for low income senior citizens. Found small quantity consumers do not necessarily have low incomes and low income consumers do not necessarily use small quantities of electricity. |  | Operational since 1975 |  |  | Year round | Municipally Owned Utility (MOU), Customer | MOU | CA - DWP | Mandatory | 50 percent discount on first 180 kWh of use per month | Lower elasticity for low-usage customers; participants increased usage by 5 kWh/mo |  | 89000 | 110000 | [8 empty] | Acton, "Electricity Prices and the Poor: What Are the Effects and What Can We Do?" RAND Report P-6456, 1980; Sullivan, "The Los Angeles Senior Citizen Lifeline Electricity Rate," RAND Report R-2278, 1979.
Study - Estimate Effects of Information on Electricity Use | Estimate effects of providing energy advice and usage information on energy consumption. | Pricing and informational. Participants provided meter readings and other energy advice. Participants have time-based electricity rates. |  | Studies conducted 1995-1997 |  |  | Year round | Social welfare agencies, Customers | Social agencies | U.K. | Voluntary opt-in |  | Information resulted in reductions in total usage of around 10%. | Off-peak hours are during the night. |  |  |  |  | Time-of-use meter | IOU |  |  |  |  | Darby, "Energy Advice - What is It Worth," Proceedings ECEEE Summer Study, 1999.
Study - Estimate Residential Energy Elasticity | Estimated elasticity for households in Denmark | Pricing. Analysis of households in Denmark. Found consumption depends linearly on household budget, demand for electricity separate from demand for gas. |  | 1996 data |  |  | Year round | Customer, IOU |  | Denmark | Mandatory |  | Own-price non-TOU elasticity of 0.28 |  | 2885 | [9 empty] | Leth-Petersen, "Micro Evidence on Household Energy Consumption," Proceedings ECEEE Summer Study, 2001.
Study - Estimate Residential Energy Elasticity | Developed model applicable to California | Pricing. Review of literature and analysis. Estimated short- and long-run elasticities using a panel of California counties. Results consistent using two different modeling approaches. |  | 2000 study using data from 1983-1997 |  |  | Year round | Customer, IOU, CEC |  | CA | Mandatory |  | Own-price non-TOU elasticity of 0.25 | [11 empty] | Garcia-Cerrutti, "Estimating Elasticities of Residential Energy Demand from Panel County Data," Resource and Energy Economics 22 (2000) .
Study - Estimate Residential Energy Elasticity | Developed model and estimated elasticity for California. Model corrects for tiered baseline rates and baseline zones. | Pricing. Review of literature and analysis. Elasticities lower for fewer appliances, higher for lower income. 44% of customers not price elastic, across all usage levels and appliance holdings. |  | 2001 study using California-wide data from DOE for 1993 and 1997 |  |  | Summer | Customer, Municipally Owned Utilities, IOUs, DOE |  | CA | Mandatory |  | Own-price non-TOU elasticity avg 0.39 | Tiered baseline rates | 1300 | 11 million | [8 empty] | Reiss, "Household Electricity Demand Revisited," NBER Working Paper 8687, Dec 2001.
Study - Estimate Residential Energy Elasticity | Developed model for a Midwest utility using California data | Pricing. Review of literature and analysis. Developed model and estimated responses for a Midwest utility |  | 1984 study using data from two experiments conducted by DOE at SCE and DWP |  |  | Summer | Customer, Municipally Owned Utility (MOU), IOU, DOE | IOU, MOU | CA - DWP & SCE |  | Peak to off-peak price ratio 1.5:1 | Substitution elasticity of 0.13 | Peak period 11 a.m. to 10 p.m. | [10 empty] | Aigner, "Estimation of Time-of-Use Pricing Response in the Absence of Experimental Data," J. of Econometrics 26 (1984)
Study - Estimates of Time-of-Use Rate Impacts | Estimate total demand response to residential time-of-use prices | Pricing, time-of-use. Literature survey and analysis |  | 1990 study |  |  | Year round | EPRI | IOU | U.S. | Voluntary |  | 0.72 kW per customer peak reduction; 902 kWh per customer annual energy savings |  |  | 110 million |  |  | Time-of-use meter | [5 empty] | Barakat & Chamberlin, "Impact of Demand Side Management on Future Customer Electicity Demand," EPRI Report CU-6953, Sep 1990.
Study - Estimates of Time-of-Use Rate Impacts | Determine total demand response to commercial time-of-use prices | Pricing, time-of-use. Literature survey and analysis |  | 1990 study |  |  | Year round | EPRI | IOU | U.S. | Voluntary |  | 8.70 kW per customer peak reduction; 4,860 kWh per customer annual energy savings |  |  | 10 million |  |  | Time-of-use meter | [5 empty] | Barakat & Chamberlin, "Impact of Demand Side Management on Future Customer Electicity Demand," EPRI Report CU-6953, Sep 1990.
Study - Long-run vs. Short-run Price Elasticity | Estimate short- and long-run adjustments in energy use to changes in prices | Pricing. Estimated own-price elasticities. |  | 1976 study | 1972-1974 data |  | Year round | Utilities, Customer |  | CA | Mandatory |  | Own-price elasticity of 0.35 short-run and 0.70 long-run | [11 empty] | Acton, "Residential Demand for Electricity in Los Angeles," RAND Report R-1899, 1976.
Study - Real-Time Pricing in Competitive Markets | Estimate benefits of dynamic pricing on demand, cost, prices, and generation. | Pricing, dynamic. Estimated that highest market prices would be 24 cents per kWh with demand response vs. 87 cents without. Average spot prices declined between 3.2% and 4.5%. Peak load declined by 3.2%. Total energy consumption declined by 0.7%. NOx emissions declined by 4%, other emissions by 1-2%. | Includes industrial, commercial, and residential participants |  |  |  | Year round | DOE |  | NY | Voluntary |  | Own-price elasticities of 0.18 to 1.18 | Maximum real-time price of 24 cents per kWh. |  |  | 975 MW |  | Interval meter | [5 empty] | Centolella, "The Structure of Competitive Markets," for DOE, Jan 1997.
Study - Reliability Effects of Dynamic Pricing | Estimate effects of dynamic pricing on reliability | Pricing, dynamic. Developed simulation model. Estimated demand response savings of $220 million in 1999, $2.5 billion in 2000. Estimated elasticity of total load exposed to hourly prices at 0.05.PSE estimates flat rate hedging costs at 5-10% of total generation costs. |  | 2002 study using CA PX prices in 1999 and 2000 |  |  | Year round |  |  | CA | Voluntary |  | Own-price elasticity of 0.25 | [11 empty] | Hirst, "The Financial and Physical Insurance Benefits of Price-Responsive Demand," White Paper, Jan 2002.
Study - Report on California Energy Crisis | Report on the energy crisis and its impact on the Bay Area economy | Emergency, interruption. Value of Service estimates for a 1 hr interruption on a summer afternoon: residential $3.97/kWh, commercial $52.61/kWh, industrial $19.14/kWh, agricultural $8.93/kWh. Recommends more demand response, time-of-use, and real-time pricing. |  | 2001 study | [5 empty] | CA |  |  | Own-price residential: 0.14-0.23 short-term, 0.31 long-term; commercial: 0.05-0.24 short and 0.25 long | [11 empty] | Bay Area Economic Forum, "The Bay Area - A Knowledge Economy Needs Power," Apr 2001.
Study - Residential Customer Responses to Energy Crisis | Determine actions taken by residential customers during California energy crisis. | Informational. Survey of commercial customers. Turning off lights (53%), lowering A/C use (47%), and shifting clothes/dishwashing (39%) - in spite of no TOU rates - were primary actions. |  | 2001 Survey |  |  | Year round | Customer, CEC |  | CA | Voluntary |  | 69% reported taking conservation actions |  | 400 | 11 million | [8 empty] | Shepard, "Californians' Views on Efficiency and Restructuring," ACEEE Conference, Oct 2001.
Study - Residential Time-of-Use Rate Baseline | Market survey to assess reasons for participating in voluntary time-of-use rates, examine differences between volunteers and non-volunteers, and collect applicance data. | Pricing, time-of-use. Volunteers have pro-conservation attitudes; 52% of volunteers expected to save money; less than one-fourth could correctly identify their peak price ratio; and volunteers had the same on-peak usage as non-volunteers and more off-peak usage. |  | 1984-1985 |  |  |  | Customer, IOU |  | CA-PG&E | Voluntary opt-in |  |  |  | 5,400 (3,000 volunteers, 2,400 non-volunteers) | [9 empty] | PG&E, "1985 D-8 Time-of-Use Study," July 1985.
Study - Summary of Real-Time Pricing Research | Article with examples from various real-time pricing studies. | Pricing, real-time pricing. Literature survey and analysis. Many customers willing to pay a premium for flat pricing; others desire RTP. Outage costs to Californians estimated at $12-18 billion annually. Numerous RTP tariff and program design issues are explored. |  | Programs going back to 1985 |  |  |  | Customer, IOU | IOU | CA, NC, GA, TN, MO, MN, Canada | Voluntary |  | Elasticities range from 0 to over 0.30; 17% critical peak demand reduction | Hourly pricing, one- and two-part RTP tariffs | 2200 |  |  |  | Issues include billing and settlement | [5 empty] | Faruqui, "The Barriers to Real-Time Pricing," Public Utilities Fortnightly, July 15, 2002.
Study - Survey of Utility Advanced Metering Deployments | Determine advanced meteringf installations across U.S. 61% of utilities plan to automate all meters (includes AMR only). | Utilities survey and analysis. Over 3 million meters installed in 2001 able to support dynamic pricing (cumulative 10 million) | [5 empty] | Customer, IOU | IOU | U.S. | Mandatory | None | [6 empty] | Some AMR only, some advanced metering | IOU, all-in cost dropped from $160 in 2000 to $134 in 2002 |  |  | General rates |  | Chartwell, "AMR Report 2002," Sep 2002.
Study - Survey of Utility Commercial Time-of-Use Programs | Determine program characteristics | Pricing, time-of-use. Surveyed over 50 U.S. utilities | 13 utilities had 0.2% avg participation, 10 had 4%, and 3 had 30% | Survey conducted 1994 |  |  | Year round | IOU, Customer, EPRI | IOU | U.S. | Voluntary | Peak to off-peak price ratio averaged 2:1 |  |  |  | 10 million |  |  | Time-of-use meter | [5 empty] | Baladi, "Voluntary Time-of-Use Customer Participation," EPRI Load Management Conference, May 1994.
Study - Survey of Utility Residential Time-of-Use Programs | Determine program characteristics | Pricing, time-of-use. Surveyed over 30 U.S. utilities. Estimated 15% of customers would sign up for voluntary opt-in residential time-of-use rates with aggressive marketing. | 18 utilities had 0.2% avg participation, 7 had 4%, and 3 had 18% | Survey conducted 1994 |  |  | Year round | IOU, Customer, EPRI | IOU | U.S. | Voluntary | Peak to off-peak price ratio averaged 3:1 |  | Peak averaged 10 hrs long |  | 110 million |  |  | Time-of-use meter | [5 empty] | Baladi, "Voluntary Time-of-Use Customer Participation," EPRI Load Management Conference, May 1994; EPRI, "Innovators with EPRI Technology," May 1994.
U.K. - Domestic Tariffs Experiment | Determine price response to residential time-of-use prices with critical peaks | Pricing, time-of-use with fixed critical peak hours (250 per yr), 77% of participants would choose to stay on the program |  | 1989-1990 |  |  | Year round | Electricity Assn, five Regional Electricity Companies (REC) | REC | U.K. | Voluntary opt-in | Critical peak (avg) to peak to off-peak price ratio of 14:4:1; highest price $0.60/kWh | Own-price elasticity avg of 0.3. Reduced peak usage 40% (0.5 kW) on critical peak days; total usage dropped as well. | Peak period 7:30 a.m. to 8 p.m., critical peak 4 p.m. to 7 p.m. | 500 | 22 million |  |  | Interval meter | [5 empty] | Allera, "Domestic Customer Response to a Multi-Rate Tariff," Proceedings Seventh International Conference on Metering and Tariffs for Electricity Supply," 1992.
Vermont - Residential Time-of-Use Rates | Determine price response to residential time-of-use prices | Pricing, time-of-use. There is a significant response to time-of-use rates through appliance purchases. |  | Operational since 1976 |  |  | Year round | Customer, IOU | IOU | VT | Voluntary | Peak to off-peak price ratio 6:1 | Own-price elasticity of 0.35. | Peak period 7 hours long. | 900 | 100000 |  |  | Time-of-use meter | IOU, meter charge of $2.11 per month + $25 one-time charge |  |  | DOE |  | Hausman, "Appliance Purchase and Usage Adaptation to a Permanent Time-of-Day Schedule," J of Econometrics 26 (1984)
WPS - Electricity Rate Experiment | Determine price response to residential time-of-use prices | Pricing, time-of-use. |  |  |  |  | Year round | Customer, IOU, DOE | IOU | WI |  | Peak to off-peak price ratios 8:1 to 2:1. | Reduced peak usage 31% on critical peak days; total usage dropped as well. | Peak period varied from 6 to 12 hours long. |  | 325000 |  |  | Time-of-use meter |  |  |  | DOE |  | Caves, "Time-of-Use Rates for Residential Electric Service: Results from the Wisconsin Experiment," Public Utilities Fortnightly, Mar 17, 1983.
Xcel Energy - Energy Controlled Service (Non Demand Metered) | Provide full-time energy discount to reduce demand during critical peaks | Emergency: customer's load is interrupted by utility; up to 300 hrs/yr | During interruption, customer must have non electric space heating source, and water heater must be large enough not to require recharging during control period | Operational since 1981 |  |  | Winter heating months | Customer, IOU | IOU | Xcel-MN, MI, ND, SD, WI | Voluntary opt-in |  | 2.5 kW per customer peak reduction | 50% discount on energy charges for interruptible load | 1146 | 1170000 | 3 MW |  | Separate meter for interrupted loads; remote control interrupter | IOU; no extra charge to customer for meter |  |  | General rates |  | http://www.puc.state.mn.us/electric/rate%20design%20overview%207-30-01.pdf
Xcel Energy-Residential Time of Use | Provide full-time energy price incentive to shift from peak to off-peak | Pricing, time-of-use. |  | Operational since 1980 |  |  | Year round | Customer, IOU | IOU | Xcel-MN, MI, ND, SD, WI | Voluntary opt-in | Peak to off-peak price ratio 4.1:1 |  | Peak period 9am to 9 pm weekdays | 8800 | 1080000 |  |  |  | IOU; no extra charge to customer for meter |  |  | General rates |  | http://www.puc.state.mn.us/electric/rate%20design%20overview%207-30-01.pdf
Xcel Energy-Savers' Switch | Provide summer-time energy discount to reduce demand during critical peaks | Emergency: customer's load is interrupted by utility; up to 300 hrs/yr |  | Operational since 1990 |  |  | Jun-Sep | Customer, IOU | IOU | Xcel-MN, MI, ND, SD, WI | Voluntary opt-in | Resl: 15% discount on electric energy charges Jun-Sep; Comml: $5 per kW installed A/C capacity Jun-Sep | 1.0 kW per customer peak reduction |  | 245000 | 1170000 | 250 MW |  | Remote control switch wired to central air conditioner |  |  |  | General rates |  | http://www.puc.state.mn.us/electric/rate%20design%20overview%207-30-01.pdf
Xcel Energy-Small Commercial Time of Use | Provide full-time energy price incentive to shift from peak to off-peak | Pricing, time-of-use. |  | Operational since 1980 |  |  | Year round | Customer, IOU | IOU | Xcel-MN, MI, ND, SD, WI | Voluntary opt-in | Peak to off-peak price ratio 1.4:1 |  | Peak period 9am to 9 pm weekdays | 13500 | 90000 |  |  |  | IOU; no extra charge to customer for meter |  |  | General rates |  | http://www.puc.state.mn.us/electric/rate%20design%20overview%207-30-01.pdf