MEMO

| To: | Don Schultz, CPUC/ORA |
| --- | --- |
| From: | Ben Bronfman, ORA Evaluation Consultant |
| Date: | June 10, 1997 |
| Subject: | Review Memo for SCE Study # 528: Residential EMS |

REVIEW SUMMARY

1. Utility:  San Diego Gas & Electric			Study ID: 528

Program and PY: Residential Energy Management Services: PY1995

End Use(s): Primary analysis at Program level for each services program; impacts allocated to each end

use within program.

2.  Utility Study Title:  “1995 In-Home Audit Program Evaluation”.

3. Type of Study: 1st Year Load Impact Study (Performance Adder)	Required by Table 8A: Yes.

4. Applicable Protocols:  (old or new) Tables 6, 7, C-11

Study Completion: February, 1997		Required Documentation Received: Yes.

Retroactive Waivers: None.

5.  Reported Impact Results:

Average Gross Load Impacts:

Per Participant: Demand: .0103 kW (realization rate: 1.81); Energy: 478.1 kWh (realization rate: 1.090);

Gas: not reported.

Average Net Load Impacts:

Per Participant: Demand: .0074 kW (realization rate: 1.81); Energy: 342.6 kWh (realization rate: 1.090);

Gas: not reported.

Net-to-Gross Ratios: Demand: 0.716; Energy: 0.716; Gas: not reported

6.  Review Findings:

- Conformity with Protocols: The study is in substantial conformity with all the measurement protocols; but is partially in conformity with the reporting protocols. Table 6 results are reported for the program as a whole, and do not separate out measures and practices for each major end use. Major end uses, (measures), however, are broken out in the body of the report. Documentation protocols are outstanding

- Acceptability of Study results: The results appear to be estimated correctly.

7. Recommendations: Although the study results are not reported in complete Table 6 requirements, the

study appears to be in general conformity with the spirit of the protocols.  Results are acceptable 	as a requirement for consideration for performance adder incentives.

OVERVIEW

This study analyzed two major components of the residential Direct Assistance Program: the on-site audit, and the mail-in Audit. The analysis was a regression-based, “hybrid” model, and included rough engineering estimates of specific actions.  The analysis also included a self-selection correction. A total of 601 households were included in the anlaysis.

REPORTED IMPACT RESULTS:

Average Gross Load Impacts:

Per Participant: Demand: .0103 kW (realization rate: 1.81); Energy: 478.1 kWh (realization rate: 1.090); Gas: not reported.

Average Net Load Impacts:

Per Participant: Demand: .0074 kW (realization rate: 1.81); Energy: 342.6 kWh (realization rate: 1.090); Gas: not reported.

Net-to-Gross Ratios: Demand: 0.716; Energy: 0.716; Gas: not reported

ASSESSMENT OF STUDY METHODOLOGY AND RESULTS

This study is a well-documented, well-implemented study, and innovative study of the residential Direct Assistance Program. All required data for review purposes were present in the body of the report, or in the Appendices.

Results of the study show high load impacts, in contrast to other studies of similar programs, which show little or no savings.  The authors make a conscious effort  to  account for measure adoption as well as practice changes attributable to the program.

The required designated units are reported in the body of the report, but only total load impacts per participant are reported in the Table 6 Appendix.

CONFORMITY WITH PROTOCOLS

No major issues.

RECOMMENDATION

The study should be accepted as fulfillment of the requirement for consideration of performance adder payments.

Attachments:  None