MEMO

| To: | Don Schultz, CPUC/ORA |
| --- | --- |
| From: | Kenneth M. Keating, ORA Evaluation Consultant |
| Date: | May 23, 1997 |
| Subject: | Review Memo for SDG&E Study # 938: CEMS |

REVIEW SUMMARY

1. Utility:  San Diego Gas and Electric                        			Study ID: 938

Program and PY:  Commercial; Energy Management Services Program:  PY1994

End Use(s):  Lighting, HVAC, and other.

2.  Utility Study Title:  “1994 Commercial Energy Management Services Program:  First Year Load Impact Evaluation”

3. Type of Study:  1st Year Load Impact Study                		 Required by Table 8A: Yes.

4. Applicable Protocols:  Tables 6, 7, C-11

Study Completion: February, 1997		Required Documentation Received:   Yes

Retroactive Waivers:   March 15, 1995:  to delay the load impact study for PY94 until 1997.

5.  Reported Impact Results:

Average Gross Load Impacts:

Per Participant: Peak: - 0.27 kW (- 0.27 kW per designated unit; - 0.027 realization rate);

Energy:  - 1,403 kWh  (- 1,403 kWh per designated unit;  -0.026 realization rate).

Average  Net Load Impacts:

Per Participant: Peak: - 0.15 kW (- 0.15 kW per designated unit;  -0.015 realization rate);

Energy: - 772 kWh (- 772 kWh per designated unit;  -0.014 realization rate).

Net-to-gross ratios:    Peak:  0.551;  Energy:  0.550

7.  Review Findings:

- Conformity with Protocols:  The study is generally in conformity with the measurement and

- reporting protocols.

- Acceptability of Study results:   The results appear to be estimated fairly and can be used as a basis for paying the performance adder shareholder incentives.

Recommendations:  Accept the results as a defensible ex post evaluation.

OVERVIEW

The CEMS program qualifies for share holder earnings based a Performance Adder mechanism.  As such, the exact results of the ex post load impact study are not considered in the calculation of earnings claims.  The Company, however, is required to produce a Protocol-compliant load impact study.  The Company has done that in this case.  The results indicate that audit participants who did not elect to take measures under an incentive program can not be said to have accomplished any statistically significant load impacts as a result of the audit alone.

REPORTED IMPACT RESULTS:

Average Gross Load Impacts:

Per Participant: Peak: -0.27 kW (-0.27 kW per designated unit; -0.027 realization rate);

Energy:  - 1,403 kWh  (- 1,403 kWh per designated unit;  -.0.026 realization rate).

Average  Net Load Impacts:

Per Participant: Peak: - 0.15 kW (- 0.15 kW per designated unit;  -0.015 realization rate);

Energy: - 772 kWh (- 772 kWh per designated unit;  -0.014 realization rate).

Net-to-gross ratios:    Peak:  0.551;  Energy:  0.550

Table C-11 requires that end-use impacts be allocated and reported.  The gross load impacts are allocated by end use on page 9 of the study.  Since the NTG approach did not address each measure or end-use, the net load impacts are reported only at the “per participant” level.

Average Gross End-Use Load Impacts

HVAC: Peak:  -0.0353 kW (-0.035 kW per designated unit; no realization rate reported);

Energy:  -182 kWh (-182 kWh per designated unit; no realization rate reported).

Lighting:  Peak:  -0.198 kW (-0.198 kW per designated unit; no realization rate reported);

Energy:  -1,024 kWh (-1,204 kWh per designated unit; no realization rate reported).

Other:  Peak: -0.038 kW (-0.038 kW per designated unit; no realization rate

reported);  Energy:  -197 kWh (-197 kWh per designated unit; no realization rate

reported).

ASSESSMENT OF STUDY METHODOLOGY AND RESULTS

The study methodology is a based on a “difference of differences” Load Impact Regression Model (LIRM) to estimate net load impacts.  It is based on an attempted census of all participants and a comparison group of 450 1994  Commercial sector non-participants.  The comparison group had on-site data available on them, but the data were not used to any great extent in the evaluation.  The LIRM was a simple model run on each participant and comparison  site individually and then summed and averaged for a per-participant value.  The average participant load impact was adjusted by the comparison group changes in consumption over the same time period. The results indicate both groups appear to have increased consumption from the pre to post period, but none of the results were statistically significant.

Evaluation Issues:  This load impact study makes no judgments about the apparent lack of impact from the audit alone or provides any hypotheses about why the regressions using 107 participants and 407 nonparticipants produced no identifiable program effects.

CONFORMITY WITH THE PROTOCOLS

Measurement Protocols: The Study complies with the measurement protocols of Table 5 and C-11, including the reporting of end-use load impacts as well as the load impacts in terms of the DU, although the allocation wasn’t done based on the LIRM or an engineering approach as required.

The peak impacts were based on load factors derived from CEC data .

Tables 6 and 7 Reporting Protocols:  Tables 6 and 7 are included in the study and contain the required data, where applicable. Judgments on the influential outliers that were excluded appear fully justified.

RECOMMENDATION

It is recommended that the load impact study be accepted as an adequate ex post measurement study for this Performance Adder program.

Negative numbers in the reported results refer to the fact that the load impacts appear to have resulted in increased consumption.

Negative numbers in the reported results refer to the fact that the load impacts appear to have resulted in increased consumption.