Tables for the PG&E Programs:

(Pre-98 commitments, Revised 10/28/99)

By End Use Sector

| CEEI Program |  |
| --- | --- |
| Claim (000,000 kWh) | 89.86 |
| Total Verified (000,000 kWh) | 87.25 |
| Verification Ratio | .971 |
| T-Statistic | 4.398 |
| Claim (000 kW) | 12.35 |
| Total Verified(000 kW) | 11.71 |
| Verification Ratio | .949 |
| T-Statistic | 5.622 |
| Claim (000,000 therms) | .947 |
| Total Verified (000,000 therms) | .548 |
| Verification Ratio | .578 |
| T-Statistic | 2.119 |
| Incentives Claimed ($000) |  |
| Incentives Verified ($000) |  |
| Verification Ratio |  |
| T-statistic |  |
| Claimed Customer Costs ($000) |  |
| Verified Customer Costs ($000) |  |
| Verification Ratio |  |
| T-statistic |  |

| IEEI Program |  |
| --- | --- |
| Claim (000,000 kWh) | 43.05 |
| Total Verified (000,000 kWh) | 35.26 |
| Verification Ratio | .819 |
| T-Statistic | 7.582 |
| Claim (000 kW) | 6.40 |
| Total Verified (000 kW) | 4.58 |
| Verification Ratio | .716 |
| T-Statistic | 9.060 |
| Claim (000,000 therms) | 5.846 |
| Total Verified (000,000 therms) | 5.846 |
| Verification Ratio | 1.00 |
| T-Statistic | N/A |
| Incentives Claimed ($000) |  |
| Incentives Verified ($000) |  |
| Verification Ratio |  |
| T-statistic |  |
| Claimed Customer Costs ($000) |  |
| Verified Customer Costs ($000) |  |
| Verification Ratio |  |
| T-statistic |  |

| AEEI Program |  |
| --- | --- |
| Claim (000,000 kWh) | 11.31 |
| Total Verified (000,000 kWh) | 11.31 |
| Verification Ratio | 1.00 |
| T-Statistic | N/A |
| Claim (000 kW) | 4.07 |
| Total Verified(000 kW) | 4.07 |
| Verification Ratio | 1.00 |
| T-Statistic | N/A |
| Claim (000,000 therms) | 1.152 |
| Total Verified (000,000 therms) | 1.101 |
| Verification Ratio | .956 |
| T-Statistic | 3.726 |
| Incentives Claimed ($000) |  |
| Incentives Verified ($000) |  |
| Verification Ratio |  |
| T-statistic |  |
| Claimed Customer Costs ($000) |  |
| Verified Customer Costs ($000) |  |
| Verification Ratio |  |
| T-statistic |  |

* Verification Ratio not statistically significant, no adjustment recommended

| NRNC Program |  |
| --- | --- |
| Claim (000,000 kWh) | 103.79 |
| Adjusted Claim (000,000 kWh) | 91.69 |
| Total Verified (000,000 kWh) | 75.10 |
| Verification Ratio | .8191 |
| T-Statistic | 15.402 |
| Claim (000 kW) | 27.4 |
| Adjusted Claim (000 kW) | 28.1 |
| Total Verified (000 kW) | 26.5 |
| Verification Ratio | .941 |
| T-Statistic | 4.322 |
| Claim (000,000 therms) | .317 |
| Total Verified (000,000 therms) | .317 |
| Verification Ratio | 1.0 |
| T-Statistic | N/A |
| Incentives Claimed ($000) |  |
| Incentives Verified ($000) |  |
| Verification Ratio |  |
| T-statistic |  |
| Claimed Customer Costs ($000) |  |
| Verified Customer Costs ($000) |  |
| Verification Ratio |  |
| T-statistic |  |