MEMO

| To: | Scott Logan, CPUC/ORA |
| --- | --- |
| From: | Kenneth M. Keating, ORA Evaluation Consultant |
| Date: | August 21, 1999 |
| Subject: | Review Memo for PG&E Study # 333A: CEEI Lighting |

REVIEW SUMMARY

1. Utility:  Pacific Gas and Electric                        			Study ID: 333A

Program and PY:  Commercial Energy Efficiency Incentives Program:  PY1997

End Use(s):  Indoor Lighting

2.  Utility Study Title:  “Evaluation of Pacific Gas and Electric Company’s 1997 Commercial Energy Efficiency Incentives Program:  Lighting Technologies”

3. Type of Study:  1st Year Load Impact Study                		 Required by Table 8A: Yes.

4. Applicable Protocols: Tables 5, 6, 7, and C-4.

Study Completion: March 1, 1999 	Required Documentation Received:   Yes

Retroactive Waivers: (A) as approved June 17, 1998: .Allowed to use  the average of PY1994 and 1995 load impact study results for full load operating hours, coincident diversity factors, HVAC interactive effects, and burned out lamp rates; (B) as approved January 20, 1999:   Allowed the use of self-report methods to estimate net-to-gross in cases where the discrete choice model or LIRM failed to provide statistically reliable results for a particular technology.

5.  Reported Impact Results;

Average Annual Gross Load Impacts:

Lighting:  Peak:  23,656 kW (0.0001 kW per designated unit; 0.93 realization rate).   Energy:  113,984,414 kWh (0.3474 kWh per designated unit; 0.89 realization rate).  Therms (interaction): - 35,561,437 (-0.1084 therms per designated unit; realization rate not applicable)

Average Annual  Net Load Impacts:

Lighting:  Peak:  18,982 kW (0.0001 kW per designated unit; 0.88 realization rate).  Energy: 92,950,748 kWh (0.2833 kWh per designated unit; 0.85 realization rate)  Therms:  -28,046,591 therms (-0.0855 therms per designated unit;  realization rate not applicable).

Net-to-gross ratios:   0.815 for peak, energy, and gas impacts.

- Review Findings:

- Conformity with Protocols:  The study is strictly in conformity with the protocols and the approved Retroactive waivers.

- Acceptability of Study results: This very important study clearly needs a verification report.

- Recommendations:  Pending a Verification Report, the recommendation is to accept the results as claimed in Table 6 of  the Study.

OVERVIEW

The Commercial Energy Efficiency Incentives Program is a shared savings program for purposes of shareholder incentives.  As such, the actual ex post evaluation results from the first year load impact study are important to the calculation of that shareholder incentive.  Approximately 54% of the Company’s claimed net benefits for all shared saving programs are based on the CEEI Lighting Technologies, and of that, 86% is due to the non-PSP commercial  lighting end use.  Therefore,  $8.263 million dollars in shareholder incentives are at stake in this load impact study.  Study results, therefore, will be carefully reviewed through  a Review Memo and replicated with a Verification Report.

This study was conducted in a manner that is similar to the impact analysis of HVAC end use technologies for the PY97 CEEI program (Study 333B), and therefore shares similar strengths with that study.

In general, the Company and their contractor appear to have prepared a detailed load impact study that is in excellent conformity with the measurement protocols, including the retroactive waivers that are applicable.  The minor potential issue raised in this review memo relates to the self-report approach to estimating the net-to-gross ratios (NTG), but the issue is only relevant in the unlikely event that the chosen discrete choice methodology does not stand up to a Verification Report.

REPORTED IMPACT RESULTS:

Based on Table 6 from the study, the following claims were made for impacts:

Average Annual Gross Load Impacts:

Lighting:  Peak:  23,656 kW (0.0001 kW per designated unit; 0.93 realization rate).   Energy:  113,984,414 kWh (0.3474 kWh per designated unit; 0.89 realization rate).  Therms (interaction): - 35,561,437 (-0.1084 therms per designated unit; realization rate not applicable)

Average Annual  Net Load Impacts:

Lighting:  Peak:  18,982 kW (0.0001 kW per designated unit; 0.88 realization rate).  Energy: 92,950,748 kWh (0.2833 kWh per designated unit; 0.85 realization rate)  Therms:  -28,046,591 therms (-0.0855 therms per designated unit;  realization rate not applicable).

Net-to-gross ratios:   0.815 for peak, energy, and gas impacts.

ASSESSMENT OF STUDY METHODOLOGY AND RESULTS

The energy impacts in the Study are based on a three-stage approach: 1) independent re-estimation of engineering priors based on data collected on site and through metering of participants in prior program years, applied to the current year, as approved by the retroactive waiver of 6/17/98; 2) a load impact regression framework that included the engineering priors from step 1 and the actual pre and post program monthly bills for both the lighting and HVAC participants; and 3) a two stage discrete choice model to estimate both free-ridership and spillover.  The demand impacts were estimated using the first and third steps, since there were no applicable billing data.

The participant sample was 481 CEEI participants who installed lighting measures, 549 nonparticipants for a comparison group for the Load Impact Regression analysis, and 3619 nonparticipants from a canvass survey for purposes of the NTG analysis. The samples were selected to meet the precision estimates of the Protocols, based on pre-program consumption, and stratified by energy consumption and building type.  The nonparticipant sample was drawn to match the consumption and building type characteristics of the participant sample.

The first stage of the load impact regression model used nonparticipants to provide a relationship, by building type, of the post-program consumption of the nonparticipants based on the pre-program consumption and actual weather.  This was used as a predicted future baseline in a simultaneous regression equation involving the participants, in which the predicted change in consumption based on how the participants would have changed if they had acted only like the nonparticipants, was used as the dependent variable.  The model included engineering estimates of load impacts in each participant building for lighting, HVAC, and other miscellaneous measures (e.g., an energy efficient  motor), as well as changes in the facilities undertaken by the participants during the period under study.  The SAE coefficients that resulted were interpreted as that portion of the engineering estimates prepared for the evaluation that was evidenced in the actual billing data for the participants.   The new results were then compared to the ex ante estimates of gross load impacts provided in the E-3 Tables of the first earnings claims to calculate the gross “realization rate” as defined by the Protocols.

The NTG (for net load impacts) was approached in three ways: (1) self-reported responses to a telephone survey about free-ridership and participant and nonparticipant spillover; (2) the inclusion of a Double (and single)Mills Ratio approach within the Load Impact Regression (SAE) Model as a net billing model; and (3) a two-stage discrete choice model to estimate free-ridership and spillover.  The Study’s NTG results were based “solely” on the discrete choice results for building types – which is one appropriate segmentation for consumer decision-making.  The final net realization rates were the net ex post load impacts compared to the net ex ante load impacts.

Evaluation Issues:

The evaluation contractors have done an excellent job of explaining what they did, what they tried, and why they selected the options that they had selected. The cumulative effect of prior settlements, the applicable retroactive waivers, the care taken to account for problems that arose over four prior rounds of studies and reviews, and the careful explanation of this year’s study dramatically reduced the number of potential issues with this study.

## Net-to-Gross Analysis

The study authors are basing their NTG ratios on the two-stage discrete choice model.  They could have used the self-report approach if the discrete choice models had not produced statistically robust results, according to the January 20, 1999 retroactive waiver.  They felt that this was unnecessary given the model results.  They indicate that the self-report results also support most of the discrete choice results.  In addition, the authors argue that both the self-report approaches and the Double Mills Ratio approaches provide higher estimates of net participation, making the discrete choice approach the most “conservative” estimate.  If the basic econometric reasoning, sample sizes, and reliability of the discrete choice model are confirmed in the Verification Report, there is no reason to be concerned about the other methods attempted to estimate NTG.

However, it could be important to point out two issues within self-report approach.

- Although the impact may not be expected to major, a test of the sensitivity of the reported results of participant and nonparticipant spillover to the analytic decision to treat participant and nonparticipant knowledge of the Program which was identified as “slightly influential” (sp080 and sp010) in the decision to purchase high efficiency equipment as spillover would be warranted.  If the discrete choice model is verified as appropriate, the sensitivity tests might at least indicate that the discrete choice approach may not have provided the lowest estimate of net participation. If the discrete choice model is not found to be robust in the Verification Report, the sensitivity tests may be important to estimating NTG with the self-report approach. Basically, due to the high leverage of the few spillover cases in the very large population of nonparticipants, and even within the participant group (due in part to the higher avoided costs ascribed to each participant spillover action), a change in the identification of the absolute cases of spillover could produce substantially less spillover.  If respondents saying “slightly influential’ – a possible demand effect of the survey – were considered not to represent spillover, the 12.5 nonparticipants reporting spillover and the 15 participants used to calculate spillover could have resulted in half or less of the spillover eventually calculated.

- Another issue that arises if the Company had to depend on the self-report approach in lieu of the discrete choice modeling is that they have failed to report on “deferred free-ridership,” which can be calculated if a self-report approach is used, and, in fact is required by the Quality Assurance Guidelines for self-reported NTG.  The argument has been that deferred free-ridership – would have taken the action without the program more than a year into the future – should not affect “first year load impacts,” but it is the only opportunity to capture the effect for the subsequent load impacts and report it, and the Quality Assurance Guidelines to the Protocols require that deferred free-ridership be addressed when self-report techniques are used.

CONFORMITY WITH THE PROTOCOLS

Measurement Protocols.  The study  is in conformity with the Protocols of Table C-4 and Table 5.

Tables 6 and 7 Reporting Protocols. The Study includes suitably detailed Tables 6 and 7.

Summary Recommendation:

Based on a review of the text of the study, this is a very good ex post evaluation, but the importance of this evaluation requires a Verification Report. If the Verification Report supports the findings from the NTG analysis based on the two-stage discrete choice analysis,  the recommendation is to accept the results as claimed in Table 6.

If, however, the Verification Report rejects the econometric approach, the self-report results should tested for sensitivity to the self-report scoring algorithm used by the Company to estimate spillover and any adjustments required consider the lack of the quantification of deferred free-ridership.

As in prior years, the realization rate per DU is not useable for PG&E, in that the number of designated units change from the E-3 Table in the first earnings claim to Table 6 of the Study.  However, the total load impacts and the realization rate for these are correctly calculated, and the amount of net load impacts is not confounded by the DU problem.

No therm impacts, which are negative as a result of space heating interaction with the lighting measures, were projected in the PY E-3 Table, first earnings claim, so no realization rate is calculated

As in prior years, the realization rate per DU is not useable for PG&E, in that the number of designated units change from the E-3 Table in the first earnings claim to Table 6 of the Study.  However, the total load impacts and the realization rate for these are correctly calculated, and the amount of net load impacts is not confounded by the DU problem.

No therm impacts, which are negative as a result of space heating interaction with the lighting measures, were projected in the PY E-3 Table, first earnings claim, so no realization rate is calculated

The exact relative precision for lighting participants is reported variously as 5.7% in the text on page 3-8 and as 6.1% in Exhibit 3-5, but in neither case do they approach the limits set by the Protocols.

The Company’s consultants argued at length about criticisms of this aspect of the modeling that they received as part of last year’s AEAP Verification Report and discussions with the verification contractor, ECO-Northwest during the subsequent year.  Attached as Appendices to the Studies were the Company’s rebuttal from the AEAP last year on this modeling issue and the recommendations of the CPUC Independent Reviewer.  All this despite the fact that the case was “settled” last year, because the Company’s contractors intended to use the same approach again this year (with enhancements).  In addition, the contractor in this Study, 333A, provided extensive documentation of alternative model specifications.  This review found the arguments and sensitivities provided by the contractor for 333A and 333B to be convincing.

In fact, a reduction of 0.05 on the spillover for the self-report methodology would have left only one out of the 12 business types with a discrete choice modeling result lower in NTG than the revised self-report results.

As in prior years, the realization rate per DU is not useable for PG&E, in that the number of designated units change from the E-3 Table in the first earnings claim to Table 6 of the Study.  However, the total load impacts and the realization rate for these are correctly calculated, and the amount of net load impacts is not confounded by the DU problem.