- MEMO

| To: | Scott Logan, CPUC/ORA |
| --- | --- |
| From: | Kenneth M. Keating, ORA Evaluation Consultant |
| Date: | August 21, 1999 |
| Subject: | Review Memo for PG&E 335C: AEEI – Greenhouse Heat Curtain End Use |

- REVIEW SUMMARY

1. Utility:  Pacific Gas and Electric Company                        			Study ID: 335C

Program and PY:  Agricultural Energy Efficiency Incentives Program:  PY1997

- End Use(s):  Greenhouse Heat Curtain End-Use

2.  Utility Study Title:  “Impact Evaluation of Pacific Gas and Electric Company’s  1996 Agricultural Energy Efficiency Incentives Program:  Greenhouse Heat Curtain End Use ”

3. Type of Study:  1st Year Load Impact Study                		 Required by Table 8A: Yes.

- 4. Applicable Protocols: Tables 5, 6, 7, and C-6

Study Completion:  March 1, 1998 	Required Documentation Received:   Yes

Retroactive Waivers: Retroactive Waivers: (1) approved on June 17, 1998 that allows (a) the gross load impacts for refrigeration and greenhouse end-uses to be based on simplified engineering analyses supported by a phone survey, and (b) the use of a default NTG ratio of 0.75 for all AEEI end-uses provided the Company prepared a Market Effects study on Ag pumping that studies four important market barriers. (2) Approved on January 20, 1999, identified, for the Greenhouse Heat Curtain end use, the designated the unit of analysis as “load impacts per square foot of heat curtain installed.”

- 5.  Reported Impact Results:

- Average Annual Gross Load Impacts:.

Greenhouse: Therms: 34,556 Therms (0.48 Therms per designated unit [square foot of heat curtain installed]; 0.65 gross realization rate).

- Average Annual  Net Load Impacts:

Greenhouse:  Therms: 25,917 Therms (0.36 Therms per designated unit; 0.65 net realization rate).

Net-to-gross ratios:  Therms: 	0.75

- 7.  Review Findings:

- Conformity with Protocols:  The study is in conformity with the protocols as modified by the retroactive waivers.

- Acceptability of Study results: The gross results from the simple engineering algorithms appear to be defensible.

Recommendations: The recommendation is to accept the earnings claims as documented in this Study and laid out in Table 6.

- OVERVIEW

The Agricultural Energy Efficiency Incentives Program is a shared savings program for purposes of shareholder incentives.  As such, the actual ex post evaluation results from the first year load impact study are important to the calculation of the shareholder incentive. The shareholder incentives for the Greenhouse Heat Curtain portion of PG&E's AEEI study are nearly zero – actually, a negative $1,000.  The gross load impacts were determined by simplified engineering estimates, and the net-to-gross ratio was set by a retroactive waiver.

#### REPORTED IMPACT RESULTS

- Average Annual Gross Load Impacts:.

Greenhouse: Therms: 34,556 Therms (0.48 Therms per designated unit [square foot of heat curtain installed]; 0.65 gross realization rate).

- Average Annual  Net Load Impacts:

Greenhouse: Therms: 25,917 Therms (0.36 Therms per designated unit; 0.65 net realization rate).

Net-to-gross ratios:  Therms: 	0.75

#### ASSESSMENT OF STUDY METHODOLOGY AND RESULTS

The Study estimated the gross load impacts the newly defined Greenhouse Heat Curtain end-use through simplified engineering analyses, supported by 11 on-site visits.  The sample frame for the Greenhouse Heat Curtain end-use was the universe of 11 participants.  The engineering estimates of gross load impacts were carefully documented in the engineering Appendix, and appear to be conservative and defensible.

The net-to-gross was pre-determined by the retroactive waiver approved on June 17, 1998 to be 0.75.

Evaluation Issues:

This is a strong load impact study in terms of its gross load impact analysis, its efforts to understand the differences between ex ante and ex post estimates, and its candid recommendations for lowering, often dramatically, the realization rates.  It would be difficult to fault any aspect of this gross impacts study.

##### CONFORMITY WITH THE PROTOCOLS

Measurement Protocols:  This Study appears to be in strict conformity with the retroactive waivers to the measurement Protocols.

- Reporting Protocols:  Tables 6 and 7 are adequately documented.

##### RECOMMENDATION

The recommendation is to accept the load impact claims as documented in the Study.

The net realization rate is the same as the gross realization rate, because the ex ante NTG ratio was the same as that approved in the retroactive waiver of June 17, 1998 – 0.75.

The net realization rate is the same as the gross realization rate, because the ex ante NTG ratio was the same as that approved in the retroactive waiver of June 17, 1998 – 0.75.