- MEMO

| To: | Scott Logan, CPUC/ORA |
| --- | --- |
| From: | Kenneth M. Keating, ORA Evaluation Consultant |
| Date: | August 18, 1999 |
| Subject: | Review Memo for SCE Study # 567: CEEI Lighting, HVAC, Process, and Miscellaneous End-Uses |

- REVIEW SUMMARY

1. Utility:  Southern California Edison                        			Study ID: 567

Program and PY:  Commercial Energy Efficiency Incentives Program: PY1997

- End Use(s):  indoor lighting;  Process, HVAC,  refrigeration, and pumping (miscellaneous)

2.  Utility Study Title:  “1997 Commercial Energy Efficiency Incentive Evaluation”

3. Type of Study:  1st Year Load Impact Study                		 Required by Table 8A: Yes.

- 4. Applicable Protocols: Tables 5, 6, 7, and C-4 and C-9.

Study Completion:  February 25, 1999 	Required Documentation Received:   Yes

Retroactive Waivers:   None

- 5.  Reported Impact Results;

- Annual Gross Load Impacts:

Lighting:  Peak: 7,366 kW (0.0000833 kW per designated unit;  0.95 realization rate.)   Energy: 33,695,650 kWh (0.3811 kWh per designated unit;  0.8023 realization rate).

HVAC:  Peak: 2,035 kW (0.00002165 kW per designated unit; 0.4995 realization rate).   Energy:  28,925,614 kWh (0.3077 kWh per designated unit; 0.6175 realization rate).

Process:  Peak: 1,430 kW (357.5 kW per designated unit[project]; 8.2184 realization rate)  Energy: 20,707,979 kWh (5,176,995 kWh per designated unit; 0.9671 realization rate).

Misc. Refrigeration: Peak: 20 kW (2.22 kW per designated unit; 1.00 realization rate)  Energy: 6,704,788 kWh (744,976 kWh per designated unit; 1.00 realization rate).

Misc. Pumping:  Peak 17 kW (5.667 kW per designated unit; 1.00 realization rate)  Energy:  760,068 kWh (253,356 kWh per designated unit; 1.00 realization rate).

- Annual  Net Load Impacts:

Lighting:  Peak: 7,053 kW (0.00007976 kW per designated unit;  1.18 realization rate.)   Energy: 32,095,954 kWh (0.3630 kWh per designated unit;  0.9925 realization rate).

HVAC:  Peak: 1,811 kW (0.00001926 kW per designated unit; 0.5168 realization rate).   Energy:  25,743,796 kWh (0.2738 kWh per designated unit; 0.639 realization rate).

Process:  Peak: 1,430 kW (357.5 kW per designated unit[project]; 10.2878 realization rate)  Energy: 20,707,979 kWh (5,176,995 kWh per designated unit; 1.2089 realization rate).

Misc. Refrigeration: Peak: 16 kW (1.7778 kW per designated unit; 1.00 realization rate)  Energy: 5,363,830 kWh (595,981 kWh per designated unit; 1.00 realization rate).

Misc. Pumping:  Peak 13 kW (4.333 kW per designated unit; 1.00 realization rate)  Energy:  608,054 kWh (202,685 kWh per designated unit; 1.00 realization rate).

Net-to-gross ratios:  	 0.958 for peak lighting	0.89 for peak HVAC	1.00 for peak Process

.	 0.953 for kWh lighting	0.89 for kWh HVAC	1.00 for kWh process

0.80 for peak refrigeration  0.765 for peak pumping

0.80 for kWh refrigeration  0.80  for kWh pumping

- 7.  Review Findings:

- Conformity with Protocols:  With the exception of the NTG for miscellaneous end-uses, sampling, and justification of the claims made in Table 6, the study is generally in conformity with the protocols.

- Acceptability of Study results: This very important study clearly needs a Verification Report.

Recommendations:  Pending a Verification Report, the recommendations are: a) to revise the NTG ratios for refrigeration and pumping end-uses to 0.75, which is the default value, absent a defensible justification for an alternative, for miscellaneous measures in Table C-9; and b) consider a 10% reduction in net benefits to reflect the Company’s responsibility for uncertain nature of the load impact estimates contained in the Study.

- OVERVIEW

The Commercial Energy Efficiency Incentives Program is a shared savings program for purposes of shareholder incentives.  As such, the actual ex post evaluation results from the first year load impact study are important to the calculation of that shareholder incentive.  Approximately 39% of the Company’s claimed net benefits for all shared saving programs are based on the CEEI.  The results of this Study  (#567) are worth approximately $5.8 million in shareholder incentives. Therefore, the load impact study will be carefully reviewed through a Review Memo and replicated with a Verification Report.

- REPORTED IMPACT RESULTS:

Based the submitted Table 6 of this Study:

- Annual Gross Load Impacts:

Lighting:  Peak: 7,366 kW (0.0000833 kW per designated unit;  0.95 realization rate.)   Energy: 33,695,650 kWh (0.3811 kWh per designated unit;  0.8023 realization rate).

HVAC:  Peak: 2,035 kW (0.00002165 kW per designated unit; 0.4995 realization rate).   Energy:  28,925,614 kWh (0.3077 kWh per designated unit; 0.6175 realization rate).

Process:  Peak: 1,430 kW (357.5 kW per designated unit[project]; 8.2184 realization rate)  Energy: 20,707,979 kWh (5,176,995 kWh per designated unit; 0.9671 realization rate).

Misc. Refrigeration: Peak: 20 kW (2.22 kW per designated unit; 1.00 realization rate)  Energy: 6,704,788 kWh (744,976 kWh per designated unit; 1.00 realization rate).

Misc. Pumping:  Peak 17 kW (5.667 kW per designated unit; 1.00 realization rate)  Energy:  760,068 kWh (253,356 kWh per designated unit; 1.00 realization rate).

- Annual  Net Load Impacts:

Lighting:  Peak: 7,053 kW (0.00007976 kW per designated unit;  1.18 realization rate.)   Energy: 32,095,954 kWh (0.3630 kWh per designated unit;  0.9925 realization rate).

HVAC:  Peak: 1,811 kW (0.00001926 kW per designated unit; 0.5168 realization rate).   Energy:  25,743,796 kWh (0.2738 kWh per designated unit; 0.639 realization rate).

Process:  Peak: 1,430 kW (357.5 kW per designated unit[project]; 10.2878 realization rate)  Energy: 20,707,979 kWh (5,176,995 kWh per designated unit; 1.2089 realization rate).

Misc. Refrigeration: Peak: 16 kW (1.7778 kW per designated unit; 1.00 realization rate)  Energy: 5,363,830 kWh (595,981 kWh per designated unit; 1.00 realization rate).

Misc. Pumping:  Peak 13 kW (4.333 kW per designated unit; 1.00 realization rate)  Energy:  608,054 kWh (202,685 kWh per designated unit; 1.00 realization rate).

Net-to-gross ratios:

0.958 for peak lighting		0.89 for peak HVAC		1.00 for peak Process

0.953 for kWh lighting		0.89 for kWh HVAC		1.00 for kWh process

0.80 for peak refrigeration		0.765 for peak pumping

0.80 for kWh refrigeration		0.80  for kWh pumping

- ASSESSMENT OF STUDY METHODOLOGY AND RESULTS

This is a multi-stage study that began with new engineering estimates computed via on-site visits to a much-modified census of participants (291 of 731 total participant sites) and 200 matched nonparticipants.  The revised engineering estimates of expected load impacts from both program-eligible and program-ineligible measures in participants and nonparticipant facilities were used as engineering priors in a “realization rate model.”  This model uses monthly billing data in a load impact regression model (LIRM), pooling both participants and the comparison group of non-participants to determine how closely the billing data reflect the expected load impacts from the engineering priors.

Several adjustments are necessary to weather-normalize the results, to adjust for Title-24 requirements instead of the pre-existing condition reflected in the pre-retrofit bills, and to subtract out the effect of measures installed by other programs.

The net-to-gross ratios are computed for the “process” end-use element through a very literal “difference-of-differences” approach that compares the load reduction the 5 process participants attained over the first year with those attained by the nonparticipants from process measures.  This amounts to a credit of 1.0 as the NTG, because no process measures were found in the sample of nonparticipants.

The NTG ratios for the lighting and HVAC end uses were estimated using an efficiency choice model.  The efficiency choice model included corrections for self-selection, participant free-ridership and participant spillover, but did not include an estimate of the nonparticipant spillover from the market effects of the program (p. I-5).

The NTG ratios reported for the miscellaneous end-uses (refrigeration and pumping) were (erroneously) based on the ex ante NTG ratios, rather than the default value for miscellaneous measures.

- EVALUATION ISSUES:

- In many ways this is a smooth and well considered evaluation.  However, there are many disquieting issues with this study.  Unfortunately, there is no easy way to adjust the results reported, with the exception of the miscellaneous measure NTG, even with a thorough Verification Report, because many of the problems arise from small samples and a lack of data/explanation.

- First, the easy one.  When the E Tables were filed for the ex ante program estimates of load impacts, it was apparently not foreseen that the pumping and refrigeration end-uses would end up being considered “miscellaneous” measures.  In the ex post analysis, these two end uses represent less than the 15% threshold of impacts to be analyzed as stand-alone end-uses.  The authors correctly referenced Table C-9 and pointed out that for miscellaneous measures/end-uses, the accepted ex ante estimates of gross load impacts from the first earnings claim are to be used.  However, they neglected to note that the default NTG ratio for miscellaneous measures in Table C-9 is 0.75, unless there is a rationale or documentation that would support the use of an alternative.  While not a major impact on the Study and the earnings claim, the authors erroneously used the ex ante NTG instead of the default value, and this should be corrected.  In response to a data request, Attachment A, the Company responded by accepting a NTG of 0.75 for the pumping end use, but claimed that, based on Study 541 (see Attachment B to this memo) a ratio of 1.0 is appropriate for the refrigeration end-use.  However, Study 541 did not include commercial refrigeration measures, and the Verification Report (table 12) indicates that in no case was a NTG above 0.699 accepted.  Therefore, the default NTG value of 0.75 remains preferable.

- One of the issues that can’t be changed in the Verification Report is the nonparticipant sampling.  The nonparticipants were supposedly selected to match the participants by building type and pre-program consumption (p. 2-12).  A major variance from this effort seems to have occurred in the important office sector – 27% of the participant sample were offices, but only 15% of the nonparticipants were offices (Tables 2-6 and 2-8).  Other building types have differences, but offices were a major program participant sector.  Given that the population of non-participant offices available was very large and the target originally was 30%  (Table 2-7), it would seem that the mis-match was due to difficulties with a response rate among nonparticipant offices – the small target of 200 was met before sufficient offices could be recruited, but Table 2-12 shows the target and completions for nonparticipant offices to be similar.  In addition, the energy intensity of the participant and non-participant offices were almost 100% different (Table 2-19).  The comparability of the nonparticipant sample is questionable for this important building type.  Expanding the nonparticipant sample (arbitrarily set at 200) to attain a reasonable match was within the control of the utility.

- The sample of sites targeted for end-use metering was extremely parsimonious.  With $5.8 million in shareholder incentives at risk, a sample of only 25 sites were targeted (and 22 actually metered) to be used to adjust key engineering priors over 15 types of measures.

- First, from a research perspective, this would appear to be extremely risky – penny-wise and pound foolish. Imagine if the one chiller site or the one building with occupancy sensors or the one building with hours of use after de-lamping were anomalous or had malfunctioning equipment (Tables 2-9; 2-10).

- Second, there is no justification presented for even considering one point to be a “sample.” With the high leverage accorded for these few sites (p. 3-3) in the extrapolation, even to other building types, an objective reviewer will surely be concerned about the manner of selection and the representativeness of the end-use metered sites. The Quality Assurance Guidelines of the Protocols (p. J-10) would lead us to expect an explanation how representative one site can be for purposes of adjusting others with the same type of measure.  The QAGs expect that the procedures used to ensure the randomness of the sample drawn will be explained.

- Third, the ORA consultants are not alone in suggesting that one site is anecdotal, not representative.  In another filing in the current AEAP, another consultant working to enforce rigor on third-party implementers (PG&E Study 398) required modifications to the sampling for verification proposed by the third party contractors. It is informative that when contractors suggested sampling one or two points, the suggestion was turned back with a requirement for a minimum of three points to qualify as a sample, and a recommendation for five points as a minimum for another contractor (May 13th, 1998 letter to Princeton Development Corporation, and the March 4, 1998 letter to Proven Alternatives).

- Once again, the confidence in the results claimed should have been greater if the samples for metering had been congruent with the task at hand, and this as within the control of the utility.

- The Verification Report needs to examine the robustness of the efficiency choice models, especially for lighting.  The results from the model used are not simply counter-intuitive, but contrary to most related literature on predictors of participation and efficiency investment decisions.  Ownership of buildings, larger size of buildings, and lighting payback constitute 3 of the 5 significant variables in the model, but they have the opposite sign that would have been predicted by the literature.  This undermines confidence in the model results, and is likely related to the insufficient nonparticipant  sample size (~185) for this type of modeling, which was under the control of the utility.

- The process load impacts in this study were very substantial, but the method used to determine the NTG was not complete or compelling.  Page 5-13 says simply that because there were no adoptions of process measures in the nonparticipant sample, no efficiency choice model could be estimated, so a simple “difference of differences” approach was used for this end-use.  The fact that the nonparticipant sample was too small to pick up rare events needed to do choice modeling is a factor under the control of the utility.  In addition, the lack of a clear explanation in the Study of what was done to calculate the NTG ratio for the process measures that accounted for almost 22% of the energy load impacts was a serious shortcoming of the Study.

- A further lack of detail in the Study that leads to low confidence in the results presented is the lack of explanation for why the gross kW load impacts of the process measures were claimed to be 8 times the ex ante expectations.  The only explanation given (on page 4-18) was that “This is the result of relatively conservative assumptions used by SCE in estimating process savings.”  This non-specific explanation is not helped by the detailed description in Appendix D (pages D-10 and D-11) of why the evaluation estimates of kWh impacts for the same process measure sites were different from those of SCE’s ex ante estimates.   Demand load impacts do not necessarily track energy load impacts, but as noted below, they are not unrelated.

- For site # 15, there was no change in the hours of operation, but a 4500 hp motor was installed in place of a 3000 hp motor, surely increasing peak load.

- Site 66M2 analysis indicated that the ex ante estimates of energy and demand were about 64% higher than the bills and on-site evaluation audit could justify.

- Site 491 showed almost no difference in operating loads with and without the retrofit, and despite the decision of RER to give SCE “the benefit of the doubt,” and a 57% realization rate, there was indication of a large understatement of ex ante demand savings.

- Site  784 for which the evaluators found larger than ex ante expectations of kWh load impacts were due to finding that the system operated six days a week instead of five.  However,  the sixth day – most likely a Saturday or Sunday -- was unlikely to add load impacts to a peak demand period.

- This leaves only two sites with kWh realization rates of 125% and 115% which may have contributed additional kW impacts too, but not enough to add to an overall 8.2184 realization rate.

- There were other times when too little detail was provided.  On p. 4-7, and elsewhere, the authors reference 1,200 billing observations from “included” sites that were “excluded” from the modeling.  Since the model is based on pre and post program consumption, it is not clear how the lack of valid observations (or the rules for determining which were anomalous observations) was handled in the modeling.

- In addition to negative concerns about the quality of the results, there were two notable instances of situations in which the Company may have not been getting full credit for the peak (kW) impacts.

- The approach to adjusting demand load impacts may be too conservative for the lighting and HVAC end-uses.  Using the results of the SAE modeling to reduce the demand impacts proportionately (p. 4-7) may be reducing credit for peak impacts based on reduced hours of operation, which are usually hours on the shoulders and off-peak, not in the heart of the day.  This may be a cost of failure to invest in substantial end-use metering to identify in a sufficiently large sample when the energy use was occurring.

- In addition, the authors state on page 4-7 that they assumed a zero demand impact for EMS.  While not available to the Study’s authors at the time the analysis was done, the CADMAC Persistence Subcommittee report on performance persistence examined billing histories of forty sites that had received EMS installations.  The authors of that study found that billing demand reduction was “clearly present.”  And  “While billing kW may not be the same as system peak kW, they are generally related.” (Proctor, p. 7-1.)

- CONFORMITY WITH THE PROTOCOLS

Measurement Protocols.  The study, with multiple exceptions, is in general conformity to the Protocols of Table C-4 and Table 5, but appears to be out of conformity with Table C-9 on the NTG for miscellaneous end-uses..

Tables 6 and 7 Reporting Protocols.   The Study is in conformity with the requirements for Table 6 and Table 7.

- Summary Recommendation:

The importance of this ex post evaluation study requires a Verification Report.  The Verification Report should result in a careful scrutiny of the efficiency choice model for lighting, and should adjust the NTG for the miscellaneous measures.  In addition, because of (1) the Study’s failure to follow the QAGs for sampling and the definition of a comparable comparison group, (2) the Company’s lack of commitment of resources sufficient to obtain sample sizes to support the metering and statistical analysis, and (3) the lack of explanation for important results in the text of the report, ORA might consider that a lot of unnecessary uncertainty remains with the load impact claims of this Study.  Since the ratepayers should not be asked to bear the risk of the uncertainty that was under the control of the utility, ORA might be justified in seeking a 10% reduction in shareholder earnings to protect the ratepayers from the potential overestimates of impacts.

## ATTACHMENTS

# Attachment A:  Data Request

Sent:	Sunday, May 09, 1999 4:28 PM

To:	'brownmv@sce.com'

Cc:	'Thomas Light'; 'landryph@sce.com'; 'Scott Logan'

Subject:	Data Request on PY97 Study 567 -- CEEI

There are a few issues that arose in my preliminary review of this Study (567) that may be clarified with further information.  I’d rather see the answers now when I can use them constructively and, like last year, avoid later disputes.

- Sometimes too little detail is provided.  On p. 4-7, and elsewhere, the authors reference 1,200 billing observations from “included” sites that were “excluded” from the modeling.  Since the model is based on annual pre and post program consumption, it is not clear how the lack of valid observations (or the rules for determining which were anomalous observations) was handled in the modeling.

- The process load impacts in this study were very substantial, but the method used to determine the NTG is not compelling.  Page 5-13 says simply that because there were no adoptions of process measures in the nonparticipant sample, no efficiency choice model could be estimated, so a simple “difference of differences” approach was used for this end-use.  While the Protocols accept a “difference of differences” approach in Table 5, there is an assumption that the participants and nonparticipants have been matched.  Process measure opportunities are not available to all commercial buildings in the commercial sector.  Clearly none were undertaken by any of the 200 nonparticipants.  Therefore, the difference of differences approach may not be appropriate for a single end-use within a small sample with buildings selected.  Could you explain who and what was compared to whom and what in the difference of differences approach referenced here?

- When the E Tables were filed for the ex ante program estimates of load impacts, it was apparently not foreseen that the pumping and refrigeration end-uses would end up being considered “miscellaneous” measures.  In the ex post analysis, these two end uses represent less than the 15% threshold of impacts to be analyzed as stand-alone end-uses.  The authors correctly referenced Table C-9 and pointed out that for miscellaneous measures/end-uses, the accepted ex ante estimates in the first earnings claim were to be used.  However, they neglected to note that the default NTG ratio for miscellaneous measures in Table C-9 is 0.75, unless there is a rationale or documentation that would support the use of an alternative.  Does the Company have a basis for not using the default NTG, or was this merely an oversight by the evaluation contractor?

Attachment B:  Reply

- Question No. 1:

Sometimes too little detail is provided.  On p. 4-7, and elsewhere, the author’s reference 1,200 billing observations from "included" sites that were "excluded" from the modeling. Since the model is based on annual pre- and post-program consumption, it is not clear how the lack of valid observations (or the rules for determining which were anomalous observations) was handled in the modeling.

- Response To Question No. 1:

It is first worth noting that the model used in the analysis is not based on annual pre- and post-program consumption.  Rather, the model is a twelve-month change form model that is based on monthly observations.  This modeling approach is documented in the report on pages 4-1 to 4-7.  It allows the inclusion of sites with partial pre- or post-retrofit histories in the estimation database.  (Variations in weather are accounted for through the conversion of savings estimates into monthly values with seasonal variations.)

If our explanation of data attrition was lacking, we apologize for the confusion.  It is easy to get so involved with a dataset that one takes some things for granted.  A quick synopsis on how and why the 1,200 or so observations were set equal to missing should prove useful.  The following four factors account for the attrition in question:

Calendarization of Consumption Data.  The database was constructed using calendar months as the unit of observation (This was done because program data were referenced to calendar months).  Insofar as billing data were provided in billing cycle form, it was necessary to convert billing cycle consumption to calendar month consumption.  Each billing month consumption level was defined as the weighted average of the billing cycles it contained.  This process caused the first and last billing cycle observation to be lost.  This accounted for roughly 910 of the missing observations.

Weather Unavailability.  For some sites, consumption data were provided past September 1998.  Since weather data were available only through September 1998, these data were unusable.  Approximately 140 observations were omitted for this reason.

Changes of Occupancy.  For several sites, changes in occupancy appeared to have occurred during the sample period.  These changes were identified through inspection of account-level consumption histories, and were evidenced by changes in account numbers and often with a break in service.  If the change in occupancy occurred near the beginning of the sample period, the observations prior to the change were set equal to missing.  If the change in occupancy occurred near the end of the sample period, the observations after to the change were set equal to missing.  This factor accounted for roughly 50-70 observations being set equal to missing.

Unexplained Major Changes in Consumption.  For several accounts (both participants and nonparticipants), the billing data exhibited large unexplained discrete steps.  We attempted to ascertain the reasons for these steps by discussing changes at the site with the auditor and, in some cases, with the relevant  site representative.  When no potential explanation could be ascertained, at least part of the series was set equal to missing.  If the change occurred near the beginning of the sample period, the observations prior to the change were set equal to missing.  If the change occurred near the end of the sample period, the observations after to the change were set equal to missing.  This factor accounted for the rest of the missing observations.

- Question No. 2:

The process load impacts in this study were very substantial, but the method used to determine the NTG is not compelling.  Page 5-13 says simply that because there were no adoptions of process measures in the nonparticipant sample, no efficiency choice model could be estimated, so a simple "difference of differences" approach was used for this end-use. While the Protocols accept a "difference of differences" approach in Table 5, there is an assumption that the participants and nonparticipants have been matched.  Process measure opportunities are not available to all commercial buildings in the commercial sector.  Clearly none were undertaken by any of the 200 nonparticipants.  Therefore, the difference of differences approach may not be appropriate for a single end use within a small sample with buildings selected.  Could you explain who and what was compared to whom and what in the difference of differences approach referenced here?

- Response To Question No. 2:

A key element of the application of the simple difference-of-differences approach for net-to-gross analysis is to select a sample of non-participants that match participants in the opportunity to install a particular measure.  It does not mean nor does it require that the non-participant sample include sites that have installed the particular measure.  The matching of participants and non-participants was accomplished by stratifying by building type.  In particular, non-participants were selected in the same proportion as participants by building type (see Table 2-2 and Table 2-8).  Insofar as the building type stratification matches participants and non-participants in the opportunity to install process measures, we feel the simple difference-of-differences approach is justified.

Of course, one could question whether matching building type distributions through sample design is enough, insofar as these building types are fairly general.  While building type is the only functional variable that can be used for stratification, we would nonetheless hope that the distribution of more specific business functions (or end-use mixes) would be similar between the two samples.  This point is investigated below.

Table 1 describes the types of process sites included in the participant sample and provides information on the process measures installed at these sites.  As shown, five of these sites fall into the miscellaneous building category, while one is a hotel and one is a warehouse.  Of course, while the participant sample includes similar numbers of miscellaneous buildings, warehouses and hotels as the non-participant sample, the question is whether or not the non-participant sample contained comparable sites with comparable process end uses.

Table 2 organizes participating process sites into general types, and identifies comparable non-participant sites.   We find the following:

While we do not have a non-participating metal recycling warehouse, we do have a welding facility and two warehouses with significant process loads relating to moving merchandise.

The non-participant sample contains a pumping station that at least roughly matches the three pumping facilities in the participant sample.

The two participating manufacturing plants are matched by a food processing plant and a manufacturer of fiber channel products, both of which have significant process loads.

The one participating hotel that installed a process measure is matched by seven non-participant hotels.

It would obviously be unreasonable to expect the participant and non-participant samples to contain exactly matching business types and functions (even with matching building category distributions); nonetheless, the evidence shown in Table 2 suggests that there were comparable types of sites with similar process loads.  These sites had similar opportunities for process retrofits, even though they did not take advantage of them.   As stated in the report (page 5-13), this approach yields a net-to-gross ratio of one for the process end use.

- Table 1.  SCE CEEI Process Sites in Participant Sample

| Site | Equipment | What was done | Bldg Code | Type of Business |
| --- | --- | --- | --- | --- |
| 15 | (1) 4500-hp motor for shredding metal | Replaced (1) 3000-hp motor | warehouse | Scrap metal recycling |
| 162 | (2) 1250-hp motors for pumping crude oil | Trimmed impellers; “destaged” | misc. | Pumping station |
| 491 | (2) 40-hp motors on filler line | Added ASD | misc. | Soft drink bottling plant |
| 66M1 | (3) 2000-hp motors used for pumping | Replaced motors | misc. | Pipeline co. |
| 66M2 | (3) 3500-hp motors used for pumping | Replaced motors; added ASD | misc. | Pipeline co. |
| 784 | (14) 100-hp, (12) 60-hp motors for injecting | Added ASD | misc. | Manufactures plastics |
| 855 | (1) 275-hp motor for supply fan | EMS | hotel | hotel |

- Table 2.  Similar Process Sites in Non-participant Sample

| Parti-cipant Sites | Type of Business | Non-Participant Sites | Type of Business |
| --- | --- | --- | --- |
| 15 | Scrap Metal Recycling Warehouse | N582 N136 N622 | Welding Facility Distribution Warehouse Refrigerated Warehouse |
| 162 66M1 66M2 | Pumping Station Pipeline Co. Pipeline Co. | N578 | Oil well pumping |
| 491 784 | Soft Drink Bottling Plant Plastics Manufacturer | N032 N590 | Food Processing Plant Fiber Channel Products Mfr. Plan |
| 855 | Hotel | N530 N531 N539 N540 N548 N551 | Hotel Hotel Hotel Hotel Hotel Hotel |

- Question No. 3:

When the E Tables were filed for the ex ante program estimates of load impacts, it was apparently not foreseen that the pumping and refrigeration end-uses would end up being considered "miscellaneous" measures.  In the ex post analysis, these two end uses represent less than the 15% threshold of impacts to be analyzed as stand-alone end-uses.  The authors correctly referenced Table C-9 and pointed out that for miscellaneous measures/end-uses, the accepted ex ante estimates in the first earnings claim were to be used.  However, they neglected to note that the default NTG ratio for miscellaneous measures in Table C-9 is 0.75, unless there is a rationale or documentation that would support the use of an alternative. Does the Company have a basis for not using the default NTG, or was this merely an oversight by the evaluation contractor?

- Response To Question No. 3:

The use of a net-to-gross ratio equal to 0.80 for both the refrigeration and pumping end-uses was not an oversight by the evaluation contractor.  As noted in the study report # 567, since no analysis was conducted on these two end -uses, SCE’s net-to-gross estimates (from Table C of the PY 1997 First Year Earnings Claim) were used for these two end-uses.  However, we acknowledge that the source of these two numbers is unidentifiable at this point.  Hence, we would like to take this opportunity to correct these estimates based on the latest available approved study estimates. We propose the following:

- For Refrigeration

Current net-to-gross ratio  = 0.80 	change to 	net-to-gross ratio = 1.00

Justification:	End use studied and net-to-gross ratio estimated in SCE Study # 541

- For Pumping

Current net-to-gross ratio = 0.80       change to	net-to-gross ratio = 0.75

Justification:	We do not have an available SCE study on the pumping end use for commercial application and no identifiable source for the net-to-gross ratio estimate equal to 0.80 as used in Table C, PY97 First Year Earnings Claim.  Hence, we revert back to the default value of 0.75 per Protocol Table C-9

Prepared By:		Shahana Samiullah

CEEI Evaluation Project Manager

Measurement & Evaluation Group

Attachment C:  Follow-up Data Request

Sent:	Wednesday, June 23, 1999 10:51 PM

To:	'Samiullah, Shahana '

Cc:	'Brown, Marian V'; 'Berlin, Greg F'; 'Thomas Light'

Subject:	RE: Data Request on PY97 Study 567 -- CEEI

I understand problems with small errors in E-mail addresses. ECONW did not notice that I could not have received the requested info because the address was off by only one letter.

The fact that I am not addressing follow-up questions to the responses to my first and third questions should not be interpreted to imply agreement or acquiescence to the responses provided.  I will review the modeling again on pages 4-1 to 4-7, but I believe that Table C-14 requires a minimum number of months in the pre and post consumption periods, and that these have always been interpreted to be continuous months not just a mix of months varying over a longer time period.

Follow-up to question #2: “The term “difference of differences” is usually used to describe a billing data analysis of load impacts (Table 5, B, 3).  However, in both Table 5,B,2 and under the “Estimation of Net Energy Impacts”  in Appendix A (p. A5) of the Protocols, “difference of differences” is referenced as an acceptable LIRM, that reflects not consumption, but modeled decision processes of participants and nonparticipants.  Nevertheless, these are expected to be statistical models and to include test statistics and diagnostics, and should include a model specification that uses compatible econometric and statistical techniques.  Given that the reference to “difference of differences” as the NTG technique noted in my related question of May 9th is so cursory, could you direct us to anyplace in Study 567 that lays out the statistical model and diagnostics used in this NTG analysis of these very important process load impacts?”

-----Original Message-----

From:	Samiullah, Shahana  [mailto:SAMIULS@sce.com]

Sent:	Wednesday, June 23, 1999 11:50 AM

To:	'keatingk@msn.com'

Cc:	Brown, Marian V; Berlin, Greg Subject:	FW: Data Request on PY97 Study 567 -- CEEI

<< File: Reply567DR1.doc >> Hi Ken -- I was surprised to learn that you never received our response to

data request number 1 date May 9th, which I e-mailed on May 13th as you can

see below. I did not know that I had inadvertently used an incorrect e-mail

address for you until now, as I look back at my e-mail note response to you

with Scott Logan and Tom Light also copied on.

I apologize for any inconvenience this might have caused in your review

process. Please let me know if you have any further questions on this.

Thanks!

ATTACHMENT D:  Explanation of “Difference of Differences” Justification from SCE/RER

SOUTHERN CALIFORNIA EDISON COMPANY

1999 ANNUAL EARNINGS ASSESSMENT PROCEEDING

Study 567: 1997 Commercial Energy Efficiency Incentive Program

Data Request No. ORA-2

K. Keating, Consultant to Office of Ratepayer Advocates, CPUC

Dated 06/23/99

- Question No. 1:

Follow-up to question #2(ORA-1): "The term "difference of differences" is usually used to describe a billing data analysis of load impacts (Table 5, B, 3).

However, in both Table 5,B,2 and under the "Estimation of Net Energy

Impacts"  in Appendix A (p. A5) of the Protocols, "difference of

differences" is referenced as an acceptable LIRM, that reflects not

consumption, but modeled decision processes of participants and

nonparticipants.  Nevertheless, these are expected to be statistical models

and to include test statistics and diagnostics, and should include a model

specification that uses compatible econometric and statistical techniques.

Given that the reference to "difference of differences" as the NTG technique

noted in my related question of May 9th is so cursory, could you direct us

to anyplace in Study 567 that lays out the statistical model and diagnostics

used in this NTG analysis of these very important process load impacts?"

- Response To Question No. 1:

As we understand it, Dr. Keating is questioning the methodology used to develop a net-to-gross ratio for process savings.  Our March 1, 1999 report (p. 5-13) indicates that we used a statistical modeling approach for all HVAC and lighting savings, but that a simple difference of differences approach was used for process savings.  A modeling approach would not have been appropriate for the process end use because no installations of process measures were found in the sample of nonparticipants.  Modeling techniques are typically used to control for participant/nonparticipant differences and to mitigate self selection bias in the estimation of differences in adoption activity between these two groups.  When nonparticipants exhibit no adoption activity, modeling is a trivial and meaningless exercise.  (Indeed, estimating a discrete choice model would be mechanically impossible, given that adoptions would be zero for all nonparticipants.  Estimating an efficiency model would have yielded a meaningless estimate of net savings.)

While Dr. Keating does not seem to object to the use of a simple difference of differences approach per se, he does seem to suggest that our approach fails to satisfy the Protocol requirements for this approach.  He suggests that “in both Table 5.B.2 and Appendix A (p. A5) of the Protocols, ‘difference of differences’ is referenced as an acceptable LIRM, that reflects not consumption, but modeled decision processes for participants and nonparticipants.  Nevertheless, these are expected to be statistical models….”  We disagree with Dr. Keating’s interpretation of the passages to which he refers.  Paragraph 5.B.2 discusses statistical modeling approaches, not the difference of differences approach.  The difference of differences approach is discussed in Section 5.B.3, and is cast in very general terms to include methods other than statistical modeling.  The reference in Appendix A simply states that “the estimation of net energy impacts can (our emphasis) also involve the use of a statistical model…”  It does not say that statistical modeling is the only acceptable means of estimating net impacts.

We have taken a very simple approach in response to the fact that no sampled nonparticipants engaged in retrofits of process end uses.  Our approach is straightforward.  We define the net-to-gross ratio as:

Net−to−Gross Ratio=Participant (Gross) Impacts−Nonparticipant (Gross) ImpactsParticipant (Gross)Impacts

where Participant (Gross) Impacts were defined as the adjusted gross savings taken from the results of the Statistically Adjusted Engineering Approach described in detail on pp. 4-2 through 4-19 of the March 1, 1999 report, and Nonparticipant (Gross) Impacts were set equal to zero because of the lack of adoption activity by nonparticipants.  Note that the net-to-gross ratio is trivially equal to 1.0 as long as nonparticipants adopt no process measures.

There are, of course, several questions that could be raised with respect to the final estimate of the process net-to-gross ratio.  We pose two questions that have been raised in elsewhere by Dr. Keating and offer responses:

Did the sample of nonparticipants mirror the sample of participants with respect to the opportunities for process retrofits?  As explained in our May 13 response to earlier questions, we stratified the nonparticipant sample to reflect the building category distribution of our participant sample.  As also demonstrated in the same e-mail, this resulted in a reasonably good match in process end uses represented in the two samples.

Would a much larger sample of nonparticipants have revealed some process adoptions?  Maybe.  It is reasonable to assume that some nonparticipant somewhere in the SCE service area engaged in a retrofit of a process measure during the period in question, and perhaps a much larger sample would have included one or more of these adopters.  However, the study followed an acceptable sample design for the nonparticipant survey.  It is understood that adoption rates derived from samples are estimates, not population counts.  Given the design of the nonparticipant sample, it is reasonable to use the estimated retrofit rate from the sample. When it is all said and done, there is little doubt that the nonparticipant process retrofit rate is very low, and that, even with a much larger sample than required by the Protocols, the net-to-gross ratio based on any difference of differences or modeling approach would be very close to 1.0.

In closing, we would like to point out that we used the same difference of differences approach to develop net-to-gross ratios for all end uses in our evaluation of SCE’s 1996 CEEI Program.  Dr. Keating reviewed that study and raised no questions about the methodology used to estimate net savings.  We switched to the use of statistical modeling approaches where feasible this year because of the general preference for such modeling approaches.

- Prepared By:		Shahana Samiullah

CEEI Evaluation Project Manager

Measurement & Evaluation Group

.

In the Company’s response to question B the first data request (Attachments A&B), the Company changed the NTG ratio claims to be 1.0 for refrigeration and 0.75 for pumping.

Neither the participant sample, sometimes called an attempted population (which it wasn’t, with only 334 targeted out of 731 “non-LED only” sites), nor the nonparticipant sample size was described as being based on the precision requirements of Table 5.  In fact, the sample sizes chosen were arbitrary.

See attachments A, B, C and D  for the data requests and responses which address some of this issue.

Although the Verification Report may look at the impact of “calendarizing” monthly bills as opposed to using actual billing cycles, most of the concerns were addressed in Attachment B, response to data request question 1.

Proctor Engineering Group, 1999.  “Persistence 3A: An assessment of the technical degradation factors: Commercial air conditioners and energy management systems, Final Report”  CADMAC report # 2028P, February 25, 1999.

More details in the form of flow charts and dataset descriptions appear in Section 2 of the Report.