Verification  Report - 1999 AEAP

ECONorthwest

888 SW Fifth Ave. - Suite 1460

Portland, Oregon 97204

(503) 222-6060

(503) 222-1504 (fax)

San Diego Gas & Electric - Study ID 1025

1997 Commercial Energy Efficiency Incentives Program - First Year Load Impact Evaluation

Table of Contents

.
.
.
.
.
.
.
.
.

Introduction and Executive Summary	1

Programs Studied	2

Methodologies	3

Summary of Findings	4

Recommendation to ORA	4

Data and Documentation Quality	5

Data	5

Documentation	5

Replication and Analysis	5

Review of Dataflow and Analytic Approach(es)	6

Replication Efforts	8

Review of Database Development	8

Review of Analysis Procedures	8

Modifications to Database and Analytical Procedures	9

Database Modification	9

Analysis Modifications	10

Recommended Changes to Filing Parameters	10

Appendix A	11

Review Memo	11

Appendix B	21

Email Correspondence	21

Data Request	21

Data Response	22

- SDG&E - Study ID 1025

1997 Commercial Energy Efficiency Incentives

# Introduction and Executive Summary

This report is a Verification Report (VR) of the San Diego Gas & Electric Company’s (SDG&E) study of first year load impacts for its 1997 Commercial Energy Efficiency Incentives (CEEI) program (Study).  The Study was written by SDG&E and XENERGY, Inc.

The VR is organized in five sections.  The first section contains this introduction and the executive summary of our findings, along with a brief description of the programs studied and their methodologies.  Our recommendations for the Office of Ratepayer Advocates (ORA) action is also provided within.  Section two discusses the data and documentation supplied by SDG&E.  The third section reports the efforts in replicating the data flow and analytical approaches used by SDG&E.  The fourth section details our modifications to the dataflow and analytical procedures.  The final section presents our recommended changes to the filing parameters.  An appendix is included, which contains the Review Memorandum prepared by Ken Keating for this Study as well as any relevant correspondence.

The Study reports first year load impacts for commercial customers who participated in SDG&E’s 1997 Nonresidential Energy Efficiency Incentives Programs.  Two distinct sectors are presented in the Study: (1) Nonmilitary and (2) Military.  This analysis covers two end uses: (1) indoor lighting and (2) space cooling (HVAC).

The analysis techniques employed in the Study are:

- Load Impact Regression Models (LIRM) for nonmilitary indoor lighting and HVAC customers;

- Ex post verification of engineering estimates for military lighting installations.

ECONorthwest’s verification efforts with regard to the Study include:

- Evaluation of the Study, as well as its data and documentation;

- Replication of the databases and statistical findings of the Study;

- Investigation of the effects of alternative and/or corrected model and database specifications;

- Recommendations to ORA.

The purpose of this effort is to verify the robustness of the findings obtained by SDG&E, and the consistency with M&E Protocols relating to this type of study.

## Programs Studied

- Nonmilitary

The Commercial Energy Efficiency Incentives (CEEI) Program is supported through audit programs, energy services representatives and account executives, and provides cost-effective Demand Side Management (DSM) energy savings when existing customers have retrofit opportunities.  There are three main market delivery mechanisms employed by SDG&E for providing incentives for retrofit or replace-on-burnout applications.  Using the utility’s naming conventions, these are: (1) Commercial/Industrial (C/I) Incentives Program; (2) Power to Save Programs; and (3) Commercial Rebate Programs.

C/I Incentives typically target large customers with whom SDG&E’s account executives are involved in assisting with major retrofit applications.  Incentives are offered to customers for the installation of both standard mechanical and complex custom energy efficient measures.  Standard measures (those identified as cost-effective when applied to specific building types), as well as customized measures are offered provided the project meets the program cost-effectiveness tests.

Power to Save offers incentives to customers for the installation of energy efficient lighting and mechanical technologies.  Although this full service strategy focuses on standard and custom lighting applications, and less complex standard and custom mechanical applications for all sizes of commercial and industrial customers, it tends to emphasize medium and small C/I customers.  A customer’s participation begins with an energy audit and recommendations for energy efficient equipment based on audit results.  Their participation is encouraged, by installing cost-effective energy efficient measures and receiving incentive payments for those measures.

Commercial rebates are delivered through retailers/wholesalers who give the Commercial/Industrial/Agricultural customer incentives instantly at the point of purchase.  Rebates are offered for the following measures: (1) high efficiency refrigerators, (2) compact fluorescent lamps, (3) other energy efficient lighting technologies, (4) energy efficient motors, and (5) HVAC measures.

Data were obtained from the following major sources:

- A tracking database, which contains customer specific energy consumption information such as their name, affected square footage, lighting hours of operation, and the data of installation;

- A comparison (non-participant) group, selected from the Customer Master file after the participants were determined;

- Consumption history, obtained from the Customer Master file;

- Data on floor stock, square footage, hours of operation, installation of energy efficient equipment, and occupancy, obtained from on-site audits for the non-participant group;

- Hourly weather data, obtained from NOAA files for the SDG&E climate zones; Maritime, Coastal and Transitional.

- Military

The two main objectives of the review of the Military sector were to (1) evaluate the gross and net load impacts of the measures installed and (2) verify the physical installation of the measures in the tracking system.

SDG&E obtained a retroactive waiver to the M&E Protocols for the evaluation of the energy efficiency measures installed by military customers.  This waiver permits evaluation of all measures installed in military bases under M&E Protocols Table C-5, instead of C-4.  This was to allow for the use of engineering estimates with ex post verification of the assumptions in the engineering model.  XENERGY was contracted by SDG&E to conduct the military study; which will be treated independently for the remainder of this report.

## Methodologies

- Nonmilitary

Load impact regression models (LIRM) were used to determine the load impacts for lighting and HVAC for nonmilitary commercial participants.

The LIRM used for the lighting and HVAC customer study employs a customer-specific, time-series regression technique.  The potential advantage of this technique is that it addresses directly the issue of commercial customer heterogeneity by allowing customer-specific coefficients.  By using a load impact regression with a variable indicating the ex ante impacts for measures that are installed, billing analysis can be used to estimate the gross impacts attributable to the measures.  The coefficient on the dummy variable directly measures the gross impacts attributable to the measure.  By estimating a similar regression for a non-participants comparison group, a “difference-of-differences” approach was used to derive the net load impacts and the NTG ratios for each end-use element.  By using the gross impact estimate and the ex ante impacts data, a realization rate can be calculated as well.

- Military

An ex post verification exercise was conducted by XENERGY, Inc. to confirm ex ante engineering estimates of impacts from lighting measures at military installations.  This objective was accomplished by (1) verifying the physical installation of the measures identified in the program tracking system, (2) gathering data through direct measurement, observations, and interviews with site personnel, and (3) performing simplified engineering analysis of energy impacts based on the data.

This was essentially the last year in a multi-year effort to install energy efficient lighting measures in as many facilities as possible at military bases.  This was termed a “clean-up” year.

## Summary of Findings

Main results of the Study:

- Nonmilitary

- The development of the participant and comparison group databases generally proceeds as per the M&E Protocols.

- There were miscalculations in the average net impacts and net-to-gross ratio, for the lighting end use, that needed to be accounted for and corrected.

- Some clarification was required in order to explain the data attrition process, which was not entirely clear as presented in the Study (refer to Appendix B).

- There were no errors encountered in the development of the analytical databases.

- Military

- XENERGY portion of the Study was well documented and contained no errors in the development of the analytical databases.

Main concerns encountered:

- Nonmilitary

- Generally speaking, the responsiveness of the Utility in dealing with data requests was dramatically improved this year.

- Military

- XENERGY’s portion of the Study remained consistent with that of last years, in that it showed great improvements in all reporting aspects (documentation, data flow, supply of beginning and intermediate databases, etc.).

## Recommendation to ORA

- Nonmilitary

- Despite the discrepancies, the regression model is accepted as per M&E Protocols and the data flow follows it accordingly.  The recommendation is to correct for the miscalculations and accept the adjusted claims.

- Military

- ECONorthwest recommends accepting the claims as filed.

# Data and Documentation Quality

Generally speaking the condition of the actual electronic files and supporting documentation supplied was good.  One CD-Rom was supplied with the Study which contained information (in the form of SAS documents, Excel databases, or light-logger) for both the Military and Nonmilitary sectors; and there was no problem extracting this information.

## Data

- Nonmilitary

Electronic information for the nonmilitary sector was supplied in both Excel and SAS formatted documents.  Specifically, there were 13 SAS programs, 24 unique SAS datasets, and 5 Excel databases.  Of the 24 SAS datasets, 11 of these can be labeled as either front end or  original, while the remaining 15 are all output datasets (i.e. databases produced by running the given code and original databases).

- Military

Various lighting loggers and 3 Excel spreadsheets were provided for the military sector.  There were no problems accessing the given electronic information.

## Documentation

- Nonmilitary

Documentation associated with the electronic information supplied was, in general terms, acceptable.  Within the actual code, the comments and annotations were minimal, but sufficiently followed the model laid out in Section 3 of the Study.

A basic flow chart was presented in the Study.  However, this did not help understand the actual SAS programs supplied, their appropriate order and how they were associated with the SAS datasets provided and the evolution of observations.  There existed little documentation as to the actual programming chronology of the database development.  Also, additional information was needed in order to clarify certain ambiguities in the data attrition process as it was presented in the Study (refer to Appendix B).

- Military

Both the electronically-supplied information and the accompanying documentation were complete and easy to follow; there was no need for additional information requests in order to complete the evaluation.

# Replication and Analysis

The verification efforts of ECONorthwest include review of the analytic approach, replication of databases and statistical procedures and, where appropriate, consideration of the effects of alternative specifications of databases or statistical procedures.

## Review of Dataflow and Analytic Approach(es)

- Nonmilitary

The Study employs a load impact regression model (LIRM) to determine the gross and net load impacts of SDG&E’s indoor lighting and HVAC programs for the nonmilitary measures.  The LIRM used for the lighting and HVAC customer study employs customer-specific, time-series regression technique.  That is, up to 36 monthly observations of billing records are used to characterize the energy consumption of individual commercial customers.  An attempt was made to use all participants, who installed only lighting or only HVAC, in their respective models in order to avoid sampling issues.  This resulted in an attempt to model 1,514 lighting and 71 HVAC installations for participants.  The gross impact of program measures is then detected by associating, statistically, the measures installed by participants with changes in the path of energy consumption displayed by the monthly billing data.  Net impacts are derived by comparing the participant impact with the impact derived by the study of comparison group billing data in a similar, statistical manner.

The LIRM took the form:

kWhit = Xit + Wit + Sit + eit

where kWhit is the monthly energy consumption for customer I, normalized for the length of the billing cycle.  Xit, represents the non-weather/ non-DSM portion of the regression equation.  Wit is the cooling degreehours, which make up the weather-sensitive portion of the model.  And, Sit is the statistical estimate for monthly savings.  Both a trended model and a nontrended model were estimated.  When the absolute value of the t-statistic for the trended term (in the trended model) was less than two, the trended results were rejected in favor of the nontrended results.

After screening for problems in billing data, the ultimate size of the modeled lighting participant sample was 1,514 and the sample size for HVAC was 71.  The nonparticipant sample was 313 for indoor lighting, and 305 for HVAC.  Before accepting the results of the modeling, the analysts screened out any lighting or HVAC participant or nonparticipant whose ratio of the root mean squared error (RMSE) of the regression, divided by the intercept, was greater than 0.15.  This was expected to remove those cases where the regression could not model the buildings with confidence (“regressions simply will not ‘work.’” Page 3-5 of the Study).  There were 321 lighting participants and 11 HVAC participants that failed this RMSE test.  In addition, 54 lighting nonparticipants and 38 HVAC nonparticipants failed the test and were not included in the calculations of the load impacts.  In the end 1,193 participant and 259 nonparticipant models were used to derive the lighting results.  For HVAC there were only 60 participants and 267 nonparticipant models used to estimate load impacts.

The potential advantage of the customer-specific regression technique is that it permits each customer to serve as its own ‘control’ by virtue of the level of consumption observed in periods prior to installation.  This can obviate the need for assembly of detailed, site-specific descriptive data on customers as is otherwise needed if customer consumption is represented by a single mode, with uniform coefficients across all customers.  In essence, the technique employed in this Study relies completely on information in energy consumption paths over time, rather than on a mixture of time-series and cross-section impact approach.  By aggregating the effects measured (in individual equations) for individual customers, it is possible to measure aggregate (and average) impacts, realization rates, net-to-gross ratios and other indicators of interest.

In general, this approach is a sound, and useful approach.  It directly resolves the problem of commercial customer heterogeneity that plagues most load impact studies.

In summary, review of the analytic procedure suggests that a useful LIRM specification was employed.

- Military

The two main objectives were (1) an ex post evaluation of the gross and net load impact of the measures installed under its 1997 Commercial Energy Efficiency Incentives Program in the military sector, and (2) the physical verification of the installed measures identified in the program tracking system.  SDG&E applied for, and was granted a retroactive waiver which allowed the Industrial M&E Protocols (Table C-5) to be applied, in place of the Commercial M&E Protocols, for the purpose of evaluating the load impacts and the net-to-gross ratio of DSM measures installed.  XENERGY was commissioned by SDG&E to conduct this evaluation.

Lighting fixtures and exit signs were the various measures installed.  Ex post load impacts for lighting fixture and exit sign measures were estimated separately, then aggregated to represent the total interior lighting for the CEEI program.  The participants were “stragglers” from a much larger multi-year effort of SDG&E in working with the military bases in their area.

The evaluation of the lighting measures during on-site verification visits were conducted at a sample of buildings, at which time:

- the installation of the measures was verified and quantified;

- lighting loggers were installed and remained in place for a period of time to estimate the hours of operation and/or interviews conducted to verify operating characteristics if logging was not possible; and

- spot measurements of a sample of fixtures were taken to estimate ex post connected watts.

The data collected were used to adjust the ex ante gross kWh impact estimates using a series of adjustment factors for: (1) measure installation, (2) hours of operation, and (3) post-retrofit connected watts.

The resulting gross kWh impacts were then multiplied by the net-to-gross ratio to estimate the net load impacts.  Almost all the load impacts were attributable to T-8s with electronic ballasts (72%) and CFL’s (18%).

## Replication Efforts

Generally speaking, SDG&E’s responsiveness was greatly improved this year, which aided in the replication efforts of ECONorthwest.  However, consistent with the prior years Studies, there remained a deficiency for detailed oriented editing which proved to supply the greatest complications.

### Review of Database Development

- Nonmilitary

- Development of the participant and nonparticipant databases proceeded as per the M&E Protocols, and followed the models as presented in section 3 of the Study.

- The most important problem involved certain ambiguities between the data attrition process as presented in the Study versus that which was presented in the actual SAS code:

- Table 1 and Table 3 consistently reported 2,070 and 112 participants for the lighting and HVAC end use respectively.  The Study then goes on to explain that only 1,607 customers contained signed contracts which were identified to have only indoor lighting or only HVAC installations in the analysis.  This number remains consistent in Table 4, however does not show to have any connection, nor explanation, to Table 5.  Table 5 shows the final pre-regression analytical database to contain 1,587 customers (1,515 and 72 for lighting and HVAC respectively), while Table 7 and Table 8 displays the final analytical databases of 1,514 and 71 customers for lighting and HVAC respectively.  A difference of 1 customer for each end use, without any explanation.  ECONorwest requested clarification on the topic and SDG&E’s response allowed the database development process to continue  (refer to Appendix B).

Military

- Replication efforts for the military sector did not encounter any problems.

### Review of Analysis Procedures

- Nonmilitary

- The analysis proceeded as was described in the Study, and was in general compliance with the M&E Protocols.  However, ex post attrition factors lead to a number of observations not being used in the calculation of the estimated total demand savings, which are mentioned below, and may be cause for concern:

- A 15% root-mean-square-error (RMSE) criterion was applied, by calculating the ratio for each customer by dividing the RMSE of the regression by its intercept.  This, in essence, became the “signal-to-noise” ratio, with SDG&E claiming that this ratio is very likely to be large when a regression simply fails, since inadequacies in the specification of the model for a particular customer will result in excessively large estimated regression errors.

- There were two miscalculations that needed to be accounted for and corrected:

First, table 1 identifies the revised calculations for the net lighting demand designated unit of measurement and the net-to-gross ratio, as presented on page 3-7 of the Study.

Table 1: Reported and Corrected Net Lighting Demand (DUOM) and Net-to-Gross Ratio

Second, the lighting average net load impacts was miscalculated.  The average net load impacts was reported in the Study as the average gross impacts multiplied by the realization rate:

Reported:  1,645.35 x 75.1% = 1,235.66

The average net load impacts should be the average gross impacts multiplied by the net-to-gross ratio:

Corrected: 1,645.35 x 114.7% = 1,887.22

Military

The analysis procedure was straightforward and carried out as the Study states.  No changes are recommended.

# Modifications to Database and Analytical Procedures

## Database Modification

- Nonmilitary

- No database modifications were necessary.

- Military

- No database modifications were necessary.

## Analysis Modifications

- Nonmilitary

- The miscalculations are the only analysis modification necessary.

- Military

- No modifications are recommended for the analysis procedures of the military sector.

# Recommended Changes to Filing Parameters

Table 2: Recommended Changes for Nonmilitary Sector

Table 3: Recommended Changes to Military Sector

# Appendix A

## Review Memo

- MEMO

| To: | Scott Logan, CPUC/ORA |
| --- | --- |
| From: | Kenneth M. Keating, ORA Evaluation Consultant |
| Date: | August 21, 1999 |
| Subject: | Review Memo for SDG&E Study # 1025: CEEI Lighting and HVAC: Non-Military; Military: Lighting End Use |

- REVIEW SUMMARY

1. Utility:  San Diego Gas and Electric                        			Study ID: 1025

Program and PY:  Commercial Energy Efficiency Incentives Program:  PY1997

- End Use(s):  Indoor lighting and HVAC

2.  Utility Study Title:  “1997 Commercial Energy Efficiency Incentives Program:  First Year Load Impact Evaluation”

3. Type of Study:  1st Year Load Impact Study                		 Required by Table 8A: Yes.

- 4. Applicable Protocols: Tables 5, 6, 7, and C-4 (and C-5 for the military sector)

Study Completion:  March 1999 	Required Documentation Received:   Yes

Retroactive Waivers:   Waiver approved on October 21, 1998 permitted the gross and net load impacts of the military sector measures to be calculated in line with Protocol Table C-5 in place of Table C-4.  No waivers requested for the non-military sector.

- 5.  Reported Impact Results:

- Average Annual Gross Load Impacts:  Military

Lighting:  Peak:  35.9225 kW (0.0608 kW per designated unit; 0.1.1039 realization rate).   Energy:  130,474 kWh (0.0479 kWh per designated unit; 0.8692 realization rate).

- Average Annual  Net Load Impacts: Military

Lighting:  Peak:  35.9225 kW (0.0608 kW per designated unit; 1.3618 realization rate).  Energy: 130,474 kWh (0.0479 kWh per designated unit; 1.0741 realization rate)

Net-to-gross ratios:   Military:  1.00 for Peak and Energy.

- Average Annual Gross Load Impacts:  Non-Military

HVAC:  Peak:  33.2909 kW (0.0001 kW per designated unit; 2.215 realization rate).  Energy: 13,085.6 kWh (1.5081 kWh per designated unit; 1.063 realization rate).

Lighting:  Peak:  2.9103 kW (0.0997 kW per designated unit;  0.773 realization rate).  Energy:  1,645.3491 kWh (0.0909 kWh per designated unit;  0.751 realization rate).

Average Annual  Net Load Impacts: Non-Military

HVAC:  Peak:  25.8670 kW (0.0001 kW per designated unit;  1.721 realization rate).  Energy:  13,910 kWh (1.6031 kWh per designated unit;  1.13 realization rate).

Lighting:  Peak:  2.6466 kW (0.0907 kW per designated unit;  0.7029 realization rate).  Energy: 1,235.6572 kWh (0.1043 kWh per designated unit; 0.8614 realization rate).

Net-to-gross ratios:  HVAC: 	0.777 for peak; 		1.063 for energy.

Lighting:  	0.909 for peak;  	1.147 for energy.

- 7.  Review Findings:

- Conformity with Protocols:  The study is in apparently in conformity with the protocols.

- Acceptability of Study results: This very important study clearly needs a Verification Report, because issues buried in the analysis could lead to substantial changes to the kW and kWh impacts.

Recommendations:   The Verification Report should change the net load impacts for non-military lighting peak load impacts, including the realization rate, in the E-3 Table.  In addition, assuming that the recalculation of the average net load impacts for non-military lighting (as found in footnote 3 of this Review Memo) requires a recalculation of the net benefits and the shareholder incentives associated with this program, the verification report should adjust the E-3 Tables.  Pending the identification of additional issues in the Verification process, other claims made in Table 6 should be accepted.

- OVERVIEW

The Commercial Energy Efficiency Incentives Program is a shared savings program for purposes of shareholder incentives.  As such, the actual ex post evaluation results from the first year load impact study are important to the calculation of that shareholder incentive.  Approximately 64% of the Company’s claimed net benefits for all shared saving programs are based on the CEEI study.  Thus, $6.2 million dollars in shareholder incentives are at stake in this load impact study. Study results, therefore, will be carefully reviewed through a Review Memo and replicated with a Verification Report.

- REPORTED IMPACT RESULTS:

As reported in Table 6:

- Average Annual Gross Load Impacts:  Military

Lighting:  Peak:  35.9225 kW (0.0608 kW per designated unit; 0.1.1039 realization rate).   Energy:  130,474 kWh (0.0479 kWh per designated unit; 0.8692 realization rate).

- Average Annual  Net Load Impacts: Military

Lighting:  Peak:  35.9225 kW (0.0608 kW per designated unit; 1.3618 realization rate).  Energy: 130,474 kWh (0.0479 kWh per designated unit; 1.0741 realization rate)

Net-to-gross ratios:   Military:  1.00 for Peak and Energy.

- Average Annual Gross Load Impacts:  Non-Military

HVAC:  Peak:  33.2909 kW (0.0001 kW per designated unit; 2.215 realization rate).  Energy: 13,085.6 kWh (1.5081 kWh per designated unit; 1.063 realization rate).

Lighting:  Peak:  2.9103 kW (0.0997 kW per designated unit;  0.773 realization rate).  Energy:  1,645.3491 kWh (0.0909 kWh per designated unit;  0.751 realization rate).

Average Annual  Net Load Impacts: Non-Military

HVAC:  Peak:  25.8670 kW (0.0001 kW per designated unit;  1.721 realization rate).  Energy:  13,910 kWh (1.6031 kWh per designated unit;  1.13 realization rate).

Lighting:  Peak:  2.6466 kW (0.0907 kW per designated unit;  0.7029 realization rate).  Energy: 1,235.6572 kWh (0.1043 kWh per designated unit; 0.8614 realization rate).

Net-to-gross ratios:  HVAC: 		0.777 for peak; 		1.063 for energy.

Lighting:  	0.909 for peak;  		1.147 for energy.

- ASSESSMENT OF STUDY METHODOLOGY AND RESULTS

Non-military:  The basic approach employed in the study for non-military installations was a Load Impact Regression Model (LIRM) [monthly site-specific regression modeling] of participants and nonparticipants, with the lighting participants and HVAC participants modeled separately.   A “difference of differences” approach was used to estimate the net load impacts and the NTG ratios for each end-use element.   An attempt was made to use all participants, who installed only lighting or only HVAC, in their respective models in order to avoid sampling issues.  This resulted in an attempt to model 1,514 lighting and 71 HVAC installations for participants.  The nonparticipant sample was chosen to reflect the consumption strata (small, medium, and large) and building types of the participants.  On-site surveys were completed on 313 of these nonparticipant commercial customers in order to gather the necessary information for the modeling estimation.  In order to provide parallel models for these nonparticipants, who did not install any measures, an assumption of the mean month of participants’ installations (November 1997 for lighting and September 1997 for HVAC) was selected to represent nonparticipants “installation month.”  In all cases, two models were attempted: a trended model and a non-trended model.  If the t-statistic on the intercept term was less than two, the trended result was replaced for that building by the non-trended coefficient.  In cases where the coefficient of the intercept term had t-statistic over 2.0, the trended term was preferred.

Screening:  After screening for problems in billing data, the ultimate size of the modeled lighting participant sample was 1,514, and the sample size for HVAC was 71.  The nonparticipant sample was 313 for indoor lighting, and 305 for HVAC. Before accepting the results of the modeling, the analysts screened out any lighting or HVAC participant or nonparticipant whose ratio of the root mean squared error (RMSE) of the regression, divided by the intercept, was greater than 0.15.  This was expected to remove those cases where the regressions could not model the buildings with confidence (“regressions simply will not ‘work.’” page 3-5). There were 321 lighting participants and 11 HVAC participants that failed this RMSE test.  In addition, 54 lighting nonparticipants and 38 HVAC nonparticipants failed the test and were not included in the calculations of the load impacts.  In the end 1,193 participant and 259 nonparticipant models were used to derive the lighting results.  For HVAC there were only 60 participants and 267 nonparticipant models used to estimate load impacts.

Military:  Study 1025 estimated load impacts for military lighting retrofits.  The participants were the stragglers from a much larger multi-year effort of SDG&E in working with the military bases in their service area.  The lighting measures were evaluated in a straight-forward engineering approach that used hours of use, time-of-use, and connected load metering on a sample of lighting uses within a stratified sample of buildings.  Almost all the load impacts were attributable to T-8s with electronic ballasts (72%) and CFL’s (18%).

- EVALUATION ISSUES:

- Lack of Explanation of Anomalies

Because the approach used in this study was strictly an econometric approach, the readers can not understand the potential explanations behind some of the reported results.  Examples include:

- participant hours of operation for non-military lighting was almost double the comparison group hours, and the average was over 8,000 hours per year, which appears highly unlikely unless the participant group was very unusual (see Attachment B to this Review Memo, Data request #2).  The response from the Company (Attachment C to this Review Memo) indicated that the hours of operation for participants was based only on the operation of the areas in which the program measures were installed.  Since there was no similar information on the areas affected by measures in the nonparticipants, some differences would be expected from comparing nonparticipant facility hours of operation to measure-specific participant hours of operation.  Nevertheless, average  hours of operation of the measures installed in over 1,000 participant sites should not realistically approach 24 hours a day 365 days a year.

- The gross realization rate for non-military HVAC kW was 2.21, but the gross realization rate for kWh was only 1.06.  The peak load impacts are directly dependent on the methodology used to adjust energy impacts.  The answer may be that the ex ante estimates for demand were grossly in error, but no effort was made to explain the anomaly in the Study. (see Attachment B to this Review Memo, Data Request #2.  The response from the Company (Attachment C to this Review Memo) acknowledges consistent problems with the ex ante demand estimates being almost half the evaluations' ex post estimates for the last three program years.

### Net-to-Gross

The “difference-of differences” approach for the non-military sector is in line with the basic methods of Protocol Table 5, assuming the two analysis data sets are appropriately matched.

For the military sector, the NTG is said to be 1.0, based on self-report survey of the key decision maker for the military.  A detailed interview was documented in last year’s AEAP for PY1996.  Not only does the Study 1025 assert that the NTG is 1.0, but since the 1997 program effort was merely the tying up loose ends of the 1994-1996 program, it is not expected that the motivation would have changed from PY96 to PY97.

- CONFORMITY WITH THE PROTOCOLS

Measurement Protocols.  The study  appears to be  in general conformity to the Protocols of Table C-5 and Table 5.

Tables 6 and 7 Reporting Protocols.  Tables 6 is very confusing, as evidenced by the Attachments to this Review Memo, but Table 7 appears to be appropriately filled out and documented.

- Summary Recommendation:

Pending further issues that might be identified in the Verification process, the recommendation is to make the corrections recommended in footnotes 2 and 3 to this Review Memo and agreed to by the utility in their response to the data requests, and accept the results as otherwise claimed in Table 6.

## ATTACHMENTS

Attachment A:

-----Original Message-----

From:

Sent:	Tuesday, June 22, 1999 10:31 PM

To:	'abesa@sdge.com'; 'gbennett@sdge.com'

Cc:	'Scott Logan'; 'Pozdena'; 'Thomas Light'

Subject:	Data Request on SDGE Study 1025

In order to do a thorough job of reviewing this study, I need to know something about the comparability of the participant and comparison group actually used in the analysis of the non-military CEEI load impacts.   Both populations were large, but only the population comparisons are provided.   Neither the text nor Table 7 indicate (step 1) the comparability of the two groups selected into the sample and (step 2) the comparability of those who were in the analysis dataset before RMSE screening.  Please provide the breakdown by building type and consumption strata at step 1 and step 2 for each sample, with percentages of the total participant (and non-participant) sample in each participant (and nonparticipant) cell.

Attachment B:

# To:  		Joy Yamagata, Sempra

From:  	 Kenneth M. Keating, ORA Evaluation Consultant

Date: 		June 25, 1999

Re:		Data Requests on Study 1025 – CEEI, Non-military and Military

As I have continued my review of Study 1025 and begun to write up the draft Review Memo, I am coming across several issues that are so central to writing a draft that I should ask you to reply to them before I spend a lot of time drafting a Review Memo raising the issues:

1.  Military:

- The text says that the lighting metering “remained in place for a period of time…” (p. 2-3 and that it was “short-term…” (p. 2-14).  Exactly how long was the minimum metering period used to determine total annual hours of operation and percentage of lights on during the SDG&E high-use hours?

- The text says that there were adjustments made to the lighting load impact estimates based on actual metered connected load (post-retrofit), but none of the examples of adjustments provided indicate whether adjustments were made to the CFL connected load to reflect the ballast consumption, nor what that adjustment was.  Could you tell us whether such adjustments were made and the extent of the adjustments?

2.  Non-military:

- Does the Company have any comment or explanation about the fact that the Indoor Lighting Table 6.4.B(?) indicates that the participants average 8,037 hours of operation over 1,193 premises, while the nonparticipants only had 4,578 hours of operation?  These seem like very different samples, and unless it were dominated by 24 hour restaurants, ATMs, and exit signs, the participant hours of lighting operation appears to be non-credible.

- Rather than re-type a large section of the draft Review Memo, I have copied the relevant text and footnotes below that raise at least three other issues, some of which seem to be simple calculation errors.  Please ask the evaluation staff to respond to the issues:

- Average Annual Gross Load Impacts:  Non-Military

HVAC:  Peak:  33.2909 kW (0.0001 kW per designated unit; 2.215 realization rate).  Energy: 13,085.6 kWh (1.5081 kWh per designated unit; 1.063 realization rate).

Lighting:  Peak:  2.9103 kW (0.0997 kW per designated unit;  0.773 realization rate).  Energy:  1,645.3491 kWh (0.0909 kWh per designated unit;  0.751 realization rate).

Average Annual  Net Load Impacts: Non-Military

HVAC:  Peak:  25.8670 kW (0.0001 kW per designated unit;  1.721 realization rate).  Energy:  13,910 kWh (1.6031 kWh per designated unit;  1.13 realization rate).

Lighting:  Peak:  2.6466 kW (0.0907kW per designated unit;  0.7029 realization rate).  Energy: 1,235.6572 kWh (0.1043kWh per designated unit; 0.8614 realization rate).

Net-to-gross ratios:  HVAC: 	0.777 for peak; 		1.063 for energy.

Lighting:  	0.909 for peak;  		1.147 for energy.

Together with the need to see the answer to my data request of 6/23, these issues will hold up the preparation of even a full draft until I know that some of the issues can be resolved, or at least that they will be disputed.

Attachment C:  Response to both data requests.

## San Diego Gas & Electric Company

## Data Requests Numbers 6 and 7

## Data Request Response Number 6 (Dated June 22, 1999)

Question:

In order to do a thorough job of reviewing this study, I need to know something about the comparability of the participant and comparison group actually used in the analysis of the non-military CEEI load impacts.  Both populations were large, but only the population comparisons are provided.  Neither the text nor Table 7 indicate (step 1) the comparability of the two groups selected into the sample and (step 2) the comparability of those who were in the analysis dataset before RMSE screening.  Please provide the breakdown by building type and consumption strata at step 1 and step 2 for each sample, with percentages of the total participant (and non-participant) sample in each participant (and nonparticipant) cell.

| Breakout of Nonparticipant Lighting Sample |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Cumulative |  | Cumulative |  |  |
| SEGMENT |  | STRATA | Frequency | Percent | Frequency |  | Percent |  |  |  |
| COLLEGE | 1) | <=10,000 | 2 | 0.6 | 2 |  | 0.6 |  |  |  |
| COLLEGE | 3) | >40,000 | 4 | 1.3 | 6 |  | 1.9 |  |  |  |
| GROCERY | 1) | <=10,000 | 3 | 0.9 | 9 |  | 2.8 |  |  |  |
| GROCERY | 2) | 10,000-40,000 | 4 | 1.3 | 13 |  | 4.1 |  |  |  |
| GROCERY | 3) | >40,000 | 7 | 2.2 | 20 |  | 6.3 |  |  |  |
| HOSPITAL | 2) | 10,000-40,000 | 1 | 0.3 | 21 |  | 6.6 |  |  |  |
| HOSPITAL | 3) | >40,000 | 3 | 0.9 | 24 |  | 7.5 |  |  |  |
| LODGING | 1) | <=10,000 | 2 | 0.6 | 26 |  | 8.2 |  |  |  |
| LODGING | 2) | 10,000-40,000 | 8 | 2.5 | 34 |  | 10.7 |  |  |  |
| LODGING | 3) | >40,000 | 10 | 3.1 | 44 |  | 13.8 |  |  |  |
| NURSING HOMES | 2) | 10,000-40,000 | 1 | 0.3 | 45 |  | 14.2 |  |  |  |
| NURSING HOMES | 3) | >40,000 | 1 | 0.3 | 46 |  | 14.5 |  |  |  |
| RESTAURANT | 1) | <=10,000 | 19 | 6 | 65 |  | 20.4 |  |  |  |
| RESTAURANT | 2) | 10,000-40,000 | 18 | 5.7 | 83 |  | 26.1 |  |  |  |
| RESTAURANT | 3) | >40,000 | 5 | 1.6 | 88 |  | 27.7 |  |  |  |
| SCHOOL | 1) | <=10,000 | 5 | 1.6 | 93 |  | 29.2 |  |  |  |
| SCHOOL | 2) | 10,000-40,000 | 17 | 5.3 | 110 |  | 34.6 |  |  |  |
| SCHOOL | 3) | >40,000 | 18 | 5.7 | 128 |  | 40.3 |  |  |  |
| RETAIL | 1) | <=10,000 | 12 | 3.8 | 140 |  | 44 |  |  |  |
| RETAIL | 2) | 10,000-40,000 | 13 | 4.1 | 153 |  | 48.1 |  |  |  |
| RETAIL | 3) | >40,000 | 5 | 1.6 | 158 |  | 49.7 |  |  |  |
| OFFICES | 1) | <=10,000 | 36 | 11.3 | 194 |  | 61 |  |  |  |
| OFFICES | 2) | 10,000-40,000 | 29 | 9.1 | 223 |  | 70.1 |  |  |  |
| OFFICES | 3) | >40,000 | 25 | 7.9 | 248 |  | 78 |  |  |  |
| COMMERCIAL BUILDING | 1) | <=10,000 | 24 | 7.5 | 272 |  | 85.5 |  |  |  |
| COMMERCIAL BUILDING | 2) | 10,000-40,000 | 16 | 5 | 288 |  | 90.6 |  |  |  |
| COMMERCIAL BUILDING | 3) | >40,000 | 20 | 6.3 | 308 |  | 96.9 |  |  |  |
| OTHER COMMERCIAL | 1) | <=10,000 | 2 | 0.6 | 310 |  | 97.5 |  |  |  |
| OTHER COMMERCIAL | 2) | 10,000-40,000 | 3 | 0.9 | 313 |  | 98.4 |  |  |  |
| OTHER COMMERCIAL | 3) | >40,000 | 4 | 1.3 | 317 |  | 99.7 |  |  |  |
| OTHER | 2) | 10,000-40,000 | 1 | 0.3 | 318 |  | 100 |  |  |  |

| Breakout of Nonparticipant HVAC Sample |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  | Cumulative |  |  | Cumulative |  |  |  |  |
| SEGMENT | STRATA |  |  |  |  | Frequency |  |  | Percent |  |  | Frequency |  |  | Percent |  |  |  |
| COLLEGE | 1) | <=10,000 |  | 2 |  |  | 0.6 |  |  | 2 |  |  | 0.6 |  |  |  |  |  |
| COLLEGE | 3) | >40,000 |  | 4 |  |  | 1.2 |  |  | 6 |  |  | 1.9 |  |  |  |  |  |
| GROCERY | 1) | <=10,000 |  | 3 |  |  | 0.9 |  |  | 9 |  |  | 2.8 |  |  |  |  |  |
| GROCERY | 2) | 10,000-40,000 |  | 4 |  |  | 1.2 |  |  | 13 |  |  | 4 |  |  |  |  |  |
| GROCERY | 3) | >40,000 |  | 7 |  |  | 2.2 |  |  | 20 |  |  | 6.2 |  |  |  |  |  |
| HOSPITAL | 2) | 10,000-40,000 |  | 1 |  |  | 0.3 |  |  | 21 |  |  | 6.5 |  |  |  |  |  |
| HOSPITAL | 3) | >40,000 |  | 3 |  |  | 0.9 |  |  | 24 |  |  | 7.5 |  |  |  |  |  |
| LODGING | 1) | <=10,000 |  | 2 |  |  | 0.6 |  |  | 26 |  |  | 8.1 |  |  |  |  |  |
| LODGING | 2) | 10,000-40,000 |  | 9 |  |  | 2.8 |  |  | 35 |  |  | 10.9 |  |  |  |  |  |
| LODGING | 3) | >40,000 |  | 11 |  |  | 3.4 |  |  | 46 |  |  | 14.3 |  |  |  |  |  |
| NURSING HOMES | 2) | 10,000-40,000 |  | 1 |  |  | 0.3 |  |  | 47 |  |  | 14.6 |  |  |  |  |  |
| NURSING HOMES | 3) | >40,000 |  | 1 |  |  | 0.3 |  |  | 48 |  |  | 15 |  |  |  |  |  |
| RESTAURANT | 1) | <=10,000 |  | 19 |  |  | 5.9 |  |  | 67 |  |  | 20.9 |  |  |  |  |  |
| RESTAURANT | 2) | 10,000-40,000 |  | 17 |  |  | 5.3 |  |  | 84 |  |  | 26.2 |  |  |  |  |  |
| RESTAURANT | 3) | >40,000 |  | 6 |  |  | 1.9 |  |  | 90 |  |  | 28 |  |  |  |  |  |
| SCHOOL | 1) | <=10,000 |  | 4 |  |  | 1.2 |  |  | 94 |  |  | 29.3 |  |  |  |  |  |
| SCHOOL | 2) | 10,000-40,000 |  | 18 |  |  | 5.6 |  |  | 112 |  |  | 34.9 |  |  |  |  |  |
| SCHOOL | 3) | >40,000 |  | 19 |  |  | 5.9 |  |  | 131 |  |  | 40.8 |  |  |  |  |  |
| RETAIL | 1) | <=10,000 |  | 13 |  |  | 4 |  |  | 144 |  |  | 44.9 |  |  |  |  |  |
| RETAIL | 2) | 10,000-40,000 |  | 13 |  |  | 4 |  |  | 157 |  |  | 48.9 |  |  |  |  |  |
| RETAIL | 3) | >40,000 |  | 5 |  |  | 1.6 |  |  | 162 |  |  | 50.5 |  |  |  |  |  |
| OFFICES | 1) | <=10,000 |  | 34 |  |  | 10.6 |  |  | 196 |  |  | 61.1 |  |  |  |  |  |
| OFFICES | 2) | 10,000-40,000 |  | 28 |  |  | 8.7 |  |  | 224 |  |  | 69.8 |  |  |  |  |  |
| OFFICES | 3) | >40,000 |  | 27 |  |  | 8.4 |  |  | 251 |  |  | 78.2 |  |  |  |  |  |
| COMMERCIAL BUILDING | 1) | <=10,000 |  | 24 |  |  | 7.5 |  |  | 275 |  |  | 85.7 |  |  |  |  |  |
| COMMERCIAL BUILDING | 2) | 10,000-40,000 |  | 15 |  |  | 4.7 |  |  | 290 |  |  | 90.3 |  |  |  |  |  |
| COMMERCIAL BUILDING | 3) | >40,000 |  | 21 |  |  | 6.5 |  |  | 311 |  |  | 96.9 |  |  |  |  |  |
| OTHER COMMERCIAL | 1) | <=10,000 |  | 2 |  |  | 0.6 |  |  | 313 |  |  | 97.5 |  |  |  |  |  |
| OTHER COMMERCIAL | 2) | 10,000-40,000 |  |  | 3 |  |  | 0.9 |  |  | 316 |  |  | 98.4 |  |  |  |  |
| OTHER COMMERCIAL | 3) | >40,000 |  | 5 |  |  | 1.6 |  |  | 321 |  |  | 100 |  |  |  |  |  |

The distribution of the participants is provided in the study on page 2-4.

## Data Request Response Number 7 (Dated June 25, 1999)

Question 1.  Military:

- The text says that the lighting metering “remained in place for a period of time…” (p. 2-3 and that it was “short-term…” (p. 2-14).  Exactly how long was the minimum metering period used to determine total annual hours of operation and percentage of lights on during the SDG&E high-use hours?

- The text says that there were adjustments made to the lighting load impact estimates based on actual metered connected load (post-retrofit), but none of the examples of adjustments provided indicate whether adjustments were made to the CFL connected load to reflect the ballast consumption, nor what that adjustment was.  Could you tell us whether such adjustments were made and the extent of the adjustments?

Question 2.  Non-military:

- Does the Company have any comment or explanation about the fact that the Indoor Lighting Table 6.4.B (?) indicates that the participants average 8,037 hours of operation over 1,193 premises, while the nonparticipants only had 4,578 hours of operation?  These seem like very different samples, and unless it were dominated by 24 hour restaurants, ATMs, and exit signs, the participant hours of lighting operation appears to be non-credible.

- Rather than re-type a large section of the draft Review Memo, I have copied the relevant text and footnotes below that raise at least three other issues, some of which seem to be simple calculation errors.  Please ask the evaluation staff to respond to the issues:

- Average Annual Gross Load Impacts:  Non-Military

HVAC:  Peak:  33.2909 kW (0.0001 kW per designated unit; 2.215 realization rate).  Energy: 13,085.6 kWh (1.5081 kWh per designated unit; 1.063 realization rate).

Lighting:  Peak:  2.9103 kW (0.0997 kW per designated unit;  0.773 realization rate).  Energy:  1,645.3491 kWh (0.0909 kWh per designated unit;  0.751 realization rate).

Average Annual  Net Load Impacts: Non-Military

HVAC:  Peak:  25.8670 kW (0.0001 kW per designated unit;  1.721 realization rate).  Energy:  13,910 kWh (1.6031 kWh per designated unit;  1.13 realization rate).

Lighting:  Peak:  2.6466 kW (0.0907 kW per designated unit;  0.7029 realization rate).  Energy: 1,235.6572 kWh (0.1043 kWh per designated unit; 0.8614 realization rate).

Net-to-gross ratios:  HVAC: 	0.777 for peak; 		1.063 for energy.

Lighting:  	0.909 for peak;  		1.147 for energy.

Together with the need to see the answer to my data request of 6/23, these issues will hold up the preparation of even a full draft until I know that some of the issues can be resolved, or at least that they will be disputed.

SDG&E Response

1.  Military:

- The minimum metering period was 14 days, the maximum was 31 days.  The average metering period was 20.8 days.

- Adjustments for measured connected load for CFLs were made and included into the adjustment factor for each building.  The adjustment factor for CFLs measured ranged from 0.74 to 1.29.

2.  Non-military

- Participant hours-of-operation is heavily influenced by the composition of the measures installed.  The hours-of-operation is the estimate of the average hours for the portion of the facilities with which the measures are associated, but not necessarily for the average whole facility. There is no corresponding measure-based concept for non-participants, and hours are to be interpreted as those for whole facilities.  This is one reason why the designated unit of measure uses the hours-of-operation as a normalizing factor before participant’s and non-participant’s estimates are used jointly in the net calculation.

- Average Annual Gross Load Impacts (Non-Military) Footnote 1.
It is possible to have different realization rates for energy and demand, depending on the system coincident load factor of the end use in question.  A system coincident load factor is defined as the mean demand divided by the demand at system peak.  As stated on pages 3-9 and 3-10 of Study ID 1025, the load research data for 1998 space cooling end use recorder data was 0.53845, or an expectation of roughly twice the energy load impacts at the time of system peak versus an average hour.  While the data request seeks a clarification on the demand realization rate of 221% for 1997, it might be useful to note that it was 197% for 1996 and 225% for 1995.  The ex ante demand load impacts should be doubled for future years.

- DUOM for Net Lighting Demand Impact Footnote 2.
The revised calculation for net lighting demand designated unit of measurement is 0.09974-(-0.00904) = 0.1878.  Therefore, the revised calculation for net-to-gross in lighting is (0.09974+0.00904)/0.09974 = 1.090635653.  SDG&E will file any resulting revisions to its E-Tables in its Response Testimony in the AEAP.

- Lighting Average Net Load Impact Footnote 3.
The AVG NET figure should be the AVG GROSS figure multiplied by the net-to-gross figure (114.7%), which would yield 1887.2154.  The AVG NET figure was  reported in the study as the AVG GROSS figure multiplied by the  realization rate (75.1%).  SDG&E will file any resulting revisions to its E-Tables in its Response Testimony in the AEAP.

- Footnote 4.
See response to footnote 2.

# Appendix B

## Email Correspondence

### Data Request

Subject: Data Request (no. 1025)

Date: Tue, 1 Jun 99 12:12:43 +0100

From: Joshua Faulk <jtfaulk@es.dominios.net>

To: "Athena Besa" <abesa@sdge.com>, "Tom Light" <light@portland.econw.com>,

"Rob Rubin" rrubin@sdge.com

Data Request: Study ID 1025

Hello Rob,

I'm assuming I pose this data request to you; simply because on my first misguided data request you were the person who responded.

I would just like a little clarification on the data attrition which took place in the Nonmilitary Lighting and HVAC - the study seems a little ambiguous.  For example:

page 2-3:  study participants for indoor lighting only is 2,070, however only 1,607 contracts were signed

page 2-4: a break down of participants and nonpart. by study groups (table 4) shows 1,607 participants (in line with the prior page)

page 2-5: table 5; the study group now is 1,902 and 107 for lighting and hvac respectively; which adds up to 2,008 (?) also on this page the report walks through the data attrition steps and arrives at a final study group of 1,515 for lighting

page 3-6: table 7 - the study group for lighting is now 1,514 (1 customer less; without any explanation).

Would it be possible to explain each step of the data attrition process from the start to the final study group for both lighting and hvac nonmilitary (part. and nonpart) - because from the text provided it is not entirely clear.

Please do not hesitate to contact me if you have any questions.  Thank you.

Joshua

### Data Response

Response to Data Request #5:

Utility:  San Diego Gas and Electric

Study ID: 1025

Program and PY:  Commercial Energy Efficiency Incentives Program;  PY97

End Use(s):  Lighting, HVAC.

Utility Study Title:  “1997 Commercial Energy Efficiency Incentives Program:  First Year Load 	Impact Evaluation.  Final Report”

Type of Study:  1st Year Gross and Net Energy Savings Study

Question: I would just like a little clarification on the data attrition which took place in the Nonmilitary Lighting and HVAC - the study seems a little ambiguous.  For example:

page 2-3:  study participants for indoor lighting only is 2,070, however only 1,607 contracts were signed

page 2-4: a break down of participants and nonpart. by study groups (table 4) shows 1,607 participants (in line with the prior page)

page 2-5: table 5; the study group now is 1,902 and 107 for lighting and hvac respectively; which adds up to 2,008 (?) also on this page the report walks through the data attrition steps and arrives at a final study group of 1,515 for lighting

page 3-6: table 7 - the study group for lighting is now 1,514 (1 customer

less; without any explanation).

Would it be possible to explain each step of the data attrition process from the start to the final study group for both lighting and hvac nonmilitary (part. and nonpart) - because from the text provided it is not entirely clear.

Response:  Listed below is a detailed description of the data attrition

Participants

| Explanation of change | Change (lighting) | Resulting Number (lighting) | Change (HVAC) | Resulting Number (HVAC) |
| --- | --- | --- | --- | --- |
| Number of unique measures across participants |  | 2070 |  | 112 |
| Number of participants |  | 1902 |  | 107 |
| Unable to assign kWh consumption to contract | 39 | 1863 |  |  |
| Insufficient pre-installation or post-installation kWh data | 255 | 1608 | 35 | 72 |
| Eliminated due to joint participation with new construction program or aggregated contracts. | 93 | 1515 |  |  |
| Large customer (would have dramatically increased estimated savings). | 1 | 1514 |  |  |

Nonparticipants

Lighting

| Description | Change | Resulting Number (lighting) |
| --- | --- | --- |
| Starting Study Group |  | 350 |
| Special Cases Eliminated (no hours of operation data) | 5 | 345 |
| Insufficient pre-installation or post-installation kWh data | 32 | 313 |

HVAC

| Description | Change | Resulting Number (lighting) |
| --- | --- | --- |
| Starting Study Group |  | 350 |
| Special Cases Eliminated (no square footage data) | 16 | 334 |
| Insufficient pre-installation or post-installation kWh data | 29 | 305 |

So says Table 6.  It isn’t clear why a gross realization rate for energy would be 1.063, but the gross realization rate would be 2.215 for demand.  A very big issue must exist in the ex ante peak estimates.

This appears to be a mistake.  A review of the calculations on the lighting kW on page 3-7 indicates that a sign was reversed (participants decreased consumption, but nonparticipants increased consumption) and the correct net load impact per designated unit should be 0.10878 kW.  In Attachment C to this Review Memo, SDG&E’s response to the Review Memo data requests, the Company agrees that this is an error and will corrected in their AEAP testimony.

This is an indication of a mistake.  If the average gross load impacts and the gross impacts per designated unit are correct, then the net figures are not possible.  The gross average load impact divided by the per unit figure implies about 18,000 designated units, but the same calculation on the net impacts yields only 11,847 designated units.  Since the Study text in Table 7 is calculated in designated units, and the units could not have changed, it must be assumed that the correct net average load impacts should be 1,887.8978 kWh.  In Attachment C to this Review Memo, SDG&E’s response to the Review Memo data requests, the Company agrees that this is an error and will corrected in their AEAP testimony.

See footnote 2.