Verification  Report - 2000 AEAP

ECONorthwest

888 SW Fifth Ave. - Suite 1460

Portland, Oregon 97204

(503) 222-6060

(503) 222-1504 (fax)

Pacific Gas & Electric Company - Study 404C

Evaluation of Pacific Gas & Electric Company’s 1997 Commercial Energy Efficiency Incentives Program for the Process End Use

Table of Contents

.
.
.
.
.
.
.
.
.

Introduction and Executive Summary	1

Programs Studied	1

Retrofit Efficiency Options (REO)	1

Advanced Performance Options Program (“APO”)	2

Methodologies	2

Summary of Findings	2

Recommendations to ORA	3

Data and Documentation Quality	3

Data	3

Documentation	3

Replication and Analysis	3

Analytic Approaches of the Study	3

Engineering Analysis	3

Net-to-Gross Analysis	4

Replication Efforts	4

Review of Dataflow and Analytic Procedures	4

Modifications to Database and Analytical Procedures	5

Recommended Changes to Filing Parameters	5

PG&E – Study 404 C

Commercial Process

# Introduction and Executive Summary

This report is a Verification Report (VR) of the Pacific Gas & Electric Company’s (PG&E) study of gross and net energy impacts from commercial process measures that were paid rebates in 1999 through PG&E’s Commercial Energy Efficiency Incentives (CEEI) Program.  Rebated measures include adjustable speed drive motors, new compressors, efficient pumps and motors, insulation, and controls.  This study was performed by Xenergy, Inc. (Xenergy).

This VR is presented in five sections.  The first section contains this introduction and the executive summary of the findings, along with the recommendations to the Office of Ratepayers Advocates (ORA).  The second section discusses the data and documentation supplied by PG&E to support the Study.  The third section reports the efforts in replicating the data flow and analytical approaches used by PG&E.  The fourth section details our modifications to the analytic procedures presented in the Study.  The final section presents the recommended changes to the filed results.  Additionally, appendices are included which contain relevant electronic correspondences.

The Study reports first-year load impacts for commercial customers who participated in PG&E’s Commercial Energy Efficiency Programs.

ECONorthwest’s verification efforts include:

- Evaluation of the Study, as well as its data and documentation;

- Replication of the databases and statistical findings of the Study;

- Investigation of the effects of alternative and/or corrected model and database specifications.

- Recommendations to the ORA.

- The purpose of this effort is to verify the robustness of the findings obtained by PG&E, and ensure consistence with the M&E Protocols relating to this study.  It should be noted that the results of this study are not being incorporated into earnings claim at this time

## Programs Studied

### Retrofit Efficiency Options (REO)

“This program offered incentives to nonresidential customers who install specific energy efficiency measures not included in PG&E’s other prescriptive rebate program, the Retrofit Express Program.  Cash incentives could range from a minimum of $250 to a maximum of $100,000.”

“The REO Program was designed to provide a prescriptive path for relatively complex measures where energy performance is determined largely by response to variables such as production, weather, and hours of operation.  The REO program was relatively narrow in scope, covering only those items where reasonable simplifying assumptions could be made.  The two commercial process measures rebated during 1998 both involved variable frequency drive (VFD) controls for water pumping motors.”

### Advanced Performance Options Program (“APO”)

“This program offered financial incentives of $125/kW, $0.06/kWh, and $0.20/therm of first-year energy savings to customers undertaking large or complex projects not covered under other PG&E programs.  These customers worked with their PG&E Customer Representative to identify potential viable projects.  PG&E was then responsible for calculating energy savings, which was often accomplished by using energy consultants.  Maximum total incentive amounts for the APO Program were $500,000 per account.  The minimum qualifying incentive amount was $5,000 per project.”

### Methodologies

- The Study estimates gross load impacts for the Commercial process end use using a calibrated engineering analysis, based on a census of 19 projects.  The engineering analysis is supported by on-site data collected at each site and is presented in project specific reports prepared for each site.

- The net-to-gross (NTG) analysis was completed using a self-report approach, with a standard survey and scoring algorithm applied to 17 of the 19 projects in the population.  This standard methodology was supplemented with a “custom” analysis for each large project as well.

- A retroactive waiver was filed and approved for this study.  The waiver allows the methods described in the Protocols, Table C-5 for the industrial end uses to be applied to the Commercial process first year load impact study.

## Summary of Findings

This is a strong study in its documentation and analysis.  The methodologies employed in the analysis were judged to follow measurement protocols set forth by the California Public Utilities Commission (CPUC). The following results summarize the main finding of the Study:

- Overall, net annual savings for the process end use in the Commercial sector is estimated to be 398 kW, 2,467,472 kWh, and 195,032 therms.  Approximately 58% of PG&E’s ex ante net kW savings, 49% of the ex ante kWh savings, and 121% of the ex ante therm savings are being realized.

- Gross realization rates for the process end use in the Commercial sector are 0.695 for kW, 0.577 for kWh, and 1.052 for therms.  The primary reason for differences between the ex ante and ex post gross savings estimates is attributed to different operating conditions than expected.  This was particularly the case with participants in PG&E’s REO Program.

- The ex post NTGR for the process end use is estimated as 0.63 for kW, 0.64 for kWh, and 0.86 for therms.

- significantly lower than the original Study estimates by approximateRecommendations to ORA

ECONorthwest recommends accepting the load impact claims as documented in the Study.

# Data and Documentation Quality

## Data

Files were provided on one compact disks, and no trouble was encountered reading the electronic files.    All of the analysis was performed and presented using Microsoft Excel.  Detailed site write-ups were also included that discuss the engineering calculations and sources of differences between the ex ante and ex post gross savings estimates.  In addition, a detailed write up of the net-to-gross analysis was provided for each site. This is an extremely strong load impact study in terms of its gross load impact analysis, its efforts to understand the differences between ex ante and ex post estimates, and its effort to understand customers motivations for participating the PG&E’s program.

## Documentation

ECONorthwest found that the Study was well documented.  It provided thorough descriptions of methodology and helpful exhibits. Analyses mentioned in the body of the Study were included as appendices.

# Replication and Analysis

The replication effort for this study were confined to confirming claimed savings totals, evaluating the NTG methodology and calculations, and reviewing the overall study methodology.  No technical review of the engineering analysis was performed.

## Analytic Approaches of the Study

The Study utilizes project specific analysis to estimate gross and net impacts for a census of projects.  In all, 19 projects involving 16 customers were analyzed in the Study.

### Engineering Analysis

Gross savings impacts were estimated using an project specific engineering approach, supported when appropriate by short-term metering. Because Title 20/24 standards do not apply to this evaluation, the selection of the base case was not clear cut—that is the base case was not dictated by building codes.  In most cases, the base case was deemed to be the pre-project equipment or system performance, operating under verified post-project operating conditions.

The first step consisted of identifying an hourly load profile for the monitoring period.  Next an independent variable related to the operating profile of a particular measure being studied at a particular site was identified so that impacts could be annualized and aggregated into the PG&E time-of-use periods.  If there is no relationship between the system performance and an annualizing variable, then a simple load-duration profile, average loads, or a production output relationship was used.   Because a census of projects were studied, gross savings equals the sum of the project specific gross impacts.

### Net-to-Gross Analysis

The net-to-gross analysis was completed using a self-report approach, with a standard survey and scoring algorithm applied to 17 of the 19 projects. A net-to-gross analysis was not performed for two of these 19 sites because, in one case, gross impacts were determined to be zero and, in the second case, the decision maker had left the organization. The standard NTG methodology was supplemented with a “custom” analysis of the largest projects.  The algorithm used to estimate the standard NTG ratio incorporates decision makers responses to questions targeting partial and deferred free-ridership.

The custom survey itself was open-ended and involved discussions with decision-makers about the project economics and the role and (after interviews with the vendors) the motivation of vendors.  In cases where the custom NTG analysis were deemed superior, the standard NTG was not used.  A discussion of the NTG calculation for each site is presented in the site reports contained in the appendix to the Study.  For the one project with a non-zero impact that did not receive a NTG analysis, the weighted average NTG ratio was used.

For the process end-use, the load impact-weighted custom NTG ratios were slightly lower than the standard survey approach, but were not substantially different.

## Replication Efforts

All of the utilized data sets and analysis was presented in Excel.  ECONorthwest performed tabulations to ensure that the results presented in the Study match those present in the final data set (Fnldata.xls) provided with the Study.  A review of the analysis prepared for each site in the technical appendix of the Study was performed and cross checked against the final data set from which the Study’s findings are derived. The net-to-gross algorithm used was replicated and reviewed for consistence.  ECONorthwest did not review the engineering calculations supporting the ex post gross savings estimates for each site, but, instead verified that the results of the site-specific engineering analysis were appropriately incorporated into the Study findings.

### Review of Dataflow and Analytic Procedures

The Study paid careful attention to explaining why the ex post results differed from the ex ante estimates.  These differences were both frequent and substantial.

No problems were encountered during the verification of the analyses performed in the Study.

# Modifications to Database and Analytical Procedures

ECONorthwest accepts the analyses as presented in the Study.  No data base or analytical modifications are recommended for the Study.

# Recommended Changes to Filing Parameters

No changes are recommended for the filing parameters.  ECONorthwest advises ORA to accept the results put forth in the Study.

The weighting relied on the ex post kWh, kW, and therm savings for this project.

Very few of the projects had gross realization rates in the 0.70 to 1.30 range, with the majority of the ex post gross savings tending to be less than 70% of ex ante gross savings.