Verification  Report - 2001 AEAP

ECONorthwest

888 SW Fifth Ave. - Suite 1460

Portland, Oregon 97204

(503) 222-6060

(503) 222-1504 (fax)

San Diego Gas & Electric Company – Study No. 1002

Evaluation of San Diego Gas & Electric Company’s 1996 Residential New Construction Program Fourth-Year Retention Study

Table of Contents

Introduction and Executive Summary	1

Measures Studied	2

Methodology	2

Summary of Findings	2

Recommendation to ORA	3

Data and Documentation Quality	3

Data	3

Documentation	3

Replication and Analysis	3

Review of Analytic Approach and Dataflow	3

Review of Database Development	4

Review of Analytic Procedures	4

Modifications to Database and Analytical Procedures	5

Database Modification	5

Analysis Modifications	5

Recommended Changes to Filed EUL Estimates	5

- SDG&E - Study No. 1002

1996 Residential New Construction Program Fourth-Year Retention Study

# Introduction and Executive Summary

This is a Verification Report (VR) of San Diego Gas & Electric Company’s (SDG&E) retention study for energy efficient measures installed through their Residential New Construction Program (RNC) during the 1996 program year (PY96).  The retention study was performed by SDG&E with telephone surveys conducted by CIC Research, Inc.

This VR is presented in five sections.  The first section contains an introduction and summary of the findings, along with recommendations to the Office of Ratepayers Advocates (ORA).  The second section discusses the data and documentation supplied by SDG&E and audit contractors.  The third section details ECONorthwest’s replication and assessment of the analytical procedures used in the study.  The fourth section reports recommended modifications to the dataflow and analytical procedures used in the study.  The final section presents the recommended changes to the filed effective useful life (EUL) calculations for each measure studied.

Based on 58 completed interviews in 1999 and 61 completed interviews in 2000, the study reports estimates of the effective useful life (EUL) for measures using data collected on the fraction of installed measures in place and operable.  The EUL for each measure is calculated by estimating the median number of years that the measure is still in place and operable from modeled survival functions.  Ex post EUL estimates are compared with ex ante estimates at the 80 percent confidence level to calculate realization rates.

ECONorthwest’s verification efforts include:

- evaluation of the study methodology,

- replication of the statistical findings of the study, and

- recommendations to the ORA.

## Measures Studied

The Protocols require that the utilities conduct a retention study of “the top ten measures, excluding measures that have been identified as miscellaneous (per Table C-9), ranked by net resource value or the number of measures that constitutes the first 50% of the estimated resource value, whichever number of measures is less.”  SDG&E’s PY96 RNC Program encompasses three measures—high efficiency air conditioners, high performance glass, and R-19 wall insulation—that were all included in the retention study.

Since all three measures in the RNC Program were included in the retention study, there are no “like” measures.  SDG&E’s ex ante EUL estimates for air conditioning, high performance glass, and R-19 wall insulation are 18, 20, and 20 years, respectively.

## Methodology

The analysis techniques employed in the study consist of collecting measure retention data from program participants and using survival analysis to produce a revised estimate of the effective useful life of energy efficiency measures installed under this program.  The revised EUL estimate (ex post EUL) is then compared to the forecast EUL (ex ante EUL) at the 80 percent confidence level to derive the EUL realization rate.  If this difference is not statistically significant (i.e., the ex ante EUL is bounded by the 80 percent confidence interval), then the forecast estimate is used to calculate resource benefits and earnings in the utility’s third and fourth earnings claims.

## Summary of Findings

SDG&E’s RNC retention study evaluated three energy efficiency measures.  The highlights from ECONorthwest’s verification efforts are:

- No failures were observed for the high performance glass measure.  As a result, survival analysis could not be performed on this measures and no ex post EUL calculations were made.

- Both the air conditioning and wall insulation measures experienced one, independent failure—with failure date known—out of a sample of 26 and 23 measures, respectively.  For both measures, the standard errors and confidence intervals were such that the ex ante EUL estimate could not be rejected.  This is primarily attributed to the relatively short time span between the installation date and the survey date on these measures.  As with most of the fourth year retention studies, little statistical confidence can be placed on the EUL estimates generated in the study because they rely on data from the first few years after installation for measures that are expected to last, based on forecast or ex ante EUL estimates, between 18 and 20 years.

- The utility reports survey response rates of 85 and 77 percent, respectively, in 1999 and 2000.  However, these response rates are based on the number  of “identified participants” in each year and not the total population of installed measures.  As discussed previously, SDG&E was only able to identify addresses for 41 percent of the measures installed.  Therefore, these response rates exaggerate the success of the telephone surveys conducted by CIC Research.

- SDG&E failed to address the potential for partial retention of the wall insulation measure.  At a minimum, the dichotomous failure assumption for this measure could have been verified through a brief followup question in the measure retention survey.

## Recommendation to ORA

ECONorthwest recommends that no adjustments be made to the ex ante EULs for those measures studied.

# Data and Documentation Quality

## Data

Files were provided on one compact disc and ECONorthwest encountered no problems with SDG&E’s data.  Although the retention survey data was not included for review, the results from those surveys were included in the individual measure models.  Given the complexity of the modeling spreadsheets, ECONorthwest opted to focus its verification efforts on those spreadsheets.

## Documentation

The study itself was adequately documented.  Although the description of the methodology was brief, SDG&E included a completed Table 6 that clearly reported the findings of the retention study, and a fully articulated Table 7 that assisted the verification effort.  In addition, the general construction of the individual measure models was identical to those submitted by the utility during the 1999 AEAP; thus, the supplemental documentation previously provided by SDG&E proved to be useful in this year’s verification efforts.

# Replication and Analysis

## Review of Analytic Approach and Dataflow

The primary features of the retention model used to estimate the EUL for energy efficiency measures installed as part of the RNC Program are the specification of a hazard function and its associated survival function, the estimation of the parameters of that survival function using a maximum likelihood estimation methodology, and the estimation of a median expected lifetime.  ECONorthwest reviewed the methodology employed in the retention study, as well as its actual implementation within the spreadsheet models.

### Review of Database Development

ECONorthwest did not review the development of the retention database used for this study.  The results from the retention study surveys (i.e., the retention database), however, were included in the individual measure retention models.  ECONorthwest verified that these survey results matched those reported in Table 7 of the report.

### Review of Analytic Procedures

ECONorthwest reviewed both the general approach of the analysis, as well as the specific implementation of analytical procedures within each of the spreadsheet (Excel) models developed for the three measures included in the retention study.  The general approach of the analysis appears reasonable.  Similar to the retention studies submitted in the 1999 AEAP, the hazard function is again specified as a quadratic function.  ECONorthwest recommended then, and recommends now, that other functional forms be investigated and discussed in future studies.

The study relies on maximum likelihood estimation of the parameter values that are used in the median lifetime calculations for individual measures.  Maximum likelihood estimators (MLEs) are, typically, good estimators, i.e, best linear unbiased estimators.  In addition, the use of the log-likelihood function, as was done in the study, is desirable for many reasons—particularly because the logarithmic function is monotonic  and the estimated parameters are constant. Although there are many computer programs that perform the necessary calculations, the study authors, interestingly, programmed Excel spreadsheets with exponential and linear grid search routines.

In addition to the survival analysis components described above, the study recognized the potential problems that could occur from clustered failures, i.e., measure failures that occur at the same time.  In this regard, the hazard function was respecified and a new, two force survivor function was developed.  In general, the mathematics contained in the report demonstrated a clear understanding of the technical aspects of survival analysis.

As part of verifying that the underlying mathematics were correctly programmed into each measure spreadsheet, ECONorthwest reviewed the linkages, formulae, and macros used to calculate EUL estimates and their associated standard errors.  In addition, ECONorthwest made sure that the quantity and date (if known) of measure failures contained in the spreadsheet model matched those reported in Table 7 of the retention study.  Finally, ECONorthwest ensured that the upper and lower bounds of the confidence interval were correctly calculated in Table 6.

# Modifications to Database and Analytical Procedures

## Database Modification

Since the retention database was not reviewed, no modifications are recommended for the database portion of the retention study.

## Analysis Modifications

The overall approach and specific programming involved in the retention models was sound, thus, ECONorthwest recommends no changes to the analytic elements of this retention study.

# Recommended Changes to Filed EUL Estimates

ECONorthwest recommends that no adjustments be made to the ex ante EUL as documented in the study.

SDG&E offered financial incentives to developers for installing 194 energy efficient measures at 191 locations.  In many cases, however, these locations did not have street addresses or customer names at the time of construction.  Over a two year time period preceeding the retention analysis, SDG&E attempted to match current residents to the limited location data originally recorded in the program tracking system.  By 2000, SDG&E had matched only 79 of the 191 locations, or 41 percent.

“Protocols and Procedures for the Verification of Costs, Benefits, and Shareholder Earnings from Demand-Side Management Programs,” as adopted by California Public Utilities Commission Decision 93-05-063, Revised March 1998.

SDG&E, “1996 Residential New Construction Program Fourth Year Retention Evaluation,”  p. 4.

In addition, this may potentially bias the analysis if measure survival is not similar for the identified and unidentified sites.

For instance, see Knight Research’s measure retention survey for the attic insulation measure installed through SDG&E’s RWRI Program.

The estimated variance, however, is a biased estimator of the actual variance.  Although biased, the estimated variance is consistent.  See Pindyck and Rubinfeld, “Econometric Models and Economic Forecasts,” pg. 71.

Modeling in Excel denied the authors the alternative of using more advanced statistical techniques available in, for instance, SAS.  In the case of left hand censoring that arises when the failure date of the measure is unknown and is, rather arbitrarily, set as the month of the survey, SDG&E and its consultant were unable to rely on the LIFEREG and PHREG procedures in SAS.

As part of the verification effort during the 1999 AEAP, the study author submitted a more detailed exposition of the underlying mathematics.  Again, because the models in the 1999 and 2001 AEAPs are similarly constructed, this documentation proved quite useful in this current verification.