On-Site Verification Report for SCE’s Standard Performance Contracting Program

# Introduction

This report summarizes the results of 4 days of on-site inspections conducted by ORA staff and its consultants of customers included in SCE’s large SPC program.  The primary purpose of these inspections was to verify that the rebated measures had been installed as reported by SCE.  On-site visits were done for participants in program years 1999 and 2000 and covered a variety of end uses.

# Sampling Strategy for On-Site Inspections

The sampling approached used to select sites for inspection involved targeting customers that:

- Participated in SCE’s large SPC program in program years 1999 and 2000,

- Submitted a Project Installation Report (“PIR”) indicating that measures have been installed by the end of July, 2001, and

- Reported a relatively large amount of claimed savings, as recorded in SCE’s tracking database.

A clustering technique developed by ECONorthwest was used to find groups (or clusters) of sites that meet the three sampling criteria listed above.  By clustering visits, ORA and its consultants were able to maximize the number of sites that could be visited by minimizing the amount of travel time between visits. Cluster sampling is a common and accepted way of reducing sampling costs while maximizing the number the units that can be sampled.

The on-site verification effort conducted by ORA took place on four days—August 7th through August 10th.  Three to five sites were visited each day, for a total sample of 15 sites over the four day on-site verification period.  Clusters were selected from (1) Irvine/Newport Beach, (2) Long Beach/Los Angeles, and (3) Costa Mesa areas. The tables below compare claimed savings amounts for ORA’s selected sample and the entire population of applications involved in SCE’s Large SPC program claim for program years 1999 and 2000.

Table 1:  Sampled Savings and Claimed Savings for SCE’s PY 2000 Large SPC Customers

Table 1 shows information for the SPC program participants for PY 2000.  The population savings numbers indicate the savings for the entire population of participants for each end use for PY 2000.  The sample savings numbers reflect that portion of the total savings that was included in the sample of on-site inspection sites.

For PY 2000, very few participants had submitted project installation reports as of July, 2001.  Of those that had submitted PIRs, most involved lighting retrofit projects. Consequently, the majority of ORA’s sampling effort for SCE’s PY 2000 claim focused on customers that installed lighting measures through the SCE’s SPC program for PY 2000.

Table 2:  Sampled Savings and Claimed Savings for SCE’s PY 1999 Large SPC Customers

Since the PY 2000 sample was largely lighting measures, ORA’s on-site verification effort for SCE’s PY 1999 large SPC program focused primarily on non-lighting measures so that overall the site inspections would cover a broader range of technologies.  For this reason, sites visited from PY 1999 tended to emphasize non-lighting measures such as process and space cooling technologies.

Table 3:  Summary of Sites Visited from SCE’s Large SPC Program

Table 3 shows information on the individual participants that were visited during the on-site verification process.  These sites are presented by program year and include information on gross savings (kW and annual kWh) and incentive amounts paid to date, as reported in SCE’s tracking data for the SPC program as of July 25, 2001.

# Results of On-Site Visits

The purpose of the on-site visits were to:

- Verify that the program measures had been installed as claimed in the PIR,

- Verify that the program measures were operating at the facility, and

- Gather information that might be useful for recommending changes to the SPC program requirements.

ECONorthwest conducted on-site verification visits along with staff members from the ORA, the Energy Division of CPUC, and with representatives from SCE and Schiller and Associates.  ECONorthwest staff participated in the site visits on August 7 through August 9.   The inspections on August 10 were completed by a representative from the ORA.  For most of these on-site visits, the inspection team was accompanied by an SCE account representative and a staff member from  Nexant (formerly known as Schiller Associates).  In addition to the SCE account representatives, an SCE staff member also served as the verification team escort for all on-site visits.

Each on-site visit involved an inspection of the equipment installed through the SPC program.   Each site visit took 30 to 60 minutes and included a short tour of the facility to visually inspect the program measures listed in the PIR.  During each site visit, staff from the facility answered questions about the installed equipment and their satisfaction with the equipment and the SPC program.

# Conclusions

The program measures listed in the SPC affidavits were installed and operating as reported at each of the sites visited.  In general, customers seemed to be satisfied with the new equipment and with the SPC program.  The on-site inspections did not result in any findings that could be used for recommending changes to the current SPC program requirements.

The data used for the sample characterization were submitted by SCE in response to ORA Data Request 5.  One site (project id number = 1 for PY 1999) had installed the program measure and was in the process of invoicing SCE for their first incentive payment.   Although the measure was approved and installed, at the time of the on-site inspection, there was no record in either the SCE program database or in the affidavit materials that this customer had submitted the invoice.