- MEMO

| To: | Scott Logan, ORA/CPUC |
| --- | --- |
| From: | James Choe, ECONorthwest |
| Date: | March 12, 2003 |
| Subject: | Review Memo for SDG&E 1000 & 1024: 1996 & 1997 AEEI |

- REVIEW SUMMARY

1. Utility:  San Diego Gas and Electric		                        			Study ID: 1000, 1024

Program and PY:  Agricultural Energy Efficiency Incentives Program:  PY1996 and PY1997

- End Use(s):  Lighting, Process and Pumping End-Use

2.  Utility Study Title:  “1996 & 1997 Agricultural Energy Efficiency Incentives Program – Sixth Year Retention Evaluation, March 2003, Study ID Nos. 1000 & 1024 ”

3. Type of Study:  6th Year Retention Evaluation                		 Required by Table 8A: Yes

- 4. Applicable Protocols: Tables 9A

Study Completion:  March 1, 2003. 	                    Required Documentation Received:   Yes

- 5.  Reported Retention Results:

| Enduse | Measures | ex ante EUL | ex post EUL |
| --- | --- | --- | --- |
| LIGHTING | PY96: 5-10W CFL | 10 | 10 |
| LIGHTING | PY96: CF-7 Hardwire Fxtr | 16 | 16 |
| LIGHTING | PY96: CF-9 Hardwire Fxtr | 15 | 15 |
| PUMPING | PY96: VFD for High Lift Sewer Pump | 15 | 15 |
| PUMPING | PY97: Redesign Booster Pump, Pumping Efficiency 86% | 15 | 15 |
| PUMPING | PY97: Efficient Pump | 15 | 15 |
| PROCESS | PY97: Ultrafine Aeration Diffusers Panel | 15 | 15 |

- 6.  Review Findings:

- Conformity with Protocols:  The study is generally in conformity with the protocols as defined in Table 9A

- Acceptability of Study results: The study results are acceptable.

Recommendations:  The recommendation is to accept this study’s findings.

- OVERVIEW

This sixth year retention study was designed to evaluate four measures in PY96, which accounted for 51% of program TRC, and three measures in PY97, which accounted for 56% of program TRC. Xenergy, Inc conducted on-site surveys of AEEI program participating customers to verify that the measures were still in place and operable. Overall, the results of the sampling and review suggest that there were no significant changes in the EUL.

#### ASSESSMENT OF STUDY METHODOLOGY AND RESULTS

The study explores survival analysis to estimate ex post EULs for the lighting, pumping and process measures. The analysis techniques employed in the study consist of collecting measure retention data from program participants and estimating each measure’s EUL using survival analysis. In terms of sampling procedures and protocols, a census was attempted and successfully completed. Following the M&E protocols, the study identified 2 “like” measures to be adjusted: 11-15W CFL and VFD for Low Lift Sewage Pumps.

##### CONFORMITY WITH THE PROTOCOLS

Measurement Protocols:  This Study appears to be in general conformity with the protocols.

- Reporting Protocols:  Table 9A is adequately documented.

##### RECOMMENDATION

ECONorthwest recommends that the study results be accepted and that no adjustments be made to the ex ante EUL.